## Slide 1
Activating Constraints: A recommendation from the 2019 State of the Market Report
by the Independent Market Monitor (IMM)
Carrie Bivens
ERCOT IMM Director
cbivens@potomaceconomics.com
Wholesale Market Subcommittee
ERCOT Public
August 5, 2020

## Slide 2: 2019 State of the Market Recommendation No. 2
Eliminate the “2% rule” and price all congestion in real-time regardless of generation impact
Contingency constraints are only activated if the following conditions are met:
  Above Loading Threshold: loaded at 98% of Emergency Limit
  Shift Factors Available: there exists a Resource Shift Factor ≥ 2% (absolute value)
  Not Redundant: a similar constraint is not already activated
Source: January 2020 CMWG

## Slide 3: Principles
Prices matter
  Locational pricing is central to efficient electricity markets
  Whether a resource can move or not is not relevant to whether a constraint should be priced, even under outage conditions
  The market can respond to signals – market designers need not define in advance the nature of this response

## Slide 4: Principles
Prices matter
  Locational pricing is central to efficient electricity markets
  Whether a resource can move or not is not relevant to whether a constraint should be priced, even under outage conditions
  The market can respond to signals – market designers need not define in advance the nature of this response
Out-of-market actions should be avoided

## Slide 5: Principles
Prices matter
  Locational pricing is central to efficient electricity markets
  Whether a resource can move or not is not relevant to whether a constraint should be priced, even under outage conditions
  The market can respond to signals – market designers need not define in advance the nature of this response
Out-of-market actions should be avoided
Load cost overall does not increase when the CRR market is efficient
  If real-time congestion rent , DAM congestion rent will rise, therefore CRR revenue

## Slide 6: Principles
Prices matter
  Locational pricing is central to efficient electricity markets
  Whether a resource can move or not is not relevant to whether a constraint should be priced, even under outage conditions
  The market can respond to signals – market designers need not define in advance the nature of this response
Out-of-market actions should be avoided
Load cost overall does not increase when the CRR market is efficient
  If real-time congestion rent , DAM congestion rent will rise, therefore CRR revenue
Difference in congestion rules is a source of day-ahead/real-time price divergence
  Windfall for virtual bidders
  For the top twenty constraints ERCOT studies, all were binding or could be binding in DAM given the radial constraint logic

## Slide 7: Principles
Prices matter
  Locational pricing is central to efficient electricity markets
  Whether a resource can move or not is not relevant to whether a constraint should be priced, even under outage conditions
  The market can respond to signals – market designers need not define in advance the nature of this response
Out-of-market actions should be avoided
Load cost overall does not increase when the CRR market is efficient
  If real-time congestion rent , DAM congestion rent will rise, therefore CRR revenue
Difference in congestion rules is a source of day-ahead/real-time price divergence
  Windfall for virtual bidders
  For the top twenty constraints ERCOT studies, all were binding or could be binding in DAM given the radial constraint logic
Many of the other markets have lower constraint thresholds or are in the process of lowering them