## Slide 1: MWG Update to WMS
August 5, 2020
Presented by: Gabriel Godinez
MWG Chair

## Slide 2: NPRR 1020
Reviewed concept for provisional real-time telemetry signal to TDSP for incorporation of energy into the EPS meter for auxiliary loads.
Recognize that further discussion is needed to provide SMOG updates to support implementation.
Discuss concepts, work to gain philosophical agreement, work to gain agreement on details.

## Slide 3: Line Loss Compensation Requirements
Philosophical agreement that there should be limits on when line loss compensation is required.
Continuing discussion to gain agreement on the recommended path forward.

## Slide 4: SMOG Language Update: Instrument Transformer Nameplate Photos
Applies to to new installations of instrument transformers.
Consensus on concept and draft language for exception process to photo where PE provides certification on the nameplate information and some other cleanup.
Agreement to move forward with draft SMOGRR language for WMS review.
Agreement for ERCOT to begin internal process requesting permission to sponsor the SMOGRR.

## Slide 5: NPRR 949 Implementation Reminder
Goes into effect 1/1/2023.
All communications for EPS meters from ERCOT to the TDSPs over the WAN (wide area network) connection

## Slide 6: Nodal Pricing on Charging Energy for Energy Storage
Goes in conjunction with market changes for nodal pricing of Settlement Only generators.
Requires metering of charging energy separate from other loads.
Possible use of TDSP read meters to support implementation – further discussion needed.
Distribution losses created by charging an ESR connected to a DSP system:
  WSL increases transformation and line losses that are captured by NOIE boundary metering points.
  Should WSL account for distribution system losses? Further discussion needed.

## Slide 7: Upcoming Meetings Scheduled
August 18th – 9:00 am – 3:00 pm
September 15th – 9:00 am – 3:00 pm
Note: Meetings could end early. Just giving ample time for SMOGRR discussions around NPRR 1020 implementation.