## Slide 1: PLWG report to ROS August 6, 2020
Report based on PLWG July 20th, 2020
WebEx only meeting

## Slide 2: PGRR077 DC Tie Planning Assumptions
  ERCOT reviewed their submitted comments with PLWG and pointed out the effect the current language proposed by REMC would have on the Southern Cross Transmission Direct Current Tie project. ERCOT mentioned that they will be working with REMC on a solution and will bring it to a future PLWG meeting.

## Slide 3: Small Economic Driven Transmission Projects
  ERCOT presented and introduced the concept for a new transmission project type that came from discussions with developers that would address congestion on short lines using ERCOT economic criteria.
  They laid out 5 concepts for addressing this type of project and requested feedback. The presentation is posted on the July 20th PLWG Meeting webpage. Following is the link:
  http://www.ercot.com/calendar/2020/7/20/191711-PLWG

## Slide 4: PGRR083 Add RPG Project Number and TPIT Revisions
  PGRR083 was introduced by ERCOT at PLWG.
  The Revision Request adds a requirement that ERCOT assigns a Regional Planning Group (RPG) project number for projects submitted for RPG review.
  PLWG is to discuss further if ROS assigns it to PLWG.

## Slide 5: BESS Assumptions for Planning Studies (BESTF KTC10)
  ERCOT provided a brief update on the presentation they made last month on how they plan to model Energy Storage Resources (ESR) specifically Battery Energy Storage Systems (BESS) in planning studies (both reliability and economic).
  After receiving feedback from other market participants ERCOT has decided to use a energy to power ratio of 2 for BESS for the economic planning studies. This value may be revised once better information or statistics are known.