- Section 2:

NPRR935 – Post All Wind and Solar Forecasts

This Nodal Protocol Revision Request (NPRR) requires ERCOT to post Hourly Short-Term Wind Power Forecast (STWPF), Short-Term PhotoVoltaic Power Forecast (STPPF), Wind-powered Generation Resource Production Potential (WGRPP), and PhotoVoltaic Generation Resource Production Potential (PVGRPP) values from each forecast model and to include in its posting an indication of which model is being used for each of the above forecasts.  This NPRR also requires ERCOT to issue a Market Notice and sponsor an NPRR to propose posting requirements for any new type of forecasts that may be developed and used in the future.

Revised Subsection:  2.1 [unboxed due to system implementation]

- Section 4:

NPRR935 – Post All Wind and Solar Forecasts

See Section 2 above.

Revised Subsections:  4.2.2 and 4.2.5 (new) [unboxed due to system implementation]

- Section 5:

NPRR977 – Create MIS Posting for RUC Cancellations

This Nodal Protocol Revision Request (NPRR) posts to the Market Information System (MIS) a report to communicate Reliability Unit Commitments (RUCs) that have been cancelled by the ERCOT Operator.

Revised Subsection:  5.3 [unboxed due to system implementation]

- Section 6:

NPRR951 – Active and Inactive SCED Constraint Reporting

This Nodal Protocol Revision Request (NPRR) expands the Network Security Analysis Active Constraints report and the Network Security Analysis Inactive Constraints report to include Megavolt Ampere (MVA) flows and limits.

Revised Subsection:  6.5.7.1.11 [unboxed due to system implementation]