## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2020

## Slide 2: Non-IRR GREDP < 85% – July 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 325 | 25 | 30 | 0.90 | 83.33

## Slide 3: IRR Summary – July 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.49 | 61.79 | 81.56
GREDP Median (%) | 98.46 | 75.50 | 80.77
Average MW Error | 4.16 | 4.20 | 5.38
Median MW Error | 3.72 | 3.45 | 3.61
Total Intervals Scored | 10,991 | 2,448 | 1,814
100+ Intervals Scored | 26 | 210 | 7
Total Intervals Scored Average | 46.57 | 58.29 | 259.14

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,068 | 1,077 | 6.05 | 99.16
Unit 2 | 785 | 820 | 6.77 | 95.73
Unit 3 | 735 | 752 | 2.29 | 97.74
Unit 4 | 726 | 726 | 5.11 | 100.00
Unit 5 | 587 | 604 | 5.81 | 97.19
Unit 7 | 447 | 447 | 2.86 | 100.00
Unit 9 | 405 | 412 | 4.74 | 98.30
Unit 10 | 335 | 348 | 5.00 | 96.26
Unit 12 | 275 | 275 | 2.36 | 100.00
Unit 13 | 271 | 273 | 4.00 | 99.27
Unit 14 | 258 | 265 | 2.90 | 97.36
Unit 15 | 255 | 259 | 12.18 | 98.46
Unit 16 | 248 | 248 | 0.00 | 100.00
Unit 17 | 248 | 248 | 3.60 | 100.00
Unit 18 | 208 | 209 | 4.69 | 99.52
Unit 20 | 158 | 158 | 4.60 | 100.00
Unit 21 | 154 | 154 | 4.10 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 25 | 108 | 109 | 4.36 | 99.08
Unit 26 | 102 | 102 | 5.92 | 100.00

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – July 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 6 | 480 | 555 | 9.31 | 86.49
Unit 8 | 336 | 416 | 8.30 | 80.77
Unit 11 | 209 | 279 | 8.85 | 74.91
Unit 19 | 113 | 158 | 2.64 | 71.52
Unit 22 | 114 | 150 | 3.61 | 76.00
Unit 23 | 121 | 140 | 2.38 | 86.43
Unit 24 | 110 | 116 | 2.59 | 94.83