## Slide 1
Meter Working Group
August 18, 2020

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief review of WebEx attendees and meeting format

## Slide 4: Previous Action Item Update
  Action Items from previous MWG that are deferred to a future meeting.
    Line Loss Compensation: ERCOT continues to work with TDSPs to gather data regarding line types and voltages with regards to line loss compensation. Anticipate recommendations for discussion at the September meeting.
    Voltage Throw over schemes: ERCOT is following up with TDSPs as needed.
    Design Proposal Updates to remove RARF reference: updates will be made and presented to the MWG once RIOO transition is complete.
    TDSP read metering and nodal pricing for settlement only energy storage: Updates to MWG will be made as NPRR continues through the market process

## Slide 5: Standing Reminder on NPRR949 Implementation
  As a reminder, NPRR949 was approved 8/13/2019. Protocol 10.12.1 will be updated effective 1/1/2023. See updated language below.
[NPRR949: Replace Section 10.12.1 above with the following on January 1, 2023:] 10.12.1 ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data (1) ERCOT shall acquire ERCOT-Polled Settlement (EPS) Meter data via the following communication links: (a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or (b) Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).
10.12.1 ERCOT Acquisition of Meter Data
(1) ERCOT shall acquire meter data via the following communication links:
(a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and
(b) Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

## Slide 6: Update on SMOGRR for Instrument Transformer Nameplate
SMOGRR submitted by ERCOT for WMS review and consideration

## Slide 7: Tesla Update on Telemetry and EPS Meter
See Tesla submitted key document #6.

## Slide 8: Draft Forms to Support NPRR 1020
See individually posted key documents
  7A: EPS Metering Design Proposal Section D
  7B: EPS Metering Design Proposal Section D Instructions
  7C: EPS Site Certification Form
  7D: EPS Meter Test Report
  7E: ERCOT Polled Settlement MDAS Configuration Form
  7F: Resource Entity Access to Auxiliary Load Telemetry System Notification Form
Documents not yet available pending final SMOG edits
  Site Audit Checklist
    Once final SMOG language to supplement NPRR 1020 is approved. ERCOT will work to formulate appropriate site audit checklist questions.

## Slide 9: Distribution Losses Created by ESR Receiving WSL
Presentation by STEC. See key document #8.

## Slide 10: SMOG Updates Required to Supplement NPRR 1020
Draft of potential SMOG updates to facilitate MWG discussion
  See key document #9A: DRAFT SMOGRR to Implement NPRR1020 v081420
  See key document #9B: SMOG Appendix D Draft

## Slide 11: New or Other Business Items
  Request for any new or other business items

## Slide 12: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation
  The next MWG WebEx is scheduled for 9/15/2020 at 9:00 AM.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    http://www.ercot.com/calendar/2020/8/18/210579-MWG