DRAFT
Minutes of the Technical Advisory Committee (TAC) Meeting

Webex Only

Wednesday, July 29, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bailey, Dan | Garland Power and Light |  |
| Barnes, Bill | Reliant Energy Retail Services |  |
| Bartel, Walter | CenterPoint Energy |  |
| Blakey, Eric | Just Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Brewster, Chris | City of Eastland |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Deleon, Amanda | Tenaska Power Services | Alt. Rep. for J. Carpenter |
| Dumas, John | Lower Colorado River Authority |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Helton, Bob | ENGIE |  |
| Kee, David | CPS Energy |  |
| Kent, Garret | CMC Steel Texas |  |
| Lange, Clif | South Texas Electric Cooperative |  |
| Loving, Alicia | Austin Energy |  |
| Martin, Collin | Oncor Electric Delivery |  |
| McClendon, Shannon | Demand Control 2 |  |
| Morris, Sandy | Direct Energy |  |
| Nix, Keith | Texas-New Mexico Power Company |  |
| Ross, Richard | AEP Service Corporation |  |
| Sams, Bryan | Calpine Corporation |  |
| Smith, Bill | Air Liquide |  |
| Surendran, Resmi | Shell Energy |  |
| True, Roy | Brazos Electric Cooperative |  |
| Wise, Michael | Golden Spread Electric Cooperative |  |
| Wittmeyer, Bob | Denton Municipal Electric | Alt. Rep. for J. Gaytan |

The following proxy was assigned:

- Eric Goff to Shawnee Claiborn-Pinto

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy |  |
| Basaran, Harika | PUCT |  |
| Bennett, Stacie | Lone Star Transmission |  |
| Benson, Mariah | PUCT |  |
| Bivens, Carrie | Potomac Economics |  |
| Bombick, Sarah | Lower Colorado River Authority |  |
| Bonskowski, Ned | Vistra |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bruns, Scott | Direct Energy |  |
| Chatlani, Varsha | Boston Energy |  |
| Checkley, Jim | Cross Texas Transmission |  |
| Clemenhagen, Barbara | Customized Energy Solutions |  |
| Cobos, Lori | OPUC |  |
| Cochran, Seth | DC Energy |  |
| Coleman, Diana | CPS Energy |  |
| Coleman, Katie | TIEC |  |
| Cook, Tim | Cross Texas Transmission |  |
| Cortez, Sarai | Sharyland |  |
| Coultas, Ann | Enel |  |
| Daigneault, Ralph | Potomac Economics |  |
| Detelich, David | CPS Energy |  |
| Downey, Marty |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Dwyer, Davida | PUCT |  |
| Elhabr, Tony | EDF Trading North America |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Glenwright, Tristan | Tesla |  |
| Goff, Eric | Tesla |  |
| Gross, Blake | AEP Service Corporation |  |
| Harvey, Julia | Texas Electric Cooperatives |  |
| Henderson, Norris | FERC |  |
| Hendrix, Chris | Demand Control 2 |  |
| Henson, Martha | Oncor |  |
| Huynh, Thuy | Potomac Economics |  |
| Jackson, Jimmy | CPS Energy |  |
| Javiya, Keyur | Tesla |  |
| Jewell, Michael | Jewell and Associates |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jolly, Emily | Lower Colorado River Authority |  |
| Jones, Randy | Mountaineer Market Advisors |  |
| Kleckner, Tom | RTO Insider |  |
| Krajecki, Jim | Customized Energy Solutions |  |
| Lee, Jim | AEP TX |  |
| Luck, Marissa | CoStar |  |
| McClellan, Suzi | Good Company and Associates |  |
| Mendoza, Albert | Oxy |  |
| Morton, Wayne | Wind Energy of Texas |  |
| Musher, Danny | Key Capture Energy |  |
| Nguyen, Andy | Lower Colorado River Authority |  |
| Oliver, Jon | PUCT |  |
| Pappu, Ajay | Invenergy |  |
| Peters, Patrick | CenterPoint Energy |  |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Reader, Raborn | Enterprise Products |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Richmond, Michele | TCPA |  |
| Roberts, Vincent | Texas-New Mexico Power |  |
| Roth, Werner | PUCT |  |
| Schwarz, Brad | Sharyland |  |
| Scott, Kathy | CenterPoint Energy |  |
| Sharma Frank, Arushi | Tesla |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Chris | Austin Energy |  |
| Striedel, James | GDS and Associates |  |
| Thompson, David | Pedernales Electric Cooperative |  |
| Trevino, Melissa | Occidental Chemical |  |
| Turner, Lucas | South Texas Electric Cooperative |  |
| Whitehurst, Stacy | Texas-New Mexico Power |  |
| Wilson, Lana | Tesla |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  |  |
| Anderson, Troy |  |  |
| Ayson, Janice |  |  |
| Bernecker, John |  |  |
| Bigbee, Nathan |  |  |
| Boren, Ann |  |  |
| Boswell, Bill |  |  |
| Bracy, Phil |  |  |
| Chen, Ian |  |  |
| Clifton, Suzy |  |  |
| Comstock, Read |  |  |
| Davis, Tony |  |  |
| Day, Betty |  |  |
| Fernandes, Jenifer |  |  |
| Ganjoo, Shalesh |  |  |
| Gonzalez, Ino |  |  |
| Hailu, Ted |  |  |
| Hale, Aubrey |  |  |
| Harris, Connie |  |  |
| Hobbs, Kristi |  |  |
| Holt, Blake |  |  |
| House, Donald |  |  |
| Hughes, Lindsey |  |  |
| Hull, Gibson |  |  |
| Jones, Dan |  |  |
| Kane, Erika |  |  |
| Khodabakhsh, Fred |  |  |
| Krishnaswamy, Sankarara |  |  |
| Lasher, Warren |  |  |
| Levine, Jonathan |  |  |
| Lofton, Amy |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Mantena, Dan |  |  |
| Matevosyan, Julia |  |  |
| Maul, Donald |  |  |
| Mereness, Matt |  |  |
| Miller, Megan |  |  |
| Morehead, Juliana |  |  |
| Moreno, Alfredo |  |  |
| Ögelman, Kenan |  |  |
| Opheim, Calvin |  |  |
| Orr, Rob |  |  |
| Phillips, Cory |  |  |
| Ragsdale, Kenneth |  |  |
| Raish, Carl |  |  |
| Roberts, Randy |  |  |
| Rosel, Austin |  |  |
| Ruane, Mark |  |  |
| Shanks, Magie |  |  |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Troublefield, Jordan |  |  |
| Tucker, Don |  |  |
| Wattles, Paul |  |  |
| Zapanta, Rizaldy |  |  |
| Zhang, Yang |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- Bob Helton called the July 29, 2020 meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Helton directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

June 24, 2020

Market Participants reviewed the June 24, 2020 TAC Meeting Minutes.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

2020 TAC Goals (see Key Documents)

Market Participants reviewed the 2020 TAC Goals as aligned with the 2020 TAC Strategic Initiatives.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Other Binding Document Revision Requests (see Key Documents)

Other Binding Document Revision Request (OBDRR) 021, Correction to Calculation in Procedure for Calculating Responsive Reserve (RRS) Limits for Individual Resources

OBDRR022, Updates to Demand Response Data Definitions and Technical Specifications Following NPRR933 Approval

ERCOT Methodologies for Determining Minimum Ancillary Service Requirements (Changes Related to NPRR1003)

Market Participants reviewed the 6/24/20 TAC Report and Impact Analysis for OBDRR021, OBDRR022 and the associated Impact Analysis, and revisions to the  ERCOT Methodologies for Determining Minimum Ancillary Service Requirements related to NPRR1003, Elimination of References to Resource Asset Registration Form.  Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

Protocol Revision Subcommittee (PRS) Report (see Key Documents)

Martha Henson reviewed recent PRS activities, including the prioritization discussion on planned project starts.   Some Market Participants expressed concern for resource constraints and funding for current and future projects and the need to prioritize battery energy storage and Distributed Generation (DG) projects.  In response to requests for expanded funding consideration, ERCOT Staff noted that resource and testing capacity were larger issues and offered to provide the ERCOT recommendations on future project priorities in advance of the PRS meeting.  Ms. Henson encouraged Market Participants to attend the August 13, 2020 PRS meeting to further discuss prioritization.  Ms. Henson presented revision requests for TAC consideration; and noted that the Resource Definition Task Force (RTF) was disbanded at the July 16, 2020 PRS meeting and thanked RTF Chairs Bob Wittmeyer and Jay Teixeira for their contributions.

Nodal Protocol Revision Request (NPRR) 984, Change ERS Standard Contract Terms

Market Participants reviewed NPRR984 and acknowledged the need to table it in order to consider it concurrently with forthcoming associated revisions to the Emergency Response Service Procurement Methodology.

Bryan Sams moved to table NPRR984.  Bill Barnes seconded the motion.  The motion carried via roll call vote with one objection from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment.  (Please see ballot posted with Key Documents.)

NPRR996, Alignment of Hub Bus Names Between Protocols and ERCOT Model

NPRR1000, Elimination of Dynamically Scheduled Resources

NPRR1003, Elimination of References to Resource Asset Registration Form

NPRR1015, Clarification of DAM implementation of NPRR863 Phase 2 - URGENT

Market Participants reviewed NPRR996, NPRR1000, NPRR1003, and NPRR1015 and the 7/22/20 ERCOT comments.   Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

NPRR1004, Load Distribution Factor Process Update

NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

Market Participants reviewed the Impact Analysis and Business Case for NPRR1002, Impact Analysis for NPRR1004, and the Impact Analysis, recommended priority and rank, and Business case for NPRR1016.  Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

NPRR1020, Allow Some Integrated Energy Storage Designs to Calculate Internal Loads – URGENT

ERCOT Staff summarized the 7/28/20 ERCOT comments.  Market Participants offered further clarifications to Section 10.2.4, Resource Entity Calculation and Telemetry of ESR Auxiliary Load Values, reviewed the Impact Analysis and Business Case, and discussed potential priorities and ranks, resource constraints, and necessary revisions to the Settlement Metering Operating Guide (SMOG) to implement NPRR1020.

Mr. Wittmeyer moved to recommend approval of NPRR1020 as recommended by PRS in the 7/16/20 PRS Report, as amended by the 7/28/20 ERCOT comments as revised by TAC, and the Impact Analysis with a recommended priority of 2021 and rank of 3220; and a recommended effective date of upon system implementation and upon implementation of necessary revisions to the SMOG.  Ian Haley seconded the motion.  The motion carried via roll call vote with one abstention from the IPM (EDF Trading) Market Segment.  (Please see ballot posted with Key Documents.)

NPRR1030, Modify Allocator for CRR Auction Revenue Distribution - URGENT

Market Participants discussed the 7/22/20 Joint Commenters comments and the 7/28/20 ERCOT comments.  ERCOT Staff summarized potential Settlement changes to implement NPRR1030 as amended by the 7/22/20 Joint Commenters comments and presented preliminary estimates of significant impacts to the costs and timeline.  Market Participants proposed additional language changes to Section 4.4.4, DC Tie Schedules, prohibiting Market Participants from engaging in Direct Current Tie (DC Tie) export transactions that are reasonably expected to be uneconomic.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Other Binding Document List

Ms. Henson presented the annual Other Binding Document List recommended by PRS. Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Revision Requests Tabled at TAC (see Key Documents)

OBDRR020, RTC – Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints

TAC took no action on this item.

OBDRR018, Related to NPRR1003, Elimination of References to Resource Asset Registration Form – Procedure for Identifying Resource Nodes

OBDRR019, Related to NPRR1003, Elimination of References to Resource Asset Registration Form – Requirements for Aggregate Load Resource Participation in the ERCOT Markets

Verifiable Cost Manual Revision Request (VCMRR) 029, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

Market Participants reviewed OBDRR018, OBDRR019, and VCMRR029.  Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

Reliability and Operations Subcommittee Report (see Key Documents)

Kevin Bunch reviewed recent ROS activities and presented revision requests for TAC consideration.

2020 ROS Goals

Nodal Operating Guide Revision Request (NOGRR) 195, Generator Voltage Control Tolerance Band

NOGRR208, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

NOGRR209, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

Market Participants reviewed the 2020 ROS Goals, NOGRR195, NOGRR208 and NOGRR209.  Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

NOGRR212, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

Market Participants reviewed NOGRR212.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Planning Guide Revision Request (PGRR) 076, Improvements to GINR Process

Market Participants discussed the 7/27/20 ERCOT and 7/28/20 STEC comments and the proposed effective date, and reviewed the Impact Analysis, recommended priority and rank, and Business Case for PGRR076.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

PGRR079, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

Resource Registration Glossary Revision Request (RRGRR) 023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

RRGRR024, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

RRGRR026, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

Market Participants reviewed PGRR079, RRGRR023, RRGRR024, and RRGRR026.  Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

Wholesale Market Working Group (WMS) Report (see Key Documents)

2020 WMS Goals

David Kee reviewed recent WMS activities and presented the 2020 WMS Goals for TAC consideration.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Retail Market Subcommittee (RMS) (see Key Documents)

Eric Blakey reviewed recent RMS activities and presented revision requests for TAC consideration.

Load Profiling Guide Revision Request (LPGRR) 067, Profile Decision Tree Revisions

Market Participants reviewed LPGRR067 and discussed RMS’s decision to endorse and forward LPGRR067 to TAC as submitted, without the incorporation of the 5/27/20 ERCOT comments.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

Real-Time Co-optimization Task Force (RTCTF) Report (see Key Documents)

Matt Mereness summarized recent RTCTF activities and discussions on Ancillary Services deployment expectations and durations and the potential for an additional Real-Time Co-optimization (RTC) Key Principle to be considered at the August 26, 2020 TAC meeting.  There were no questions or comments from Market Participants.

Battery Energy Storage Task Force (BESTF) Report (see Key Documents)

Kenneth Ragsdale summarized recent BESTF activities.

Key Topic Concept (KTC) Recommendation 15-7: Ancillary Service Responsibility Compliance Related to EEA Level 3 Charging Suspensions

Market Participants reviewed KTC 15-7.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

KTC 15-8: Grandfathering for Reactive Power Requirements specified in NPRR989

Market Participants discussed the need to waive notice to consider KTC15-8.  Mr. Ragsdale summarized KTC 15-8 and discussion at the July 23, 2020 BESTF meeting.   Mr. Helton noted these items could be considered in the Combined Ballot.  There were no objections from Market Participants.

ERCOT Reports (see Key Documents)

Operating Reserve Demand Curve (ORDC) Software Error Notice

Dave Maggio provided an update on the ORDC software error with the implementation of OBDRR002 and noted no additional errors were discovered during independent recalculations.  There were no questions or comments from Market Participants.

Transformer Rating Error and Potential Price Correction Notice (Notice: M-A070820-01 Operations)

Mr. Maggio summarized the July 8, 2020 Market Notice for potential price corrections for Operating Days between June 8, 2020 and July 6, 2020 due to incorrect transformer ratings of three transformers that impacted the Real-Time Market and Day-Ahead Market (DAM), stated that ERCOT is continuing to analyze prices for correction issues, and noted that any potential price corrections will be considered at the October 13, 2020 ERCOT Board of Directors meeting.  There were no questions or comments from Market Participants.

Eagle Pass DC Tie (DC_S) Removal

Donald House summarized internal discussions on the DC Tie removal process following the March 23,

2020 Eagle Pass DC Tie (DC_S Settlement Point) forced outage, reviewed current protocol language and stated that ERCOT is considering sponsoring a revision request to remove the Board approval requirement to delete a DC Tie Load Zone and to align the deletion of DC Tie Load Zones with the timeline for removing Resource Nodes, and responded to Market Participant questions and comments.

Other Business

Open Action Items and Summer Assessment Items Review

Market Participants reviewed the Open Action Items list and offered the following clarifications:

- Develop and implement updated methodology used to determine cost of new entry (CONE) (WMS)

- Development of probabilistic Seasonal Assessment of Resource Adequacy (SARA) and net Load forecast. Review of Resource Adequacy forecasts with evaluation and possible implementation of probabilistic SARA and net Load forecast as supplements to current Resource Adequacy reports (WMS)

TAC/TAC Subcommittee Structural and Procedural Review

Mr. Helton announced that the annual TAC and TAC Subcommittee Structural and Procedural Review will be held in September, asked subcommittee leadership to facilitate discussions with their working groups and task forces for meeting efficiencies, and stated he would seek additional direction at the August 11, 2020 ERCOT Board of Directors meeting.

2021 Meeting Calendar

Market Participants reviewed the draft 2021 meeting calendar.  Mr. Helton noted this item could be considered in the Combined Ballot.  There were no objections from Market Participants.

MIS Integration Workshop Announcement

Aubrey Hale reviewed the MIS release plan and encouraged Market Participants to attend the August 12, 2020 MIS Technical Integration Workshop.

Combined Ballot

Mr. Wittmeyer moved to approve the Combined Ballot as follows:

- To approve the June 24, 2020 TAC meeting minutes as submitted

- To approve the 2020 TAC Goals as submitted

- To approve the 6/24/20 TAC Report and the Impact Analysis for OBDRR021

- To approve OBDRR022 and the associated Impact Analysis as submitted

- To endorse proposed changes to the ERCOT Methodologies for Determining Minimum Ancillary Service Requirements

- To recommend approval of NPRR996 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1000 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1003 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1015 as recommended by PRS in the 7/16/20 PRS Report as amended by the 7/22/20 ERCOT comments

- To recommend approval of NPRR1002 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1004 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1016 as recommended by PRS in the 7/16/20 PRS Report

- To recommend approval of NPRR1030 as recommended by PRS in the 7/16/20 PRS Report as amended by the 7/28/20 ERCOT comments as revised by TAC, and to forward NPRR1030 to the ERCOT Board

- To approve the Other Binding Document List as recommended by PRS

- To recommend approval of OBDRR018 as submitted and the Impact Analysis

- To recommend approval of OBDRR19 as submitted and the Impact Analysis

- To recommend approval of VCMRR029 as recommended by WMS in the 6/3/20 WMS Report

- To approve the 2020 ROS Goals as submitted

- To recommend approval of NOGRR195 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of NOGRR208 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of NOGRR209 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of NOGRR212 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of PGRR076 as recommended by ROS in the 7/9/20 ROS Report, as amended by the 7/28/20 STEC comments, with an effective date of upon system implementation with a recommended priority of 2021 and rank of 3200 for paragraph (3) of Section 5.2.1 and paragraph (4)(b)(vi) of Section 5.7.1, and upon ERCOT Board approval for all remaining language

- To recommend approval of PGRR079 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of RRGRR023 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of RRGRR024 as recommended by ROS in the 7/9/20 ROS Report

- To recommend approval of RRGRR026 as recommended by ROS in the 7/9/20 ROS Report

- To approve the 2020 WMS Goals as submitted

- To approve LPGRR067 as recommended by RMS in the 7/14/20 RMS Report

- To endorse BESTF KTC 15-7 as submitted

- To waive notice and endorse BESTF KTC 15-8 as submitted

- To approve the 2021 TAC meeting schedule as presented.

Mr. Haley seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Mr. Helton adjourned the July 29, 2020 TAC meeting at 12:24 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2020/7/29/186866-TAC