## Slide 1: PLWG report to ROS September 3, 2020
Report based on PLWG August 19th, 2020
WebEx only meeting

## Slide 2: PGRR082 Revise Section 5 and Establish Small Generation Interconnection Process
  PGRR082 was written to create a new interconnection process for generators and generator modifications that are less than 10 MW in size. It also specifies the interconnection requirements for generators interconnected at distribution voltage.
  At the PLWG meeting ERCOT addressed the costs to implement and is considering a fee to cover the on-going costs.
  PLWG was in consensus that this PGRR could move forward.

## Slide 3: PGRR083 Add RPG Project Number and TPIT Revisions
  PGRR083 adds a requirement that ERCOT assigns a Regional Planning Group (RPG) project number for projects submitted for RPG review.
  The PGRR also moves the TSP provided TPIT information specified in the Planning Guide to the Steady State Working Group Procedure Manual.
  PLWG was in consensus that this PGRR could move forward.

## Slide 4: Small Economic Driven Transmission Projects
  ERCOT updated PLWG on the feedback received on the concepts presented to perform an economic analysis on a project to address congestion on short run lines using ERCOT economic criteria.
  Of the 5 concepts, Concept 2 was supported but Concept 1 was considered acceptable as well. Consistent data, assumptions and methodology, are necessary for the concepts to succeed. ERCOT is working on a guideline for performing economic analysis that they will bring back to the PLWG in a couple of months.
  ERCOT will not pursue Concept 3 but may pursue Concepts 4 and 5 in the future.
  Some stakeholders also indicated a strong preference for Concept 5 but was okay with ERCOT’s direction at this time.
  ERCOT’s latest presentation is posted on the ERCOT Calendar for the Aug. 19th PLWG Meeting.
  http://www.ercot.com/content/wcm/key_documents_lists/191717/Tier_4_RPG_Project_Driven_by_Economic_Need_August_2020_PLWG.PDF

## Slide 5: Small Economic Driven Transmission Projects (continue)
  List of the 5 Concepts:
  Use Tier 3 RPG project comment process to vet need for Tier 4 economic projects
  TSPs perform, or hire a consultant to perform, economic analysis and otherwise follow normal Tier 3 or Tier 4 process (i.e. no ERCOT independent review)
  Require a minimum amount of savings for ERCOT endorsement of small economic projects
  Perform economic analysis on a more frequent basis (e.g. semi-annual)
  Perform ERCOT Independent Review of Tier 4 economic projects if requested with a non-refundable study fee