**Section 2:**

**NOGRR195 – Generator Voltage Control Tolerance Band**

This Nodal Operating Guide Revision Request (NOGRR) addresses ERCOT audit recommendations from Texas Reliability Entity, Inc. (Texas RE) and modifies generator voltage control tolerance bands.

**Revised Subsections: 2.2.10, 2.7.3.1, 2.7.3.3, 2.7.3.4, 2.7.3.5 [effective upon system implementation]**

**NOGRR196 – Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer**

This Nodal Operating Guide Revision Request (NOGRR) clarifies language by use of NPRR973-proposed defined terms Generation Step-Up (GSU) and Main Power Transformer (MPT).

**Revised Subsections: 2.9 [effective upon system implementation of NPRR973]**

**NOGRR209 – Related to NPR1003, Elimination of References to Resource Asset Registration Form**

This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guide with changes in NPRR1003 by replacing all remaining references to the Resource Asset Registration Form (“RARF”) with more general language in anticipation of the elimination of the RARF.

**Revised Subsections: 2.2.5, 2.2.6**

**NOGRR212 – Related to NPR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)**

This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guide with revisions within NPRR1016 and clarifies various reliability requirements for Distribution Generation Resources (DGRs).

**Revised Subsections: 2.2.7, 2.2.10, 2.6.1, 2.6.2, 2.6.2.1 (new), 2.7.3.2, 2.7.3.3, 2.9, 2.9.1, 2.9.2 (new) [effective upon system implementation of NPRR1016]**

**Section 3:**

**NOGRR196 – Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer**

*See Section 2 above.*

**Revised Subsections: 3.3, 3.3.2.1 [effective upon system implementation of NPRR973]**

**NOGRR208 – Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions**

This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guide with the Nodal Protocols as modified by NPRR1002.

**Revised Subsections: 3.3 [effective upon system implementation of NPRR1002]**

**NOGRR209 – Related to NPR1003, Elimination of References to Resource Asset Registration Form**

*See Section 2 above.*

**Revised Subsections: 3.3.2.1, 3.5**

**Section 4:**

**NOGRR216 – Alignment Changes for September 1, 2020 Nodal Operating Guide – NPRR1002**

This Nodal Operating Guide Revision Request (NOGRR) aligns Energy Emergency Alert (EEA) language in Section 4.5.3.3 with Protocol Section 6.5.9.4.2, EEA Levels.

**Revised Subsection: 4.5.3.3 [effective upon system implementation of NPRR1002]**

**Section 6:**

**NOGRR212 – Related to NPR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)**

*See Section 2 above.*

**Revised Subsections: 6.2.6.3.6 [effective upon system implementation of NPRR1016]**

**Section 9:**

**NOGRR200 – Delete Remaining Grey-Boxed Language Associated with NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT**

This Nodal Operating Guide Revision Request (NOGRR) deletes all remaining grey-boxed language associated with NOGRR025.

**Revised Subsections: 9.1.1 (delete), 9.1.2 (delete), 9.1.3, 9.1.5 (delete), 9.1.7 (delete), 9.1.8 (delete), 9.1.9 (delete), 9.1.10, 9.2.2, 9.2.4 (delete), 9.2.5 (delete), 9.3.1, 9.3.2, , 9.3.3 (delete), 9.3.4 (delete), 9.3.5 (delete), 9.3.6 (delete), 9.3.7 (delete), 9.3.8, 9.3.9 (delete), 9.4.2 (delete), 9.4.4 (delete)**