- Section 3:

PGRR080 – Updated Responsibilities for Performing GMD Vulnerability Assessments

This Planning Guide Revision Request (PGRR) aligns the Planning Guide with North American Electric Reliability Corporation (NERC) Reliability Standard TPL-007-4, Transmission System Planned Performance for Geomagnetic Disturbance Events, by identifying responsibilities for performing studies needed to complete benchmark and supplemental Geomagnetic Disturbance (GMD) vulnerability assessments.

Revised Subsection:  3.1.8

- Section 5:

PGRR074 – Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer

This Planning Guide Revision Request (PGRR) clarifies language by use of defined terms Generation Step-Up (GSU) and Main Power Transformer (MPT).

Revised Subsections:  5.1.1, 5.7.1, 5.8.2 [effective upon system implementation of NPRR973]

- Section 6:

PGRR074 – Market Data Transparency Update for Planning Postings

See Section 5 above.

Revised Subsection:  6.11 [effective upon system implementation of NPRR973]

- Section 7:

PGRR078 – Market Data Transparency Update for Planning Postings

This Planning Guide Revision Request (PGRR) specifies that data related to the Regional Transmission Plan and Special Planning Studies that are considered Protected Information per Nodal Protocol Section 1.3.1.1, Items Considered Protected Information, may be posted to the Market Information System (MIS) Certified Area for Transmission Service Providers (TSPs). An update for Resource Asset Registration Form (RARF) Generator Data postings to MIS is also included.

Revised Subsection:  7.1 [effective upon system implementation]

PGRR079 – Related to NPRR1003, Eliminate References to Resource Asset Registration Form

This Planning Guide Revision Request (PGRR) aligns the Planning Guide with changes in NPRR1003 by replacing all remaining references to the Resource Asset Registration Form (“RARF”) with more general language in anticipation of the elimination of the RARF.

Revised Subsection:  7.1