ERCOT Planning Guide

- Table of Contents

- September 1, 2020

1	Overview	1

1.1	Purpose	1

1.2	Process for Planning Guide Revision	1

1.2.1	Introduction	1

1.2.2	Submission of a Planning Guide Revision Request	2

1.2.4	Planning Guide Revision Procedure	4

1.2.3.1	Review and Posting of Planning Guide Revision Requests	4

1.2.3.2	Withdrawal of aPlanning Guide Revision Request	4

1.2.3.3	ROS Review and Action	5

1.2.3.4	Comments to the ROS Report	6

1.2.3.5	Planning Guide Revision Request Impact Analysis	6

1.2.3.6	ROS Review of Impact Analysis	7

1.2.3.7	Wholesale Market Subcommittee Review	7

1.2.3.8	ERCOT Impact Analysis Based on ROS Report	9

1.2.3.9	PRS Review of Project Prioritization	9

1.2.3.10	Technical Advisory Committee Vote	9

1.2.3.11	ERCOT Impact Analysis Based on Technical Advisory Committee Report	10

1.2.3.12	ERCOT Board Vote	11

1.2.3.13	Appeal of Action	11

1.2.5	Urgent Requests	12

1.2.6	Planning Guide Revision Implementation	13

2	Definitions and Acronyms	2-1

2.1	Definitions	2-1

2.2 	Acronyms	2-4

3	Regional Planning	3-1

3.1	Communications	1

3.1.1	Overview of Major Transmission Planning Activities	1

3.1.1.1	Long-Term System Assessment	1

3.1.1.2	Regional Transmission Plan	1

3.1.1.3	Regional Planning Group Project Reviews	2

3.1.1.4	Generation Interconnection Process	2

3.1.1.4	Geomagnetic Disturbance (GMD) Vulnerability Assessment	3

3.1.2	Regional Planning Group Project Submission	3

3.1.2.1	All Projects	3

3.1.3	Project Evaluation	4

3.1.3.1	Definitions of Reliability-Driven and Economic-Driven Projects	5

3.1.3.2	Reliability-Driven Project Evaluation	6

3.1.4	Regional Transmission Plan Development Process	6

3.1.4.1	Development of Regional Transmission Plan	6

3.1.4.1.1	Regional Transmission Plan Cases	7

3.1.4.2	Use of Regional Transmission Plan	7

3.1.5	Regional Planning Group Comment Process	8

3.1.6	Notify PUCT of Recommended Transmission Projects	9

3.1.7	Steady State Transmission Planning Load Forecast	9

3.1.8	Planning Geomagnetic Disturbance (GMD) Activities	10

3.1.9	Transmission Interconnection Study	12

4	Transmission Planning Criteria	4-1

4.1	Introduction	1

4.1.1	Reliability Criteria	2

4.1.1.1	Planning Assumptions	2

4.1.1.2	Reliability Performance Criteria	2

4.1.1.3	Voltage Stability Margin	5

4.1.1.4	Steady State Voltage Response Criteria	5

4.1.1.5	Transient Voltage Response Criteria	6

4.1.1.6	Damping Criteria	6

5	Generation Resource Interconnection or Change Request	5-1

5.1	Introduction	1

5.1.1	Applicability	1

5.1.2	Responsibilities	2

5.2	Generation Interconnection Process	3

5.2.1	Generation Interconnection or Change Request Application	3

5.2.2	Generation Interconnection or Change Request Submission Requirements	4

5.3	Full Interconnection Study Request	5

5.3.1	Full Interconnection Study Submission Requirements	6

5.3.2	Modifications to Request Declarations of Resource Data Accuracy	6

5.4	Study Processes and Procedures	8

5.4.1	Security Screening Study	8

5.4.2	Full Interconnection Study	9

5.4.2.1	Full Interconnection Study Process Overview	10

5.4.2.2	Full Interconnection Study Elements	11

5.4.3	Steady-State Analysis	12

5.4.4	System Protection (Short-Circuit) Analysis	13

5.4.5	Dynamic and Transient Stability (Unit Stability, Voltage) Analysis	13

5.4.6	Facility Study	14

5.4.7	Economic Study	15

5.4.8	FIS Study Report and Follow-up	15

5.4.9	Proof of Site Control	17

5.4.10	Confidentiality	17

5.5	Interconnection Agreement	18

5.5.1	Standard Generation Interconnection Agreement	18

5.5.2	Other Arrangements for Transmission Service	18

5.5.3	Provisions for Municipally Owned Utilities and Cooperatives	18

5.5.4	Notification to ERCOT Concerning Certain Project Developments	19

5.6	Compliance with Operational Standards	20

5.7	Interconnection Data, Fees, and Timetables	20

5.7.1	Generation Resource and Settlement Only Generator Data Requirements	20

5.7.2	Interconnection Study Fees	23

5.7.3	Generation Interconnection and Full Interconnection Study Application Fees	23

5.7.4	Full Interconnection Study Fee/Cost	24

5.7.5	Interconnection Process Timetables	24

5.7.6	Inactive Status	26

5.7.7	Cancellation of a Project Due to Failure to Comply with Requirements	27

5.8	General and Technical Standards	28

5.8.1	Other Standards	28

5.8.2	Transformer Tap Position	28

5.9	Quarterly Stability Assessment	28

6	Data/Modeling	6-1

6.1	Steady-State Model Development	1

6.2	Dynamics Model Development	2

6.2.1	Dynamics Data Requirements for Generation Resources and Settlement Only Generators	5

6.2.2	Dynamics Data Requirements for Load Resources	5

6.2.3	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers	5

6.2.4 	Dynamics Data Screening and Maintenance	6

6.3	Process for Developing Short Circuit Cases	7

6.4	Transmission Project Information and Tracking Report and Data Requirements	8

6.4.1	Transmission Project Information and Tracking Report	8

6.4.2	ERCOT Responsibilities	8

6.4.3	TSP Responsibilities	8

6.4.4 	Regional Transmission Plan Projects in Transmission Project Information and Tracking Report	9

6.4.5	Content of the Transmission Project Information and Tracking Report	9

6.5	Annual Load Data Request	10

6.6	Intentionally Left Blank	11

6.7	Data Dictionary	11

6.8	Resource Registration Procedures	11

6.8.1	Resource Registration	12

6.8.2	Resource Registration Process	12

6.9	Addition of Proposed Generation to the Planning Models	13

6.10	Contingency Filing Requirements	14

6.11	Process for Developing Geomagnetically-Induced Current (GIC) System Models	15

6.12	Addition of a Proposed DC Tie to the Planning Models	16

7	Market Data Transparency	7-1

7.1	Planning Data and Information	1

8	Attachments	8-1

Declaration of Resource Data Accuracy	8(A)

Declaration of Adequate Water Supplies	8(B)

Declaration of Department of Defense Notification	8(C)

9	RESERVED	9-1