ERCOT Planning Guide Section 7: Market Data Transparency September 1, 2020

7	Market Data Transparency	1

7.1	Planning Data and Information	1

7	MARKET DATA TRANSPARENCY

7.1	Planning Data and Information

(1)	The information available on the applicable Market Information System (MIS) (i.e., Public, Secure or Certified Areas) includes, but is not limited to, planning information pertaining to the following:

(a)	Long-term planning;

(b)	Regional transmission planning;

(c)	Steady state data;

(d)	Resource integration;

(e)	Case studies and files used in planning;

(f)	Model information; and

(g)	Data and information available to specific groups of Market Participants.

(i)	Market Participants with a nondisclosure agreement with ERCOT have designated sections on the MIS that allow access to the certified posting of group information.

(ii)	Market Participants may access the artifacts posted for their respective groups on the MIS Secure Area.

(2)	The list below includes both data set and designated MIS classification of the available planning data and information.  Where the information is classified as “Certified,” the appropriate Market Participant category or group is also indicated.

| Data Set | Classification |
| --- | --- |
| Aggregated Wind Output | Public |
| Annual Planning Model Data Submittal Schedule | Secure |
| Demand and Energy Monthly Reports | Secure |
| Dynamic Data Information | Certified (all Transmission Service Providers (TSPs)) |
| Economic Studies of Transmission Projects for New Generation | Secure |
| ERCOT Long-Term System Assessment | Secure |
| ERCOT Steady State Planning Contingency Files | Secure |
| ERCOT System Operating Limit (SOL) Methodology | Public |
| Generation Data Forms | Secure |
| Documents Initiating a Generation Interconnection or Change Request | Certified (all TSPs) |
| GINR Security Screening Studies and Supporting Documents | Secure |
| Sub-Synchronous Oscillation Studies and Supporting Documents | Certified (all TSPs) |
| FIS: Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents (except for Protected Information) | Secure |
| FIS: Draft Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents | Certified (all TSPs) |
| IMM and Topology Processor Supporting Documents | Certified (all TSPs) |
| PDCWG Group Documents and Project Files | Certified (PDCWG members) |
| Planning Horizon Transmission Capability Methodology | Public |
| Public Generation Information | Public |
| RAP Review Cases | Certified (all TSPs) |
| Resource Registration Data | Certified (specific Resource Entity) |
| [PGRR078: Replace “Resource Registration Data” above upon system implementation:] Resource Registration Data; Certified (all TSPs).. |
| Regional Planning Group Projects | Secure |
| Regional Transmission Plan Postings | Secure |
| [PGRR078: Replace “Regional Transmission Plan Postings” above upon system implementation:] Regional Transmission Plan Postings (except for Protected Information); Secure.. |
| [PGRR078: Insert “Regional Transmission Plan Postings” below upon system implementation:] Regional Transmission Plan Postings; Certified (all TSPs).. |
| Seasonal Voltage Profile Studies | Certified (all TSPs) |
| Special Planning Studies | Secure |
| [PGRR078: Replace “Special Planning Studies” above upon system implementation:] Special Planning Studies (except for Protected Information); Secure.. |
| [PGRR078: Insert “Special Planning Studies” below upon system implementation:] Special Planning Studies; Certified (all TSPs).. |
| Steady State Power Flow Base Cases | Secure |
| Steady State Power Flow Case Data | Certified (all TSPs) |
| Steady State Topology Processor Files | Secure |
| Steady State TPIT Procedures | Secure |
| System Protection Short Circuit Data | Secure |
| Transient Stability Screening Study for ERCOT System | Certified (all TSPs) |
| TSP Planning Criteria and Procedures | Secure |
| Voltage Stability Screening Study for ERCOT System | Certified (all TSPs) |