## Slide 1: MWG Update to WMS
September 2, 2020
Presented by: Gabriel Godinez
MWG Chair

## Slide 2: SMOGRR 023: Instrument Transformer Nameplate Photos
Submitted to WMS for consideration with MWG consent

## Slide 3: NPRR 1020 – Concept Discussion
Working amongst MWG members to achieve philosophical agreement and to hone in on details
Update provided by TNMP on work with Tesla

## Slide 4: NPRR 1020 Implementation – Incorporate Aux Load Telemetry Signal into an EPS Meter
Working through details for provision of telemetry signal to the EPS meter
Working through details for EPS meter programming

## Slide 5: NPRR 1020 Implementation – Review of Forms
EPS Meter Design Proposal
  Adding sheet to document aux load calculation
  Standardization of forms to be included with the design proposal submittal
EPS Meter Test Report – Site Certification Form – MDAS Form
  Options in the implementation path impact changes – stay tuned
Resource Entity Access to Auxiliary Load Telemetry Systems Notification Form
  Submitted by Resource Entity for access to equipment involved in providing the telemetry signal to the EPS meter

## Slide 6: NPRR 1020 Implementation – Review of SMOG
First pass through Settlement Metering Operating Guide
Some revisions identified
Questions left as placeholders to review
Add Appendix D – Resource Entity Affidavit for Calculation and Telemetry of ESR Auxiliary Load Values
MWG members to provide thoughts on additional edits prior to September MWG meeting

## Slide 7: NPRR 1020 Implementation – Items Identified for Further Discussion
Options for performing the netting of auxiliary and WSL load
  Performing in the EPS meter
  Calculate in the ERCOT data aggregation system
  Enable both options
Discussion on which EPS meter to use
  Generation EPS meter which would also capture telemetered auxiliary load in additional meter recorder channels
  Install a separate EPS meter for the telemetered auxiliary load
  Enable both options

## Slide 8: NPRR 1020 Implementation
Working documents posted to the MWG August meeting page

## Slide 9: Upcoming Meetings Scheduled
September 15th – 9:00 am – 3:00 pm
October - TBD