## Slide 1: GMD Federal and State Activities
Amjed Kandah
September 01, 2020

## Slide 2: IEEE GMD Working Group – 8/11/2020
IEEE is looking to establish a task force\s for various GMD and GIC related topics. They are looking for active contributors to the research.
Some topics were mentioned during the meeting to be considered in the task forces are:
Incorporating the Coastal effect in modeling GIC – David Boteler
Utility Grade Magnetometers – Jennifer Gannon
GIC model validation and Operation mitigation techniques – Komal Shetye
Alternatives to the moving box
If interested please contact Dr. Luis Marti – luis@lmarticonsulting.com

## Slide 3: NERC GMDTF – 8/26/2020
  Reporting GIC monitors and Magnetometer Data
    NERC staff is completing development of the GMD Data Portal for implementation in October 2020
    Reporting entities must report data annually by June 30
      First collection deadline June 30, 2021
    NERC will also collect historical GIC data for K-7 events dating back to May 2013 (one-time collection)
    Everyone providing or requesting GMD data will be required to have a ERO Portal account
    GMD@nerc.net has been created for GMD related questions
    The presentation includes a demo on how to upload and download data into NERC ERO portal
    There will be data reporting training sessions – late September to mid October
    You can submit a request for confidential information treatment in accordance with FERC’s guidance in Order No. 830

## Slide 4
  EPRI updates
    EPRI starting a new project to improve the harmonics program, and they are looking for TSPs to join the project.
      The purpose is to further improve the understanding of how harmonics impact assets during GMD events.
      convert participating utility model data into a format compatible with EPRI’s GICHArm tool
    EPRI is also starting a project to improve earth models, and are looking for TSPs to join the project.
  NOAA discussed their project to interpolate geomagnetic field data. They displayed samples of the visual depiction of the field data.
  Oregon State provided a status update of their project to develop new earth models using actual measurements. They expect to move into Texas in 2021.