**VPWG’s report to ROS – September 2020**

1. Joint Meeting with Resources and TO’s on operational issues was held on 9/1/20.
2. VPWG meeting was also held on 9/1/20.
3. ERCOT informed the group about a delay of two to three years for implementation of the RPC tool due to reprioritization of projects
4. ERCOT discussed the NOGRR195 Generation Voltage Control Tolerance Band Implementation. Targeting a production date of February 2021. ERCOT was open to considering a trial period to evaluate how Resources and TOs work together to resolve any POI voltage issues.
5. CenterPoint gave a presentation on how NOGRR 195 may necessitate updates to the ERCOT Desk Procedures on voltage control to encourage close coordination between TOs and Resources.
6. ERCOT gave a presentation on the 2021 Winter/Spring voltage profile studies. The study cases were emailed on 8/24/20 for TO review. There will be five passes with Pass 0 due from TSPs on 9/16/20 and the final pass on 11/24/20. The voltage profiles will be posted on 12/1/20.

Biju Mathew

Chair

VPWG