DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, July 9, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ainspan, Malcolm | NRG |  |  |  |
| Aldridge, Ryan | AB Power Advisors |  |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |  |
| Ardate, Abdul | ENGIE |  |  |  |
| Barnes, Bill | NRG |  |  |  |
| Basaran, Harika | PUCT |  |  |  |
| Bivens, Carrie | Potomac Economics |  |  |  |
| Borkar, Sandeep | LCRA |  |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |  |
| Bruns, Scott | Direct Energy |  |  |  |
| Burnett, Benjamin | CenterPoint Energy |  |  |  |
| Caraway, Shannon | Solar Prime |  |  |  |
| Checkley, Jim | CTT |  |  |  |
| Chen, Meichen | Luminant |  |  |  |
| Cochran, Seth | DC Energy |  |  |  |
| Coleman, Diana | CPS Energy |  |  |  |
| Cook, Tim | CTT |  |  |  |
| Cortez, Sarai | Hunt Utility Services |  |  |  |
| Costantinou, Joe | Bank of America |  |  |  |
| Coultas, Ann | Enel |  |  |  |
| DeWitt, Charles | Pedernales Electric Cooperative |  |  |  |
| Donohoo, Ken | EPE Consulting |  |  |  |
| Downey, Martin |  |  |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |  |  |
| Egunjobi, Ransome | LCRA |  |  |  |
| Floyd, Rickey | Oncor |  |  |  |
| Gross, Blake | AEPSC |  |  |  |
| Guo, Chenyan | Lone Star Transmission |  |  |  |
| Harvey, Julia | Texas Electric Cooperatives |  |  |  |
| Helton, Bob | ENGIE |  |  |  |
| Henderson, Norris | FERC |  |  |  |
| Henson, Martha | Oncor |  |  |  |
| Jackson, Jimmy | CPS Energy |  |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |  |
| Jolly, Emily | LCRA |  |  |  |
| Jones, Liz | Oncor |  |  |  |
| Jones, Randy | Mountaineer Market Advisors |  |  |  |
| Joshi, Karan | Pattern Energy |  |  |  |
| Kandah, Amjed | Oncor |  |  |  |
| Kee, David | CPS Energy |  |  |  |
| Khan, Naved | LCRA |  |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |  |
| Khripko, Ilya | Long Road Energy |  |  |  |
| Liu, Meng | Tenaska |  |  |  |
| Loving, Alicia | Austin Energy |  |  |  |
| Mathew, Biju | LCRA |  |  |  |
| McGinnis, Tim | RWE Renewables |  |  |  |
| McKeever, Debbie | Oncor |  |  |  |
| Miller, Daniel | DC Energy |  |  |  |
| Minchew, Christina | Wind Energy of Texas |  |  |  |
| Mulholland, Chad | NRG |  |  |  |
| Musher, Danny | Key Capture Energy |  |  |  |
| Nagarajan, Ramya | CTT |  |  |  |
| Ordonez, Camilo | Luminant |  |  |  |
| Pappu, Ajay | Invenergy |  |  |  |
| Patel, Amar | Siemens |  |  |  |
| Penney, David | Texas Reliability Entity |  |  |  |
| Powell, Christian | Pedernales Electric Cooperative |  |  |  |
| Preas, Dylan | LCRA |  |  |  |
| Ranaweera, Aruna | RWE Renewables |  |  |  |
| Ravulapati, Bharath | LS Power |  |  |  |
| Reader, Raborn | Enterprise Products |  |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |  |  |
| Rochelle-Bradburn, Jennifer | Customized Energy Solutions |  |  |  |
| Ruiz, Pablo | New Grid Inc. |  |  |  |
| Sams, Bryan | Calpine Corporation |  |  |  |
| Schwarz, Brad | Sharyland |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |  |
| Smith, Caitlin | AB Power Advisors |  |  |  |
| Smith, Chris | Austin Energy |  |  |  |
| Snyder, John | Clear Way Energy |  |  |  |
| Stauffer, Charles | Intersect Power |  |  |  |
| Stupar, Rob | Invenergy |  |  |  |
| Turner, David | Lone Star Transmission |  |  |  |
| Varnell, John | Tenaska Power Services |  |  |  |
| Velasquez, Ivan | Oncor |  |  |  |
| Walke, Pranil | Calpine |  |  |  |
| White, Lauri | AEP Texas |  |  |  |
| Whitworth, Doug | Texas Reliability Entity |  |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |  |
| Yater, J-M | CenterPoint Energy |  |  |  |
| Yuffee, Michael | Winston and Strawn LLP |  |  |  |
| ERCOT Staff: |  |  |  |  |
| Albracht, Brittney |  |  |  |  |
| Anderson, Connor |  |  |  |  |
| Anderson, Troy |  |  |  |  |
| Ayson, Janice |  |  |  |  |
| Bernecker, John |  |  |  |  |
| Bigbee, Nathan |  |  |  |  |
| Billo, Jeff |  |  |  |  |
| Boren, Ann |  |  |  |  |
| Bracy, Phil |  |  |  |  |
| Chan Wu, Vanessa |  |  |  |  |
| Chen, Jian |  |  |  |  |
| Cheng, Yong |  |  |  |  |
| Cheng, Yunzhi |  |  |  |  |
| Clifton, Suzy |  |  |  |  |
| Conto, Jose |  |  |  |  |
| Du, Pengwei |  |  |  |  |
| Ganjoo, Shalesh |  |  |  |  |
| Garcia, Freddy |  |  |  |  |
| Gnanam, Prabhu |  |  |  |  |
| Guiyab, Rochie |  |  |  |  |
| Fohn, Douglas |  |  |  |  |
| Hanson, Kevin |  |  |  |  |
| Hein, Johanna |  |  |  |  |
| Huang, Fred |  |  |  |  |
| Hull, Gibson |  |  |  |  |
| Jenkins, Darrell |  |  |  |  |
| Jowlabar, Nicholas |  |  |  |  |
| Kane, Erika |  |  |  |  |
| Lasher, Warren |  |  |  |  |
| Mago, Nitika |  |  |  |  |
| Matevosyan, Julia |  |  |  |  |
| Matlock, Robert |  |  |  |  |
| Meier, Eric |  |  |  |  |
| Miller, Megan |  |  |  |  |
| Neiberger, Valery |  |  |  |  |
| Nikouei, Farhad |  |  |  |  |
| Phillips, Cory |  |  |  |  |
| Sanchez, Daniel |  |  |  |  |
| Schmall, John |  |  |  |  |
| Shaw, Pamela |  |  |  |  |
| Solis, Stephen |  |  |  |  |
| Stice, Clayton |  |  |  |  |
| Teixeira, Jay |  |  |  |  |
| Thompson, Chad |  |  |  |  |
| Thompson, Lori |  |  |  |  |
| Thuerwaechter, Kashia |  |  |  |  |
| Townsend, Aaron |  |  |  |  |
| Troublefield, Jordan |  |  |  |  |
| Wolf, Craig |  |  |  |  |
| Woodfin, Dan |  |  |  |  |
| Xiao, Hong |  |  |  |  |
| Xiaoyu, Shawn |  |  |  |  |
| Yan, Ping |  |  |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the July 9, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and proposed using a combined ballot where possible to maximize efficiencies for items to be considered by ROS.

- Approval of Meeting Minutes (see Key Documents)

- June 4, 2020

- Market Participants reviewed the June 4, 2020 ROS Meeting Minutes.  Mr. Bunch noted this item could be considered in the Combined Ballot.

- Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch reviewed the disposition of items considered at the June 24, 2020 TAC meeting, including the 2020 TAC Goals.

2020 ROS Goals (See Key Documents)

Market Participants reviewed the 2020 Draft ROS Goals and offered clarifications.  Mr. Bunch noted this

item could be considered in the Combined Ballot.

- ERCOT Reports (see Key Documents)

Operations Report

- Nitika Mago reviewed the May 2020 Operations Report.

System Planning Report

Ping Yan presented the May 2020 System Planning Report.

West Texas Export Stability Assessment Report

John Schmall summarized the West Texas Export Stability Assessment Report, highlighted the findings and observations, and presented the next steps.

West to Central Texas Generic Transmission Constraint (GTC) Update

Prabhu Gnanam reviewed the West to Central Texas GTC issues, noted the West Texas export study results will be released by August 1, 2020, and summarized the management of the West to Central Texas GTC limits.

Inverter-Based Resources Follow Up Update

Fred Huang summarized recent activities related to inverter-based Resource integration issues.

New Protocol Revision Subcommittee (PRS) Referral (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

Dan Woodfin summarized NPRR1001, the 6/3/20 ERCOT comments and Nodal Operating Guide Revision Request (NOGRR) 207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications.  Market Participants requested review of the issues by the Operations Working Group (OWG).  Mr. Bunch noted this item could be considered in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Mr. Bunch noted recent comments to NPRR979, including the 6/25/20 CenterPoint Energy comments and 7/1/20 Luminant comments.  Market Participants requested additional time to review the issues.  Mr. Bunch stated that NPRR979 would be considered at the August 6, 2020 ROS meeting.

Review of ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 076, Improvements to Generation Resource Interconnection or Change Request (GINR) Process

Jay Teixeira summarized the 7/7/20 ERCOT comments.  Market Participants reviewed the revised Impact Analysis and debated the impact of a shortened timeline on ERCOT resources.  Mr. Bunch noted this item could be considered in the Combined Ballot.

NOGRR195, Generator Voltage Control Tolerance Band

Freddy Garcia summarized the 7/8/20 ERCOT comments.  Market Participants reviewed the Impact Analysis and appropriate priority and rank for NOGRR195.  Mr. Bunch noted this item could be considered in the Combined Ballot.

NOGRR208, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

Resource Registration Glossary Revision Request (RRGRR) 023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

Market Participants reviewed the 7/2/20 ERCOT comments and Revised Impact Analysis for RRGRR023.  Mr. Bunch noted these items could be considered in the Combined Ballot.

NOGRR209, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

RRGRR024, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

PGRR079, Related to NPRR1003, Elimination of References to Resource Asset Registration Form

Mr. Bunch noted these items could be considered in the Combined Ballot.

NOGRR212, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

RRGRR026, Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

Mr. Bunch noted these items could be considered in the Combined Ballot.

Language Review

NOGRR215, Limit Use of Remedial Action Schemes

Freddy Garcia summarized NOGRR215.  Market Participants briefly discussed the history and potential future impacts of Remedial Action Schemes (RASs) in ERCOT.  ERCOT Staff noted several transmission issues related to generation constraints, and proposed a more holistic review of the issues in a workshop forum.  Market Participants requested to consider NOGRR215 after the workshop.  Mr. Bunch noted this item could be considered in the Combined Ballot.

PGRR081, Related to NPRR1026, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources

Mr. Teixeira summarized PGRR081.  Market Participants noted the review of NPRR1026 by the Battery Energy Storage Task Force (BESTF).  Mr. Bunch noted this item could be considered in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

PGRR077, DC Tie Planning Assumptions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

NOGRR207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

NOGRR210, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

RRGRR025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

NOGRR211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

ROS took no action on these items.

Planning Geomagnetic Disturbance Task Force (PGDTF)

NOGRR214, Geomagnetic Disturbance (GMD) Measurement Data Reporting

Amjed Kandah reviewed PGDTF activities, summarized NOGRR214 and the 7/7/20 PGDTF comments.  Market Participants requested additional time to review the issues.  ERCOT Staff reminded Market Participants of the North American Electric Reliability Corporation (NERC) October timeline for data collection.  Mr. Bunch stated NOGRR214 would be considered at the August 6, 2020 ROS meeting.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Naved Khan reviewed SSWG activities and presented proposed revisions to the ERCOT Steady State Working Group Procedure Manual. Mr. Bunch noted this item could be considered in the Combined Ballot.

Combined Ballot

Denise Kunkel moved to approve the Combined Ballot as follows:

- To approve the June 4, 2020 ROS meeting minutes as submitted

- To approve the 2020 ROS Goals as revised by ROS

- To request PRS continue to table NPRR1001 for review by the OWG

- To endorse and forward to TAC the 6/4/20 ROS Report and the Revised Impact Analysis for PGRR076 with a recommended priority of 2021 and rank of 3200

- To endorse and forward to TAC the 6/4/20 ROS Report as amended by the 7/8/20 ERCOT comments and the Impact Analysis for NOGRR195 with a priority of 2020 and rank of 300

- To endorse and forward to TAC the 6/4/20 ROS Report and the Impact Analysis for NOGRR208

- To endorse and forward to TAC the 6/4/20 ROS Report as amended by the 7/2/20 ERCOT comments and the Revised Impact Analysis for RRGRR023

- To endorse and forward to TAC the 6/4/20 ROS Report and the Impact Analysis for NOGRR209

- To endorse and forward to TAC the 6/4/20 ROS Report as amended by the 6/15/20 ERCOT comments and the Impact Analysis for RRGRR024

- To endorse and forward to TAC the 6/4/20 ROS Report and the Impact Analysis for PGRR079

- To endorse and forward to TAC the 6/4/20 ROS Report and the Impact Analysis for NOGRR212

- To endorse and forward to TAC the 6/4/20 ROS Report and the Impact Analysis for RRGRR026

- To table NOGRR215

- To table PGRR081

- To approve the SSWG Procedure Manual as presented

Ian Haley seconded the motion.  The motions carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Dynamic Working Group (DWG) (see Key Documents)

Ransome Egunjobi reviewed DWG activities and responded to Market Participant questions and concerns regarding adopting PSS/e version 35 for the 2023 Flat Start Case build.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities, including consensus that an additional telemetry validation requirement should be considered in future Revision Request rather than in NPRR979.

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities.

Other Business

Clayton Stice encouraged Market Participants to attend the July 20, 2020 Distribution Generation Resource (DGR) Workshop IX.

Review of Open Action Items

Market Participants took no action on this item.

No Report

- Black Start Working Group (BSWG)

- Operations Training Group (OTWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the July 8, 2020 ROS meeting 2:05 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2020/7/9/189400-ROS