| PGRR Number | 077 | PGRR Title | DC Tie Planning Assumptions |
| --- | --- | --- | --- |
| Date of Decision |  | August 6, 2020 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Planning Guide Sections Requiring Revision |  | 4.1.1.1, Planning Assumptions |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) clarifies that assumed Direct Current Tie (DC Tie) flows will be curtailed in ERCOT’s transmission planning analysis when doing so is necessary to meet reliability criteria. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Clarification (please select all that apply) |  |
| Business Case |  | This PGRR clarifies transmission planning assumptions related to DC Tie flows used by ERCOT so that stakeholders have a clear understanding of what transmission improvements should or should not be planned for assumed DC Tie flows. |  |
| ROS Decision |  | On 2/6/20, ROS unanimously voted to table PGRR077 and refer the issue to the Planning Working Group (PLWG). All Market Segments were present for the vote. On 8/6/20, ROS voted via roll call to recommend approval of PGRR077 as submitted. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment, and six abstentions from the Independent Generator (3) (RWE, Luminant, Southern Power) and IPM (3) (EDF Trading, Shell Energy, Tenaska) Market Segments. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 2/6/20, ERCOT Staff provided an overview of PGRR077. Market Participants requested further review by the PLWG. On 8/6/20, participants discussed the 7/29/20 REMC comments and PGRR077 as submitted. |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | Jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6334 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| REMC 012420 | Proposed that for planning purposes, DC Tie Load be treated exactly the same as other Load, and that DC Tie imports be treated exactly the same as other Generation Resources |
| Sharyland 013020 | Recommended that transmission planning analyses provide for full import of utility-owned DC Ties |
| REMC 021920 | Suggested that assumed imports and exports based on historical imports and exports over the corresponding DC Tie were more appropriate to use in transmission planning studies than Steady State Working Group (SSWG) base cases, which may modify such flows in order for the case to solve |
| REMC 052820 | Provided further clarification regarding historical data for assumed imports and exports, and that the assumed DC Tie Load for DC Ties with no history of exports will be zero |
| WMS 060820 | Requested ROS continue to table PGRR077 to allow for additional review by the Congestion Management Working Group (CMWG) |
| ERCOT 070820 | Acknowledged potential implications of REMC’s proposed language with respect to Southern Cross Transmission Project and previous assumptions for Directives 5 and 6 of Public Utility Commission of Texas (PUCT) Project No. 46304 |
| REMC 072920 | Offered compromise language based on concerns outlined in the 7/8/20 ERCOT comments |
| WMS 080720 | Endorsed PGRR077 as submitted |

Market Rules Notes

None

Proposed Guide Language Revision

4.1.1.1	Planning Assumptions

(1)	A contingency loss of an element includes the loss of an element with or without a single line-to-ground or three-phase fault.

(2)	A common tower outage is the contingency loss of a double-circuit transmission line consisting of two circuits sharing a tower for 0.5 miles or greater.

(3)	Unavailability of a single generating unit includes an entire Combined Cycle Train, if no part of the train can operate with one of the units Off-Line as provided in the Resource Registration data.

(4)	The contingency loss of a single generating unit shall include the loss of an entire Combined Cycle Train, if that is the expected consequence.

(5)	The following assumptions may be applied to the SSWG base cases for use in planning studies:

(a)	Reasonable variations of Load forecast;

(b)	Reasonable variations of generation commitment and dispatch applicable to transmission planning analyses on a case-by-case basis may include, but are not limited to, the following methods:

(i)	Production cost model simulation, security constrained optimal power flow, or similar modeling tools that analyze the ERCOT System using hourly generation dispatch assumptions;

(ii)	Modeling of high levels of intermittent generation conditions; or

(iii)	Modeling of low levels of or no intermittent generation conditions.

(6)	Assumed Direct Current Tie (DC Tie) imports and exports will be curtailed as necessary to meet reliability criteria in planning studies.