| NOGRR Number | 218 | NOGRR Title | Removal of Annual Disturbance Monitoring Equipment Database Submission Requirement |
| --- | --- | --- | --- |
| Date Posted |  | August 19, 2020 |  |
| Requested Resolution |  | Urgent. Urgent status is requested so that this change can become effective prior to the October 31 deadline for disturbance monitoring equipment database submission. |  |
| Nodal Operating Guide Sections Requiring Revision |  | 6.1.5, Equipment Reporting Requirements |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) removes the requirement for disturbance monitoring equipment owners to submit their database annually to ERCOT. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Eliminating the annual requirement for submission of disturbance monitoring equipment databases would reduce the cost of data collection burden on owners. If ERCOT needs this information, ERCOT will issue a Request for Information. The System Protection Working Group (SPWG) reviewed the proposed changes during the July 22, 2020 meeting and supports this NOGRR. |  |

| Sponsor |  |
| --- | --- |
| Name | John Karlik & Andrew Mattei on behalf of the SPWG |
| E-mail Address | John.Karlik@austinenergy.com / amattei@brazoselectric.com |
| Company | Austin Energy / Brazos Electric |
| Phone Number | 512-505-7139 / 254-750-6767 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

Proposed Guide Language Revision

6.1.5	Equipment Reporting Requirements

(1)	Disturbance monitoring equipment owners shall maintain a current database summarizing their disturbance monitoring equipment installations.

(2)	The database shall include installation location, type of equipment, make and model of equipment, operational status, a listing of the major equipment being monitored.  Additionally, a complete list of all monitored points at each installation shall be maintained by disturbance monitoring equipment owners and provided, when requested specifically by ERCOT, the NERC Regional Entity, or NERC, within 30 days.