## 2020 RRS
Note that these preliminary 2021 quantities are based on the 2020 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW and the minimum RRS-PFR limit of 1150 MW has been used.
2020-01-01 | [5 empty] | 2020-02-01 | [5 empty] | 2020-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2998 | 1199 | 1799 | 1.74 | 60% | 1 | 2998 | 1199 | 1799 | 1.74 | 60% | 1 | 3086 | 1234 | 1852 | 1.83 | 60%
2 | 2998 | 1199 | 1799 | 1.74 | 60% | 2 | 2998 | 1199 | 1799 | 1.74 | 60% | 2 | 3086 | 1234 | 1852 | 1.83 | 60%
3 | 2959 | 1184 | 1776 | 1.65 | 60% | 3 | 2998 | 1199 | 1799 | 1.74 | 60% | 3 | 3086 | 1234 | 1852 | 1.83 | 60%
4 | 2959 | 1184 | 1776 | 1.65 | 60% | 4 | 2998 | 1199 | 1799 | 1.74 | 60% | 4 | 3086 | 1234 | 1852 | 1.83 | 60%
5 | 2959 | 1184 | 1776 | 1.65 | 60% | 5 | 2998 | 1199 | 1799 | 1.74 | 60% | 5 | 3086 | 1234 | 1852 | 1.83 | 60%
6 | 2959 | 1184 | 1776 | 1.65 | 60% | 6 | 2998 | 1199 | 1799 | 1.74 | 60% | 6 | 3086 | 1234 | 1852 | 1.83 | 60%
7 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 7 | 2959 | 1184 | 1775 | 1.65 | 60%
8 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 8 | 2959 | 1184 | 1775 | 1.65 | 60%
9 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 9 | 2959 | 1184 | 1775 | 1.65 | 60%
10 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 10 | 2959 | 1184 | 1775 | 1.65 | 60%
11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 11 | 2908 | 1163 | 1745 | 1.58 | 60%
12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 12 | 2908 | 1163 | 1745 | 1.58 | 60%
13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 13 | 2908 | 1163 | 1745 | 1.58 | 60%
14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 14 | 2908 | 1163 | 1745 | 1.58 | 60%
15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9%
16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9%
17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9%
18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9%
19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 19 | 2908 | 1163 | 1745 | 1.58 | 60%
20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 20 | 2908 | 1163 | 1745 | 1.58 | 60%
21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 21 | 2908 | 1163 | 1745 | 1.58 | 60%
22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 22 | 2908 | 1163 | 1745 | 1.58 | 60%
23 | 2998 | 1199 | 1799 | 1.74 | 60% | 23 | 2998 | 1199 | 1799 | 1.74 | 60% | 23 | 3086 | 1234 | 1852 | 1.83 | 60%
24 | 2998 | 1199 | 1799 | 1.74 | 60% | 24 | 2998 | 1199 | 1799 | 1.74 | 60% | 24 | 3086 | 1234 | 1852 | 1.83 | 60%
2020-04-01 | [5 empty] | 2020-05-01 | [5 empty] | 2020-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3086 | 1234 | 1852 | 1.83 | 60% | 1 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 1 | 2553 | 1150 | 1403 | 1.24 | 55%
2 | 3086 | 1234 | 1852 | 1.83 | 60% | 2 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 2 | 2553 | 1150 | 1403 | 1.24 | 55%
3 | 3086 | 1234 | 1852 | 1.83 | 60% | 3 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3 | 2598 | 1150 | 1448 | 1.28 | 55.7%
4 | 3086 | 1234 | 1852 | 1.83 | 60% | 4 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 4 | 2598 | 1150 | 1448 | 1.28 | 55.7%
5 | 3086 | 1234 | 1852 | 1.83 | 60% | 5 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 5 | 2598 | 1150 | 1448 | 1.28 | 55.7%
6 | 3086 | 1234 | 1852 | 1.83 | 60% | 6 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 6 | 2598 | 1150 | 1448 | 1.28 | 55.7%
7 | 2998 | 1199 | 1799 | 1.74 | 60% | 7 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 7 | 2523 | 1150 | 1373 | 1.19 | 54.4%
8 | 2998 | 1199 | 1799 | 1.74 | 60% | 8 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 8 | 2523 | 1150 | 1373 | 1.19 | 54.4%
9 | 2998 | 1199 | 1799 | 1.74 | 60% | 9 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 9 | 2523 | 1150 | 1373 | 1.19 | 54.4%
10 | 2998 | 1199 | 1799 | 1.74 | 60% | 10 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 10 | 2523 | 1150 | 1373 | 1.19 | 54.4%
11 | 2908 | 1163 | 1745 | 1.58 | 60% | 11 | 2553 | 1150 | 1403 | 1.24 | 55% | 11 | 2372 | 1150 | 1222 | 1.04 | 51.5%
12 | 2908 | 1163 | 1745 | 1.58 | 60% | 12 | 2553 | 1150 | 1403 | 1.24 | 55% | 12 | 2372 | 1150 | 1222 | 1.04 | 51.5%
13 | 2908 | 1163 | 1745 | 1.58 | 60% | 13 | 2553 | 1150 | 1403 | 1.24 | 55% | 13 | 2372 | 1150 | 1222 | 1.04 | 51.5%
14 | 2908 | 1163 | 1745 | 1.58 | 60% | 14 | 2553 | 1150 | 1403 | 1.24 | 55% | 14 | 2372 | 1150 | 1222 | 1.04 | 51.5%
15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 15 | 2341 | 1150 | 1191 | 1.01 | 50.9%
16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 16 | 2341 | 1150 | 1191 | 1.01 | 50.9%
17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 17 | 2341 | 1150 | 1191 | 1.01 | 50.9%
18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 18 | 2341 | 1150 | 1191 | 1.01 | 50.9%
19 | 2908 | 1163 | 1745 | 1.58 | 60% | 19 | 2553 | 1150 | 1403 | 1.24 | 55% | 19 | 2372 | 1150 | 1222 | 1.04 | 51.5%
20 | 2908 | 1163 | 1745 | 1.58 | 60% | 20 | 2553 | 1150 | 1403 | 1.24 | 55% | 20 | 2372 | 1150 | 1222 | 1.04 | 51.5%
21 | 2908 | 1163 | 1745 | 1.58 | 60% | 21 | 2553 | 1150 | 1403 | 1.24 | 55% | 21 | 2372 | 1150 | 1222 | 1.04 | 51.5%
22 | 2908 | 1163 | 1745 | 1.58 | 60% | 22 | 2553 | 1150 | 1403 | 1.24 | 55% | 22 | 2372 | 1150 | 1222 | 1.04 | 51.5%
23 | 3086 | 1234 | 1852 | 1.83 | 60% | 23 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 23 | 2553 | 1150 | 1403 | 1.24 | 55%
24 | 3086 | 1234 | 1852 | 1.83 | 60% | 24 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 24 | 2553 | 1150 | 1403 | 1.24 | 55%
2020-07-01 | [5 empty] | 2020-08-01 | [5 empty] | 2020-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 1 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 1 | 2553 | 1150 | 1403 | 1.24 | 55%
2 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2 | 2553 | 1150 | 1403 | 1.24 | 55%
3 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 3 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 3 | 2553 | 1150 | 1403 | 1.24 | 55%
4 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 4 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 4 | 2553 | 1150 | 1403 | 1.24 | 55%
5 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 5 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 5 | 2553 | 1150 | 1403 | 1.24 | 55%
6 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 6 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 6 | 2553 | 1150 | 1403 | 1.24 | 55%
7 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 7 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 7 | 2523 | 1150 | 1373 | 1.19 | 54.4%
8 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 8 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 8 | 2523 | 1150 | 1373 | 1.19 | 54.4%
9 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 9 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 9 | 2523 | 1150 | 1373 | 1.19 | 54.4%
10 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 10 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 10 | 2523 | 1150 | 1373 | 1.19 | 54.4%
11 | 2300 | 1150 | 1150 | 1 | 50% | 11 | 2300 | 1150 | 1150 | 1 | 50% | 11 | 2409 | 1150 | 1259 | 1.08 | 52.3%
12 | 2300 | 1150 | 1150 | 1 | 50% | 12 | 2300 | 1150 | 1150 | 1 | 50% | 12 | 2409 | 1150 | 1259 | 1.08 | 52.3%
13 | 2300 | 1150 | 1150 | 1 | 50% | 13 | 2300 | 1150 | 1150 | 1 | 50% | 13 | 2409 | 1150 | 1259 | 1.08 | 52.3%
14 | 2300 | 1150 | 1150 | 1 | 50% | 14 | 2300 | 1150 | 1150 | 1 | 50% | 14 | 2409 | 1150 | 1259 | 1.08 | 52.3%
15 | 2300 | 1150 | 1150 | 1 | 50% | 15 | 2300 | 1150 | 1150 | 1 | 50% | 15 | 2372 | 1150 | 1222 | 1.04 | 51.5%
16 | 2300 | 1150 | 1150 | 1 | 50% | 16 | 2300 | 1150 | 1150 | 1 | 50% | 16 | 2372 | 1150 | 1222 | 1.04 | 51.5%
17 | 2300 | 1150 | 1150 | 1 | 50% | 17 | 2300 | 1150 | 1150 | 1 | 50% | 17 | 2372 | 1150 | 1222 | 1.04 | 51.5%
18 | 2300 | 1150 | 1150 | 1 | 50% | 18 | 2300 | 1150 | 1150 | 1 | 50% | 18 | 2372 | 1150 | 1222 | 1.04 | 51.5%
19 | 2300 | 1150 | 1150 | 1 | 50% | 19 | 2300 | 1150 | 1150 | 1 | 50% | 19 | 2409 | 1150 | 1259 | 1.08 | 52.3%
20 | 2300 | 1150 | 1150 | 1 | 50% | 20 | 2300 | 1150 | 1150 | 1 | 50% | 20 | 2409 | 1150 | 1259 | 1.08 | 52.3%
21 | 2300 | 1150 | 1150 | 1 | 50% | 21 | 2300 | 1150 | 1150 | 1 | 50% | 21 | 2409 | 1150 | 1259 | 1.08 | 52.3%
22 | 2300 | 1150 | 1150 | 1 | 50% | 22 | 2300 | 1150 | 1150 | 1 | 50% | 22 | 2409 | 1150 | 1259 | 1.08 | 52.3%
23 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 23 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 23 | 2553 | 1150 | 1403 | 1.24 | 55%
24 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 24 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 24 | 2553 | 1150 | 1403 | 1.24 | 55%
2020-10-01 | [5 empty] | 2020-11-01 | [5 empty] | 2020-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2908 | 1163 | 1745 | 1.58 | 60% | 1 | 3086 | 1234 | 1852 | 1.83 | 60% | 1 | 2998 | 1199 | 1799 | 1.74 | 60%
2 | 2908 | 1163 | 1745 | 1.58 | 60% | 2 | 3086 | 1234 | 1852 | 1.83 | 60% | 2 | 2998 | 1199 | 1799 | 1.74 | 60%
3 | 2959 | 1184 | 1775 | 1.65 | 60% | 3 | 2998 | 1199 | 1799 | 1.74 | 60% | 3 | 2959 | 1184 | 1775 | 1.65 | 60%
4 | 2959 | 1184 | 1775 | 1.65 | 60% | 4 | 2998 | 1199 | 1799 | 1.74 | 60% | 4 | 2959 | 1184 | 1775 | 1.65 | 60%
5 | 2959 | 1184 | 1775 | 1.65 | 60% | 5 | 2998 | 1199 | 1799 | 1.74 | 60% | 5 | 2959 | 1184 | 1775 | 1.65 | 60%
6 | 2959 | 1184 | 1775 | 1.65 | 60% | 6 | 2998 | 1199 | 1799 | 1.74 | 60% | 6 | 2959 | 1184 | 1775 | 1.65 | 60%
7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 7 | 2908 | 1163 | 1745 | 1.58 | 60% | 7 | 2868 | 1150 | 1718 | 1.51 | 59.9%
8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 8 | 2908 | 1163 | 1745 | 1.58 | 60% | 8 | 2868 | 1150 | 1718 | 1.51 | 59.9%
9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 9 | 2908 | 1163 | 1745 | 1.58 | 60% | 9 | 2868 | 1150 | 1718 | 1.51 | 59.9%
10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 10 | 2908 | 1163 | 1745 | 1.58 | 60% | 10 | 2868 | 1150 | 1718 | 1.51 | 59.9%
11 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 11 | 2797 | 1150 | 1647 | 1.44 | 58.9%
12 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 12 | 2797 | 1150 | 1647 | 1.44 | 58.9%
13 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 13 | 2797 | 1150 | 1647 | 1.44 | 58.9%
14 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 14 | 2797 | 1150 | 1647 | 1.44 | 58.9%
15 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2797 | 1150 | 1647 | 1.44 | 58.9%
16 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2797 | 1150 | 1647 | 1.44 | 58.9%
17 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2797 | 1150 | 1647 | 1.44 | 58.9%
18 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2797 | 1150 | 1647 | 1.44 | 58.9%
19 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 19 | 2908 | 1163 | 1745 | 1.58 | 60% | 19 | 2868 | 1150 | 1718 | 1.51 | 59.9%
20 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 20 | 2908 | 1163 | 1745 | 1.58 | 60% | 20 | 2868 | 1150 | 1718 | 1.51 | 59.9%
21 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 21 | 2908 | 1163 | 1745 | 1.58 | 60% | 21 | 2868 | 1150 | 1718 | 1.51 | 59.9%
22 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 22 | 2908 | 1163 | 1745 | 1.58 | 60% | 22 | 2868 | 1150 | 1718 | 1.51 | 59.9%
23 | 2908 | 1163 | 1745 | 1.58 | 60% | 23 | 3086 | 1234 | 1852 | 1.83 | 60% | 23 | 2998 | 1199 | 1799 | 1.74 | 60%
24 | 2908 | 1163 | 1745 | 1.58 | 60% | 24 | 3086 | 1234 | 1852 | 1.83 | 60% | 24 | 2998 | 1199 | 1799 | 1.74 | 60%

## 2021 RRS
Note that these preliminary 2021 quantities are based on the 2020 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW and the minimum RRS-PFR limit of 1150 MW has been used. ERCOT is working with NERC to include the RCC update in NERC's 2020 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for 2021. As a result of this ERCOT expects that the minimum RRS-PFR limit for 2021 may change.
2021-01-01 | [5 empty] | 2021-02-01 | [5 empty] | 2021-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 1 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 1 | 2998 | 1199 | 1799 | 1.74 | 60.01%
2 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 2 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 2 | 2998 | 1199 | 1799 | 1.74 | 60.01%
3 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 3 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 3 | 3086 | 1234 | 1852 | 1.83 | 60.01%
4 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 4 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 4 | 3086 | 1234 | 1852 | 1.83 | 60.01%
5 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 5 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 5 | 3086 | 1234 | 1852 | 1.83 | 60.01%
6 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 6 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 6 | 3086 | 1234 | 1852 | 1.83 | 60.01%
7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 7 | 2908 | 1163 | 1745 | 1.58 | 60.01%
8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 8 | 2908 | 1163 | 1745 | 1.58 | 60.01%
9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 9 | 2908 | 1163 | 1745 | 1.58 | 60.01%
10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 10 | 2908 | 1163 | 1745 | 1.58 | 60.01%
11 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9%
12 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9%
13 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9%
14 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9%
15 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9%
16 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9%
17 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9%
18 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9%
19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 19 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 19 | 2868 | 1150 | 1718 | 1.51 | 59.9%
20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 20 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 20 | 2868 | 1150 | 1718 | 1.51 | 59.9%
21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 21 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 21 | 2868 | 1150 | 1718 | 1.51 | 59.9%
22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 22 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 22 | 2868 | 1150 | 1718 | 1.51 | 59.9%
23 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 23 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 23 | 2998 | 1199 | 1799 | 1.74 | 60.01%
24 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 24 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 24 | 2998 | 1199 | 1799 | 1.74 | 60.01%
2021-04-01 | [5 empty] | 2021-05-01 | [5 empty] | 2021-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 1 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 1 | 2598 | 1150 | 1448 | 1.28 | 55.74%
2 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 2 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 2 | 2598 | 1150 | 1448 | 1.28 | 55.74%
3 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 3 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 3 | 2707 | 1150 | 1557 | 1.39 | 57.52%
4 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 4 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 4 | 2707 | 1150 | 1557 | 1.39 | 57.52%
5 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 5 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 5 | 2707 | 1150 | 1557 | 1.39 | 57.52%
6 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 6 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 6 | 2707 | 1150 | 1557 | 1.39 | 57.52%
7 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 7 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 7 | 2553 | 1150 | 1403 | 1.24 | 54.95%
8 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 8 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 8 | 2553 | 1150 | 1403 | 1.24 | 54.95%
9 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 9 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 9 | 2553 | 1150 | 1403 | 1.24 | 54.95%
10 | 2959 | 1184 | 1775 | 1.65 | 59.99% | 10 | 2797 | 1150 | 1647 | 1.44 | 58.88% | 10 | 2553 | 1150 | 1403 | 1.24 | 54.95%
11 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 11 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 11 | 2409 | 1150 | 1259 | 1.08 | 52.26%
12 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 12 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 12 | 2409 | 1150 | 1259 | 1.08 | 52.26%
13 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 13 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 13 | 2409 | 1150 | 1259 | 1.08 | 52.26%
14 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 14 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 14 | 2409 | 1150 | 1259 | 1.08 | 52.26%
15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 15 | 2553 | 1150 | 1403 | 1.24 | 54.95% | 15 | 2372 | 1150 | 1222 | 1.04 | 51.52%
16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 16 | 2553 | 1150 | 1403 | 1.24 | 54.95% | 16 | 2372 | 1150 | 1222 | 1.04 | 51.52%
17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 17 | 2553 | 1150 | 1403 | 1.24 | 54.95% | 17 | 2372 | 1150 | 1222 | 1.04 | 51.52%
18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 18 | 2553 | 1150 | 1403 | 1.24 | 54.95% | 18 | 2372 | 1150 | 1222 | 1.04 | 51.52%
19 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 19 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 19 | 2409 | 1150 | 1259 | 1.08 | 52.26%
20 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 20 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 20 | 2409 | 1150 | 1259 | 1.08 | 52.26%
21 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 21 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 21 | 2409 | 1150 | 1259 | 1.08 | 52.26%
22 | 2908 | 1163 | 1745 | 1.58 | 60.01% | 22 | 2598 | 1150 | 1448 | 1.28 | 55.74% | 22 | 2409 | 1150 | 1259 | 1.08 | 52.26%
23 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 23 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 23 | 2598 | 1150 | 1448 | 1.28 | 55.74%
24 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 24 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 24 | 2598 | 1150 | 1448 | 1.28 | 55.74%
2021-07-01 | [5 empty] | 2021-08-01 | [5 empty] | 2021-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 1 | [5 empty] | 1
2 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 2 | [5 empty] | 2
3 | 2523 | 1150 | 1373 | 1.19 | 54.42% | 3 | [5 empty] | 3
4 | 2523 | 1150 | 1373 | 1.19 | 54.42% | 4 | [5 empty] | 4
5 | 2523 | 1150 | 1373 | 1.19 | 54.42% | 5 | [5 empty] | 5
6 | 2523 | 1150 | 1373 | 1.19 | 54.42% | 6 | [5 empty] | 6
7 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 7 | [5 empty] | 7
8 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 8 | [5 empty] | 8
9 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 9 | [5 empty] | 9
10 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 10 | [5 empty] | 10
11 | 2300 | 1150 | 1150 | 1 | 50% | 11 | [5 empty] | 11
12 | 2300 | 1150 | 1150 | 1 | 50% | 12 | [5 empty] | 12
13 | 2300 | 1150 | 1150 | 1 | 50% | 13 | [5 empty] | 13
14 | 2300 | 1150 | 1150 | 1 | 50% | 14 | [5 empty] | 14
15 | 2300 | 1150 | 1150 | 1 | 50% | 15 | [5 empty] | 15
16 | 2300 | 1150 | 1150 | 1 | 50% | 16 | [5 empty] | 16
17 | 2300 | 1150 | 1150 | 1 | 50% | 17 | [5 empty] | 17
18 | 2300 | 1150 | 1150 | 1 | 50% | 18 | [5 empty] | 18
19 | 2300 | 1150 | 1150 | 1 | 50% | 19 | [5 empty] | 19
20 | 2300 | 1150 | 1150 | 1 | 50% | 20 | [5 empty] | 20
21 | 2300 | 1150 | 1150 | 1 | 50% | 21 | [5 empty] | 21
22 | 2300 | 1150 | 1150 | 1 | 50% | 22 | [5 empty] | 22
23 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 23 | [5 empty] | 23
24 | 2440 | 1150 | 1290 | 1.12 | 52.87% | 24 | [5 empty] | 24
2021-10-01 | [5 empty] | 2021-11-01 | [5 empty] | 2021-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | [5 empty] | 1 | [5 empty] | 1
2 | [5 empty] | 2 | [5 empty] | 2
3 | [5 empty] | 3 | [5 empty] | 3
4 | [5 empty] | 4 | [5 empty] | 4
5 | [5 empty] | 5 | [5 empty] | 5
6 | [5 empty] | 6 | [5 empty] | 6
7 | [5 empty] | 7 | [5 empty] | 7
8 | [5 empty] | 8 | [5 empty] | 8
9 | [5 empty] | 9 | [5 empty] | 9
10 | [5 empty] | 10 | [5 empty] | 10
11 | [5 empty] | 11 | [5 empty] | 11
12 | [5 empty] | 12 | [5 empty] | 12
13 | [5 empty] | 13 | [5 empty] | 13
14 | [5 empty] | 14 | [5 empty] | 14
15 | [5 empty] | 15 | [5 empty] | 15
16 | [5 empty] | 16 | [5 empty] | 16
17 | [5 empty] | 17 | [5 empty] | 17
18 | [5 empty] | 18 | [5 empty] | 18
19 | [5 empty] | 19 | [5 empty] | 19
20 | [5 empty] | 20 | [5 empty] | 20
21 | [5 empty] | 21 | [5 empty] | 21
22 | [5 empty] | 22 | [5 empty] | 22
23 | [5 empty] | 23 | [5 empty] | 23
24 | [5 empty] | 24 | [5 empty] | 24

## Charts
Month | Date | Group | HE | Type | 2020 Value | 2021 Value | Delta | Month | Jun |  |  | Responsive Reserve Requirement Comparison for June
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 2959 | 39 | Type | RRS
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 2959 | 39
Jan | 2018-01-01 | b. HE3-6 | 3 | RRS | 2959 | 2959 | 0 | Row Labels | 2020 | 2021
Jan | 2018-01-01 | b. HE3-6 | 4 | RRS | 2959 | 2959 | 0 | a. HE1-2 & HE23-24 | 2553 | 2598
Jan | 2018-01-01 | b. HE3-6 | 5 | RRS | 2959 | 2959 | 0 | b. HE3-6 | 2598 | 2707
Jan | 2018-01-01 | b. HE3-6 | 6 | RRS | 2959 | 2959 | 0 | c. HE7-10 | 2523 | 2553
Jan | 2018-01-01 | c. HE7-10 | 7 | RRS | 2797 | 2868 | 71 | d. HE11-14 | 2372 | 2409
Jan | 2018-01-01 | c. HE7-10 | 8 | RRS | 2797 | 2868 | 71 | e. HE15-18 | 2341 | 2372
Jan | 2018-01-01 | c. HE7-10 | 9 | RRS | 2797 | 2868 | 71 | f. HE19-22 | 2372 | 2409
Jan | 2018-01-01 | c. HE7-10 | 10 | RRS | 2797 | 2868 | 71
Jan | 2018-01-01 | d. HE11-14 | 11 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | d. HE11-14 | 12 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | d. HE11-14 | 13 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | d. HE11-14 | 14 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | e. HE15-18 | 15 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | e. HE15-18 | 16 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | e. HE15-18 | 17 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | e. HE15-18 | 18 | RRS | 2868 | 2797 | 71
Jan | 2018-01-01 | f. HE19-22 | 19 | RRS | 2868 | 2868 | 0
Jan | 2018-01-01 | f. HE19-22 | 20 | RRS | 2868 | 2868 | 0
Jan | 2018-01-01 | f. HE19-22 | 21 | RRS | 2868 | 2868 | 0
Jan | 2018-01-01 | f. HE19-22 | 22 | RRS | 2868 | 2868 | 0
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 2959 | 39
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 2959 | 39
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 3086 | 88
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 3086 | 88
Feb | 2018-02-01 | b. HE3-6 | 3 | RRS | 2998 | 2998 | 0
Feb | 2018-02-01 | b. HE3-6 | 4 | RRS | 2998 | 2998 | 0
Feb | 2018-02-01 | b. HE3-6 | 5 | RRS | 2998 | 2998 | 0 | Type | RRS |  |  | Hourly Average Responsive Reserve Requirement Comparison
Feb | 2018-02-01 | b. HE3-6 | 6 | RRS | 2998 | 2998 | 0
Feb | 2018-02-01 | c. HE7-10 | 7 | RRS | 2868 | 2868 | 0 | Row Labels | 2020 Hourly Avg | 2021 Hourly Avg
Feb | 2018-02-01 | c. HE7-10 | 8 | RRS | 2868 | 2868 | 0 | Jan | 2893 | 2874.6667 | -18.3333
Feb | 2018-02-01 | c. HE7-10 | 9 | RRS | 2868 | 2868 | 0 | Feb | 2911.3333 | 2932.6667 | 21.3333
Feb | 2018-02-01 | c. HE7-10 | 10 | RRS | 2868 | 2868 | 0 | Mar | 2969.1667 | 2932.6667 | -36.5
Feb | 2018-02-01 | d. HE11-14 | 11 | RRS | 2868 | 2868 | 0 | Apr | 2975.6667 | 2969.1667 | -6.5
Feb | 2018-02-01 | d. HE11-14 | 12 | RRS | 2868 | 2868 | 0 | May | 2666.8333 | 2720.3333 | 53.5
Feb | 2018-02-01 | d. HE11-14 | 13 | RRS | 2868 | 2868 | 0 | Jun | 2459.8333 | 2508 | 48.1667
Feb | 2018-02-01 | d. HE11-14 | 14 | RRS | 2868 | 2868 | 0 | Jul | 2372.5 | 2383.8333 | 11.3333
Feb | 2018-02-01 | e. HE15-18 | 15 | RRS | 2868 | 2868 | 0 | Aug | 2353.5 | 0 | -2353.5
Feb | 2018-02-01 | e. HE15-18 | 16 | RRS | 2868 | 2868 | 0 | Sep | 2469.8333 | 0 | -2469.8333
Feb | 2018-02-01 | e. HE15-18 | 17 | RRS | 2868 | 2868 | 0 | Oct | 2799 | 0 | -2799
Feb | 2018-02-01 | e. HE15-18 | 18 | RRS | 2868 | 2868 | 0 | Nov | 2932.9565 | 0 | -2932.9565
Feb | 2018-02-01 | f. HE19-22 | 19 | RRS | 2868 | 2908 | 40 | Dec | 2889.36 | 0 | -2889.36
Feb | 2018-02-01 | f. HE19-22 | 20 | RRS | 2868 | 2908 | 40
Feb | 2018-02-01 | f. HE19-22 | 21 | RRS | 2868 | 2908 | 40
Feb | 2018-02-01 | f. HE19-22 | 22 | RRS | 2868 | 2908 | 40
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 3086 | 88 | Type | RRS
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 3086 | 88
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 2998 | 88 | Month | Group | Max of Delta
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 2998 | 88 | Jan | a. HE1-2 & HE23-24 | 39
Mar | 2018-03-01 | b. HE3-6 | 3 | RRS | 3086 | 3086 | 0 | Jan | b. HE3-6 | 0
Mar | 2018-03-01 | b. HE3-6 | 4 | RRS | 3086 | 3086 | 0 | Jan | c. HE7-10 | 71
Mar | 2018-03-01 | b. HE3-6 | 5 | RRS | 3086 | 3086 | 0 | Jan | d. HE11-14 | 71
Mar | 2018-03-01 | b. HE3-6 | 6 | RRS | 3086 | 3086 | 0 | Jan | e. HE15-18 | 71
Mar | 2018-03-01 | c. HE7-10 | 7 | RRS | 2959 | 2908 | 51 | Jan | f. HE19-22 | 0
Mar | 2018-03-01 | c. HE7-10 | 8 | RRS | 2959 | 2908 | 51 | Jan Total |  | 71
Mar | 2018-03-01 | c. HE7-10 | 9 | RRS | 2959 | 2908 | 51 | Feb | a. HE1-2 & HE23-24 | 88
Mar | 2018-03-01 | c. HE7-10 | 10 | RRS | 2959 | 2908 | 51 | Feb | b. HE3-6 | 0
Mar | 2018-03-01 | d. HE11-14 | 11 | RRS | 2908 | 2868 | 40 | Feb | c. HE7-10 | 0
Mar | 2018-03-01 | d. HE11-14 | 12 | RRS | 2908 | 2868 | 40 | Feb | d. HE11-14 | 0
Mar | 2018-03-01 | d. HE11-14 | 13 | RRS | 2908 | 2868 | 40 | Feb | e. HE15-18 | 0
Mar | 2018-03-01 | d. HE11-14 | 14 | RRS | 2908 | 2868 | 40 | Feb | f. HE19-22 | 40
Mar | 2018-03-01 | e. HE15-18 | 15 | RRS | 2868 | 2868 | 0 | Feb Total |  | 88
Mar | 2018-03-01 | e. HE15-18 | 16 | RRS | 2868 | 2868 | 0 | Mar | a. HE1-2 & HE23-24 | 88
Mar | 2018-03-01 | e. HE15-18 | 17 | RRS | 2868 | 2868 | 0 | Mar | b. HE3-6 | 0
Mar | 2018-03-01 | e. HE15-18 | 18 | RRS | 2868 | 2868 | 0 | Mar | c. HE7-10 | 51
Mar | 2018-03-01 | f. HE19-22 | 19 | RRS | 2908 | 2868 | 40 | Mar | d. HE11-14 | 40
Mar | 2018-03-01 | f. HE19-22 | 20 | RRS | 2908 | 2868 | 40 | Mar | e. HE15-18 | 0
Mar | 2018-03-01 | f. HE19-22 | 21 | RRS | 2908 | 2868 | 40 | Mar | f. HE19-22 | 40
Mar | 2018-03-01 | f. HE19-22 | 22 | RRS | 2908 | 2868 | 40 | Mar Total |  | 88
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 2998 | 88 | Apr | a. HE1-2 & HE23-24 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 2998 | 88 | Apr | b. HE3-6 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 3086 | 0 | Apr | c. HE7-10 | 39
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 3086 | 0 | Apr | d. HE11-14 | 0
Apr | 2018-04-01 | b. HE3-6 | 3 | RRS | 3086 | 3086 | 0 | Apr | e. HE15-18 | 0
Apr | 2018-04-01 | b. HE3-6 | 4 | RRS | 3086 | 3086 | 0 | Apr | f. HE19-22 | 0
Apr | 2018-04-01 | b. HE3-6 | 5 | RRS | 3086 | 3086 | 0 | Apr Total |  | 39
Apr | 2018-04-01 | b. HE3-6 | 6 | RRS | 3086 | 3086 | 0 | May | a. HE1-2 & HE23-24 | 71
Apr | 2018-04-01 | c. HE7-10 | 7 | RRS | 2998 | 2959 | 39 | May | b. HE3-6 | 40
Apr | 2018-04-01 | c. HE7-10 | 8 | RRS | 2998 | 2959 | 39 | May | c. HE7-10 | 90
Apr | 2018-04-01 | c. HE7-10 | 9 | RRS | 2998 | 2959 | 39 | May | d. HE11-14 | 45
Apr | 2018-04-01 | c. HE7-10 | 10 | RRS | 2998 | 2959 | 39 | May | e. HE15-18 | 30
Apr | 2018-04-01 | d. HE11-14 | 11 | RRS | 2908 | 2908 | 0 | May | f. HE19-22 | 45
Apr | 2018-04-01 | d. HE11-14 | 12 | RRS | 2908 | 2908 | 0 | May Total |  | 90
Apr | 2018-04-01 | d. HE11-14 | 13 | RRS | 2908 | 2908 | 0 | Jun | a. HE1-2 & HE23-24 | 45
Apr | 2018-04-01 | d. HE11-14 | 14 | RRS | 2908 | 2908 | 0 | Jun | b. HE3-6 | 109
Apr | 2018-04-01 | e. HE15-18 | 15 | RRS | 2868 | 2868 | 0 | Jun | c. HE7-10 | 30
Apr | 2018-04-01 | e. HE15-18 | 16 | RRS | 2868 | 2868 | 0 | Jun | d. HE11-14 | 37
Apr | 2018-04-01 | e. HE15-18 | 17 | RRS | 2868 | 2868 | 0 | Jun | e. HE15-18 | 31
Apr | 2018-04-01 | e. HE15-18 | 18 | RRS | 2868 | 2868 | 0 | Jun | f. HE19-22 | 37
Apr | 2018-04-01 | f. HE19-22 | 19 | RRS | 2908 | 2908 | 0 | Jun Total |  | 109
Apr | 2018-04-01 | f. HE19-22 | 20 | RRS | 2908 | 2908 | 0 | Jul | a. HE1-2 & HE23-24 | 0
Apr | 2018-04-01 | f. HE19-22 | 21 | RRS | 2908 | 2908 | 0 | Jul | b. HE3-6 | 37
Apr | 2018-04-01 | f. HE19-22 | 22 | RRS | 2908 | 2908 | 0 | Jul | c. HE7-10 | 31
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 3086 | 0 | Jul | d. HE11-14 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 3086 | 0 | Jul | e. HE15-18 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2797 | 2868 | 71 | Jul | f. HE19-22 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2797 | 2868 | 71 | Jul Total |  | 37
May | 2018-05-01 | b. HE3-6 | 3 | RRS | 2868 | 2908 | 40 | Aug | a. HE1-2 & HE23-24 | 2409
May | 2018-05-01 | b. HE3-6 | 4 | RRS | 2868 | 2908 | 40 | Aug | b. HE3-6 | 2440
May | 2018-05-01 | b. HE3-6 | 5 | RRS | 2868 | 2908 | 40 | Aug | c. HE7-10 | 2372
May | 2018-05-01 | b. HE3-6 | 6 | RRS | 2868 | 2908 | 40 | Aug | d. HE11-14 | 2300
May | 2018-05-01 | c. HE7-10 | 7 | RRS | 2707 | 2797 | 90 | Aug | e. HE15-18 | 2300
May | 2018-05-01 | c. HE7-10 | 8 | RRS | 2707 | 2797 | 90 | Aug | f. HE19-22 | 2300
May | 2018-05-01 | c. HE7-10 | 9 | RRS | 2707 | 2797 | 90 | Aug Total |  | 2440
May | 2018-05-01 | c. HE7-10 | 10 | RRS | 2707 | 2797 | 90 | Sep | a. HE1-2 & HE23-24 | 2553
May | 2018-05-01 | d. HE11-14 | 11 | RRS | 2553 | 2598 | 45 | Sep | b. HE3-6 | 2553
May | 2018-05-01 | d. HE11-14 | 12 | RRS | 2553 | 2598 | 45 | Sep | c. HE7-10 | 2523
May | 2018-05-01 | d. HE11-14 | 13 | RRS | 2553 | 2598 | 45 | Sep | d. HE11-14 | 2409
May | 2018-05-01 | d. HE11-14 | 14 | RRS | 2553 | 2598 | 45 | Sep | e. HE15-18 | 2372
May | 2018-05-01 | e. HE15-18 | 15 | RRS | 2523 | 2553 | 30 | Sep | f. HE19-22 | 2409
May | 2018-05-01 | e. HE15-18 | 16 | RRS | 2523 | 2553 | 30 | Sep Total |  | 2553
May | 2018-05-01 | e. HE15-18 | 17 | RRS | 2523 | 2553 | 30 | Oct | a. HE1-2 & HE23-24 | 2908
May | 2018-05-01 | e. HE15-18 | 18 | RRS | 2523 | 2553 | 30 | Oct | b. HE3-6 | 2959
May | 2018-05-01 | f. HE19-22 | 19 | RRS | 2553 | 2598 | 45 | Oct | c. HE7-10 | 2868
May | 2018-05-01 | f. HE19-22 | 20 | RRS | 2553 | 2598 | 45 | Oct | d. HE11-14 | 2707
May | 2018-05-01 | f. HE19-22 | 21 | RRS | 2553 | 2598 | 45 | Oct | e. HE15-18 | 2645
May | 2018-05-01 | f. HE19-22 | 22 | RRS | 2553 | 2598 | 45 | Oct | f. HE19-22 | 2707
May | 2018-05-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2797 | 2868 | 71 | Oct Total |  | 2959
May | 2018-05-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2797 | 2868 | 71 | Nov | a. HE1-2 & HE23-24 | 3086
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2553 | 2598 | 45 | Nov | b. HE3-6 | 2998
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2553 | 2598 | 45 | Nov | c. HE7-10 | 2908
Jun | 2018-06-01 | b. HE3-6 | 3 | RRS | 2598 | 2707 | 109 | Nov | d. HE11-14 | 2868
Jun | 2018-06-01 | b. HE3-6 | 4 | RRS | 2598 | 2707 | 109 | Nov | e. HE15-18 | 2868
Jun | 2018-06-01 | b. HE3-6 | 5 | RRS | 2598 | 2707 | 109 | Nov | f. HE19-22 | 2908
Jun | 2018-06-01 | b. HE3-6 | 6 | RRS | 2598 | 2707 | 109 | Nov Total |  | 3086
Jun | 2018-06-01 | c. HE7-10 | 7 | RRS | 2523 | 2553 | 30 | Dec | a. HE1-2 & HE23-24 | 3086
Jun | 2018-06-01 | c. HE7-10 | 8 | RRS | 2523 | 2553 | 30 | Dec | b. HE3-6 | 2959
Jun | 2018-06-01 | c. HE7-10 | 9 | RRS | 2523 | 2553 | 30 | Dec | c. HE7-10 | 2868
Jun | 2018-06-01 | c. HE7-10 | 10 | RRS | 2523 | 2553 | 30 | Dec | d. HE11-14 | 2797
Jun | 2018-06-01 | d. HE11-14 | 11 | RRS | 2372 | 2409 | 37 | Dec | e. HE15-18 | 2797
Jun | 2018-06-01 | d. HE11-14 | 12 | RRS | 2372 | 2409 | 37 | Dec | f. HE19-22 | 2868
Jun | 2018-06-01 | d. HE11-14 | 13 | RRS | 2372 | 2409 | 37 | Dec Total |  | 3086
Jun | 2018-06-01 | d. HE11-14 | 14 | RRS | 2372 | 2409 | 37 | Grand Total |  | 3086
Jun | 2018-06-01 | e. HE15-18 | 15 | RRS | 2341 | 2372 | 31
Jun | 2018-06-01 | e. HE15-18 | 16 | RRS | 2341 | 2372 | 31
Jun | 2018-06-01 | e. HE15-18 | 17 | RRS | 2341 | 2372 | 31
Jun | 2018-06-01 | e. HE15-18 | 18 | RRS | 2341 | 2372 | 31
Jun | 2018-06-01 | f. HE19-22 | 19 | RRS | 2372 | 2409 | 37
Jun | 2018-06-01 | f. HE19-22 | 20 | RRS | 2372 | 2409 | 37
Jun | 2018-06-01 | f. HE19-22 | 21 | RRS | 2372 | 2409 | 37
Jun | 2018-06-01 | f. HE19-22 | 22 | RRS | 2372 | 2409 | 37
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2553 | 2598 | 45
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2553 | 2598 | 45
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2440 | 2440 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2440 | 2440 | 0
Jul | 2018-07-01 | b. HE3-6 | 3 | RRS | 2486 | 2523 | 37
Jul | 2018-07-01 | b. HE3-6 | 4 | RRS | 2486 | 2523 | 37
Jul | 2018-07-01 | b. HE3-6 | 5 | RRS | 2486 | 2523 | 37
Jul | 2018-07-01 | b. HE3-6 | 6 | RRS | 2486 | 2523 | 37
Jul | 2018-07-01 | c. HE7-10 | 7 | RRS | 2409 | 2440 | 31
Jul | 2018-07-01 | c. HE7-10 | 8 | RRS | 2409 | 2440 | 31
Jul | 2018-07-01 | c. HE7-10 | 9 | RRS | 2409 | 2440 | 31
Jul | 2018-07-01 | c. HE7-10 | 10 | RRS | 2409 | 2440 | 31
Jul | 2018-07-01 | d. HE11-14 | 11 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | d. HE11-14 | 12 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | d. HE11-14 | 13 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | d. HE11-14 | 14 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | e. HE15-18 | 15 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | e. HE15-18 | 16 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | e. HE15-18 | 17 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | e. HE15-18 | 18 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | f. HE19-22 | 19 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | f. HE19-22 | 20 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | f. HE19-22 | 21 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | f. HE19-22 | 22 | RRS | 2300 | 2300 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2440 | 2440 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2440 | 2440 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2409 | 0 | 2409
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2409 | 0 | 2409
Aug | 2018-08-01 | b. HE3-6 | 3 | RRS | 2440 | 0 | 2440
Aug | 2018-08-01 | b. HE3-6 | 4 | RRS | 2440 | 0 | 2440
Aug | 2018-08-01 | b. HE3-6 | 5 | RRS | 2440 | 0 | 2440
Aug | 2018-08-01 | b. HE3-6 | 6 | RRS | 2440 | 0 | 2440
Aug | 2018-08-01 | c. HE7-10 | 7 | RRS | 2372 | 0 | 2372
Aug | 2018-08-01 | c. HE7-10 | 8 | RRS | 2372 | 0 | 2372
Aug | 2018-08-01 | c. HE7-10 | 9 | RRS | 2372 | 0 | 2372
Aug | 2018-08-01 | c. HE7-10 | 10 | RRS | 2372 | 0 | 2372
Aug | 2018-08-01 | d. HE11-14 | 11 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | d. HE11-14 | 12 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | d. HE11-14 | 13 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | d. HE11-14 | 14 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | e. HE15-18 | 15 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | e. HE15-18 | 16 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | e. HE15-18 | 17 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | e. HE15-18 | 18 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | f. HE19-22 | 19 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | f. HE19-22 | 20 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | f. HE19-22 | 21 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | f. HE19-22 | 22 | RRS | 2300 | 0 | 2300
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2409 | 0 | 2409
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | b. HE3-6 | 3 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | b. HE3-6 | 4 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | b. HE3-6 | 5 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | b. HE3-6 | 6 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | c. HE7-10 | 7 | RRS | 2523 | 0 | 2523
Sep | 2018-09-01 | c. HE7-10 | 8 | RRS | 2523 | 0 | 2523
Sep | 2018-09-01 | c. HE7-10 | 9 | RRS | 2523 | 0 | 2523
Sep | 2018-09-01 | c. HE7-10 | 10 | RRS | 2523 | 0 | 2523
Sep | 2018-09-01 | d. HE11-14 | 11 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | d. HE11-14 | 12 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | d. HE11-14 | 13 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | d. HE11-14 | 14 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | e. HE15-18 | 15 | RRS | 2372 | 0 | 2372
Sep | 2018-09-01 | e. HE15-18 | 16 | RRS | 2372 | 0 | 2372
Sep | 2018-09-01 | e. HE15-18 | 17 | RRS | 2372 | 0 | 2372
Sep | 2018-09-01 | e. HE15-18 | 18 | RRS | 2372 | 0 | 2372
Sep | 2018-09-01 | f. HE19-22 | 19 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | f. HE19-22 | 20 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | f. HE19-22 | 21 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | f. HE19-22 | 22 | RRS | 2409 | 0 | 2409
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2553 | 0 | 2553
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2553 | 0 | 2553
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2908 | 0 | 2908
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2908 | 0 | 2908
Oct | 2018-10-01 | b. HE3-6 | 3 | RRS | 2959 | 0 | 2959
Oct | 2018-10-01 | b. HE3-6 | 4 | RRS | 2959 | 0 | 2959
Oct | 2018-10-01 | b. HE3-6 | 5 | RRS | 2959 | 0 | 2959
Oct | 2018-10-01 | b. HE3-6 | 6 | RRS | 2959 | 0 | 2959
Oct | 2018-10-01 | c. HE7-10 | 7 | RRS | 2868 | 0 | 2868
Oct | 2018-10-01 | c. HE7-10 | 8 | RRS | 2868 | 0 | 2868
Oct | 2018-10-01 | c. HE7-10 | 9 | RRS | 2868 | 0 | 2868
Oct | 2018-10-01 | c. HE7-10 | 10 | RRS | 2868 | 0 | 2868
Oct | 2018-10-01 | d. HE11-14 | 11 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | d. HE11-14 | 12 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | d. HE11-14 | 13 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | d. HE11-14 | 14 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | e. HE15-18 | 15 | RRS | 2645 | 0 | 2645
Oct | 2018-10-01 | e. HE15-18 | 16 | RRS | 2645 | 0 | 2645
Oct | 2018-10-01 | e. HE15-18 | 17 | RRS | 2645 | 0 | 2645
Oct | 2018-10-01 | e. HE15-18 | 18 | RRS | 2645 | 0 | 2645
Oct | 2018-10-01 | f. HE19-22 | 19 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | f. HE19-22 | 20 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | f. HE19-22 | 21 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | f. HE19-22 | 22 | RRS | 2707 | 0 | 2707
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2908 | 0 | 2908
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 0 | 3086
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 0 | 3086
Nov | 2018-11-01 | b. HE3-6 | 3 | RRS | 2998 | 0 | 2998
Nov | 2018-11-01 | b. HE3-6 | 4 | RRS | 2998 | 0 | 2998
Nov | 2018-11-01 | b. HE3-6 | 5 | RRS | 2998 | 0 | 2998
Nov | 2018-11-01 | b. HE3-6 | 6 | RRS | 2998 | 0 | 2998
Nov | 2018-11-01 | c. HE7-10 | 7 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | c. HE7-10 | 8 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | c. HE7-10 | 9 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | c. HE7-10 | 10 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | d. HE11-14 | 11 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | d. HE11-14 | 12 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | d. HE11-14 | 13 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | d. HE11-14 | 14 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | e. HE15-18 | 15 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | e. HE15-18 | 16 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | e. HE15-18 | 17 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | e. HE15-18 | 18 | RRS | 2868 | 0 | 2868
Nov | 2018-11-01 | f. HE19-22 | 19 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | f. HE19-22 | 20 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | f. HE19-22 | 21 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | f. HE19-22 | 22 | RRS | 2908 | 0 | 2908
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 0 | 3086
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 0 | 3086
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 0 | 2998
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 0 | 2998
Dec | 2018-12-01 | b. HE3-6 | 3 | RRS | 2959 | 0 | 2959
Dec | 2018-12-01 | b. HE3-6 | 4 | RRS | 2959 | 0 | 2959
Dec | 2018-12-01 | b. HE3-6 | 5 | RRS | 2959 | 0 | 2959
Dec | 2018-12-01 | b. HE3-6 | 6 | RRS | 2959 | 0 | 2959
Dec | 2018-12-01 | c. HE7-10 | 7 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | c. HE7-10 | 8 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | c. HE7-10 | 9 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | c. HE7-10 | 10 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | d. HE11-14 | 11 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | d. HE11-14 | 12 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | d. HE11-14 | 13 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | d. HE11-14 | 14 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | e. HE15-18 | 15 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | e. HE15-18 | 16 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | e. HE15-18 | 17 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | e. HE15-18 | 18 | RRS | 2797 | 0 | 2797
Dec | 2018-12-01 | f. HE19-22 | 19 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | f. HE19-22 | 20 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | f. HE19-22 | 21 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | f. HE19-22 | 22 | RRS | 2868 | 0 | 2868
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 0 | 2998
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 0 | 2998