## 2020 NSRS
2020 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 1196 | 1238 | 1222 | 1128 | 1061 | 1057 | 1238 | 1194 | 1215 | 1092 | 1252 | 1210
2 | 1196 | 1238 | 1222 | 1128 | 1061 | 1057 | 1238 | 1194 | 1215 | 1092 | 1252 | 1210
3 | 1227 | 1402 | 1221 | 1409 | 1409 | 1360 | 1313 | 1401 | 1337 | 1517 | 1499 | 1345
4 | 1227 | 1402 | 1221 | 1409 | 1409 | 1360 | 1313 | 1401 | 1337 | 1517 | 1499 | 1345
5 | 1227 | 1402 | 1221 | 1409 | 1409 | 1360 | 1313 | 1401 | 1337 | 1517 | 1499 | 1345
6 | 1227 | 1402 | 1221 | 1409 | 1409 | 1360 | 1313 | 1401 | 1337 | 1517 | 1499 | 1345
7 | 2036 | 2128 | 1773 | 1810 | 2048 | 1926 | 1533 | 1755 | 1490 | 1858 | 1894 | 1818
8 | 2036 | 2128 | 1773 | 1810 | 2048 | 1926 | 1533 | 1755 | 1490 | 1858 | 1894 | 1818
9 | 2036 | 2128 | 1773 | 1810 | 2048 | 1926 | 1533 | 1755 | 1490 | 1858 | 1894 | 1818
10 | 2036 | 2128 | 1773 | 1810 | 2048 | 1926 | 1533 | 1755 | 1490 | 1858 | 1894 | 1818
11 | 1612 | 1612 | 1734 | 1256 | 1663 | 1493 | 1574 | 1776 | 1869 | 1694 | 1362 | 1633
12 | 1612 | 1612 | 1734 | 1256 | 1663 | 1493 | 1574 | 1776 | 1869 | 1694 | 1362 | 1633
13 | 1612 | 1612 | 1734 | 1256 | 1663 | 1493 | 1574 | 1776 | 1869 | 1694 | 1362 | 1633
14 | 1612 | 1612 | 1734 | 1256 | 1663 | 1493 | 1574 | 1776 | 1869 | 1694 | 1362 | 1633
15 | 1418 | 1667 | 1204 | 1290 | 1397 | 1578 | 1150 | 1157 | 1150 | 1366 | 1481 | 1867
16 | 1418 | 1667 | 1204 | 1290 | 1397 | 1578 | 1150 | 1157 | 1150 | 1366 | 1481 | 1867
17 | 1418 | 1667 | 1204 | 1290 | 1397 | 1578 | 1150 | 1157 | 1150 | 1366 | 1481 | 1867
18 | 1418 | 1667 | 1204 | 1290 | 1397 | 1578 | 1150 | 1157 | 1150 | 1366 | 1481 | 1867
19 | 1901 | 1752 | 1615 | 1770 | 1373 | 1249 | 1117 | 1198 | 1263 | 1231 | 1287 | 1338
20 | 1901 | 1752 | 1615 | 1770 | 1373 | 1249 | 1117 | 1198 | 1263 | 1231 | 1287 | 1338
21 | 1901 | 1752 | 1615 | 1770 | 1373 | 1249 | 1117 | 1198 | 1263 | 1231 | 1287 | 1338
22 | 1901 | 1752 | 1615 | 1770 | 1373 | 1249 | 1117 | 1198 | 1263 | 1231 | 1287 | 1338
23 | 1196 | 1238 | 1222 | 1128 | 1061 | 1057 | 1238 | 1194 | 1215 | 1092 | 1252 | 1210
24 | 1196 | 1238 | 1222 | 1128 | 1061 | 1057 | 1238 | 1194 | 1215 | 1092 | 1252 | 1210
Total | 37560 | 39196 | 35076 | 34652 | 35804 | 34652 | 31700 | 33924 | 33296 | 35032 | 35100 | 36844
| 1565 | 1633.1667 | 1461.5 | 1443.8333 | 1491.8333 | 1443.8333 | 1320.8333 | 1413.5 | 1387.3333 | 1459.6667 | 1462.5 | 1535.1667
* The NSRS quantities have been calculated based on the historical data from 2017, 2018 and 2019.

## 2021 NSRS
2021 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS Apr: 1196; 2021 NSRS May: 1076; 2021 NSRS Jun: 1106; 2021 NSRS Jul: 1110
2 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS Apr: 1196; 2021 NSRS May: 1076; 2021 NSRS Jun: 1106; 2021 NSRS Jul: 1110
3 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS Apr: 1379; 2021 NSRS May: 1314; 2021 NSRS Jun: 1316; 2021 NSRS Jul: 1245
4 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS Apr: 1379; 2021 NSRS May: 1314; 2021 NSRS Jun: 1316; 2021 NSRS Jul: 1245
5 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS Apr: 1379; 2021 NSRS May: 1314; 2021 NSRS Jun: 1316; 2021 NSRS Jul: 1245
6 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS Apr: 1379; 2021 NSRS May: 1314; 2021 NSRS Jun: 1316; 2021 NSRS Jul: 1245
7 | Jan: 1891; Feb: 1981; Mar: 1730; 2021 NSRS Apr: 1733; 2021 NSRS May: 1782; 2021 NSRS Jun: 1896; 2021 NSRS Jul: 1472
8 | Jan: 1891; Feb: 1981; Mar: 1730; 2021 NSRS Apr: 1733; 2021 NSRS May: 1782; 2021 NSRS Jun: 1896; 2021 NSRS Jul: 1472
9 | Jan: 1891; Feb: 1981; Mar: 1730; 2021 NSRS Apr: 1733; 2021 NSRS May: 1782; 2021 NSRS Jun: 1896; 2021 NSRS Jul: 1472
10 | Jan: 1891; Feb: 1981; Mar: 1730; 2021 NSRS Apr: 1733; 2021 NSRS May: 1782; 2021 NSRS Jun: 1896; 2021 NSRS Jul: 1472
11 | Jan: 1410; Feb: 1517; Mar: 1598; 2021 NSRS Apr: 1366; 2021 NSRS May: 1488; 2021 NSRS Jun: 1407; 2021 NSRS Jul: 1456
12 | Jan: 1410; Feb: 1517; Mar: 1598; 2021 NSRS Apr: 1366; 2021 NSRS May: 1488; 2021 NSRS Jun: 1407; 2021 NSRS Jul: 1456
13 | Jan: 1410; Feb: 1517; Mar: 1598; 2021 NSRS Apr: 1366; 2021 NSRS May: 1488; 2021 NSRS Jun: 1407; 2021 NSRS Jul: 1456
14 | Jan: 1410; Feb: 1517; Mar: 1598; 2021 NSRS Apr: 1366; 2021 NSRS May: 1488; 2021 NSRS Jun: 1407; 2021 NSRS Jul: 1456
15 | Jan: 1308; Feb: 1530; Mar: 1181; 2021 NSRS Apr: 1320; 2021 NSRS May: 1298; 2021 NSRS Jun: 1604; 2021 NSRS Jul: 1186
16 | Jan: 1308; Feb: 1530; Mar: 1181; 2021 NSRS Apr: 1320; 2021 NSRS May: 1298; 2021 NSRS Jun: 1604; 2021 NSRS Jul: 1186
17 | Jan: 1308; Feb: 1530; Mar: 1181; 2021 NSRS Apr: 1320; 2021 NSRS May: 1298; 2021 NSRS Jun: 1604; 2021 NSRS Jul: 1186
18 | Jan: 1308; Feb: 1530; Mar: 1181; 2021 NSRS Apr: 1320; 2021 NSRS May: 1298; 2021 NSRS Jun: 1604; 2021 NSRS Jul: 1186
19 | Jan: 2047; Feb: 1926; Mar: 1547; 2021 NSRS Apr: 1704; 2021 NSRS May: 1373; 2021 NSRS Jun: 1282; 2021 NSRS Jul: 1204
20 | Jan: 2047; Feb: 1926; Mar: 1547; 2021 NSRS Apr: 1704; 2021 NSRS May: 1373; 2021 NSRS Jun: 1282; 2021 NSRS Jul: 1204
21 | Jan: 2047; Feb: 1926; Mar: 1547; 2021 NSRS Apr: 1704; 2021 NSRS May: 1373; 2021 NSRS Jun: 1282; 2021 NSRS Jul: 1204
22 | Jan: 2047; Feb: 1926; Mar: 1547; 2021 NSRS Apr: 1704; 2021 NSRS May: 1373; 2021 NSRS Jun: 1282; 2021 NSRS Jul: 1204
23 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS Apr: 1196; 2021 NSRS May: 1076; 2021 NSRS Jun: 1106; 2021 NSRS Jul: 1110
24 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS Apr: 1196; 2021 NSRS May: 1076; 2021 NSRS Jun: 1106; 2021 NSRS Jul: 1110
Total | 35888 | 37604 | 34076 | 34792 | 33324 | 34444 | 30692 | 0 | 0 | 0 | 0 | 0
| 1495.3333 | 1566.8333 | 1419.8333 | 1449.6667 | 1388.5 | 1435.1667 | 1278.8333 | #DIV/0!
* The NSRS quantities have been calculated based on the historical data from 2017, 2018 and 2019.

## 2021 NSRS wPVGR Adj
2021 NSRS w PVGR Adjustment
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS w PVGR Adjustment Apr: 1196; 2021 NSRS w PVGR Adjustment May: 1076; 2021 NSRS w PVGR Adjustment Jun: 1106; 2021 NSRS w PVGR Adjustment Jul: 1110
2 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS w PVGR Adjustment Apr: 1196; 2021 NSRS w PVGR Adjustment May: 1076; 2021 NSRS w PVGR Adjustment Jun: 1106; 2021 NSRS w PVGR Adjustment Jul: 1110
3 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS w PVGR Adjustment Apr: 1379; 2021 NSRS w PVGR Adjustment May: 1314; 2021 NSRS w PVGR Adjustment Jun: 1316; 2021 NSRS w PVGR Adjustment Jul: 1245
4 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS w PVGR Adjustment Apr: 1379; 2021 NSRS w PVGR Adjustment May: 1314; 2021 NSRS w PVGR Adjustment Jun: 1316; 2021 NSRS w PVGR Adjustment Jul: 1245
5 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS w PVGR Adjustment Apr: 1379; 2021 NSRS w PVGR Adjustment May: 1314; 2021 NSRS w PVGR Adjustment Jun: 1316; 2021 NSRS w PVGR Adjustment Jul: 1245
6 | Jan: 1147; Feb: 1257; Mar: 1327; 2021 NSRS w PVGR Adjustment Apr: 1379; 2021 NSRS w PVGR Adjustment May: 1314; 2021 NSRS w PVGR Adjustment Jun: 1316; 2021 NSRS w PVGR Adjustment Jul: 1245
7 | Jan: 1895; Feb: 1984; Mar: 1816; 2021 NSRS w PVGR Adjustment Apr: 1820; 2021 NSRS w PVGR Adjustment May: 1881; 2021 NSRS w PVGR Adjustment Jun: 2003; 2021 NSRS w PVGR Adjustment Jul: 1577
8 | Jan: 1895; Feb: 1984; Mar: 1816; 2021 NSRS w PVGR Adjustment Apr: 1820; 2021 NSRS w PVGR Adjustment May: 1881; 2021 NSRS w PVGR Adjustment Jun: 2003; 2021 NSRS w PVGR Adjustment Jul: 1577
9 | Jan: 1895; Feb: 1984; Mar: 1816; 2021 NSRS w PVGR Adjustment Apr: 1820; 2021 NSRS w PVGR Adjustment May: 1881; 2021 NSRS w PVGR Adjustment Jun: 2003; 2021 NSRS w PVGR Adjustment Jul: 1577
10 | Jan: 1895; Feb: 1984; Mar: 1816; 2021 NSRS w PVGR Adjustment Apr: 1820; 2021 NSRS w PVGR Adjustment May: 1881; 2021 NSRS w PVGR Adjustment Jun: 2003; 2021 NSRS w PVGR Adjustment Jul: 1577
11 | Jan: 1531; Feb: 1632; Mar: 1770; 2021 NSRS w PVGR Adjustment Apr: 1540; 2021 NSRS w PVGR Adjustment May: 1686; 2021 NSRS w PVGR Adjustment Jun: 1553; 2021 NSRS w PVGR Adjustment Jul: 1599
12 | Jan: 1531; Feb: 1632; Mar: 1770; 2021 NSRS w PVGR Adjustment Apr: 1540; 2021 NSRS w PVGR Adjustment May: 1686; 2021 NSRS w PVGR Adjustment Jun: 1553; 2021 NSRS w PVGR Adjustment Jul: 1599
13 | Jan: 1531; Feb: 1632; Mar: 1770; 2021 NSRS w PVGR Adjustment Apr: 1540; 2021 NSRS w PVGR Adjustment May: 1686; 2021 NSRS w PVGR Adjustment Jun: 1553; 2021 NSRS w PVGR Adjustment Jul: 1599
14 | Jan: 1531; Feb: 1632; Mar: 1770; 2021 NSRS w PVGR Adjustment Apr: 1540; 2021 NSRS w PVGR Adjustment May: 1686; 2021 NSRS w PVGR Adjustment Jun: 1553; 2021 NSRS w PVGR Adjustment Jul: 1599
15 | Jan: 1420; Feb: 1636; Mar: 1390; 2021 NSRS w PVGR Adjustment Apr: 1530; 2021 NSRS w PVGR Adjustment May: 1538; 2021 NSRS w PVGR Adjustment Jun: 1828; 2021 NSRS w PVGR Adjustment Jul: 1406
16 | Jan: 1420; Feb: 1636; Mar: 1390; 2021 NSRS w PVGR Adjustment Apr: 1530; 2021 NSRS w PVGR Adjustment May: 1538; 2021 NSRS w PVGR Adjustment Jun: 1828; 2021 NSRS w PVGR Adjustment Jul: 1406
17 | Jan: 1420; Feb: 1636; Mar: 1390; 2021 NSRS w PVGR Adjustment Apr: 1530; 2021 NSRS w PVGR Adjustment May: 1538; 2021 NSRS w PVGR Adjustment Jun: 1828; 2021 NSRS w PVGR Adjustment Jul: 1406
18 | Jan: 1420; Feb: 1636; Mar: 1390; 2021 NSRS w PVGR Adjustment Apr: 1530; 2021 NSRS w PVGR Adjustment May: 1538; 2021 NSRS w PVGR Adjustment Jun: 1828; 2021 NSRS w PVGR Adjustment Jul: 1406
19 | Jan: 2047; Feb: 1926; Mar: 1560; 2021 NSRS w PVGR Adjustment Apr: 1718; 2021 NSRS w PVGR Adjustment May: 1388; 2021 NSRS w PVGR Adjustment Jun: 1355; 2021 NSRS w PVGR Adjustment Jul: 1276
20 | Jan: 2047; Feb: 1926; Mar: 1560; 2021 NSRS w PVGR Adjustment Apr: 1718; 2021 NSRS w PVGR Adjustment May: 1388; 2021 NSRS w PVGR Adjustment Jun: 1355; 2021 NSRS w PVGR Adjustment Jul: 1276
21 | Jan: 2047; Feb: 1926; Mar: 1560; 2021 NSRS w PVGR Adjustment Apr: 1718; 2021 NSRS w PVGR Adjustment May: 1388; 2021 NSRS w PVGR Adjustment Jun: 1355; 2021 NSRS w PVGR Adjustment Jul: 1276
22 | Jan: 2047; Feb: 1926; Mar: 1560; 2021 NSRS w PVGR Adjustment Apr: 1718; 2021 NSRS w PVGR Adjustment May: 1388; 2021 NSRS w PVGR Adjustment Jun: 1355; 2021 NSRS w PVGR Adjustment Jul: 1276
23 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS w PVGR Adjustment Apr: 1196; 2021 NSRS w PVGR Adjustment May: 1076; 2021 NSRS w PVGR Adjustment Jun: 1106; 2021 NSRS w PVGR Adjustment Jul: 1110
24 | Jan: 1169; Feb: 1190; Mar: 1136; 2021 NSRS w PVGR Adjustment Apr: 1196; 2021 NSRS w PVGR Adjustment May: 1076; 2021 NSRS w PVGR Adjustment Jun: 1106; 2021 NSRS w PVGR Adjustment Jul: 1110
Total | 36836 | 38500 | 35996 | 36732 | 35532 | 36644 | 32852 | 0 | 0 | 0 | 0 | 0
| 1534.8333 | 1604.1667 | 1499.8333 | 1530.5 | 1480.5 | 1526.8333 | 1368.8333 | #DIV/0!
* The NSRS quantities have been calculated based on the historical data from 2017, 2018 and 2019.

## Charts
Month | Date | Group | HE | Type | 2020 Value | 2021 NSRS | 2021 NSRS wPVGR Adj | Delta-1 | Delta-2 | Month | Jan |  |  |  |  | Non-Spin Requirement Comparison for January
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1196 | 1169 | 1169 | 27 | 0 | Type | NSRS
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1196 | 1169 | 1169 | 27 | 0
Jan | 2018-01-01 | b. HE3-6 | 3 | NSRS | 1227 | 1147 | 1147 | 80 | 0 | Row Labels | 2020 | 2021 | 2021wPVGR-Adj
Jan | 2018-01-01 | b. HE3-6 | 4 | NSRS | 1227 | 1147 | 1147 | 80 | 0 | a. HE1-2 & HE23-24 | 1196 | 1169 | 1169
Jan | 2018-01-01 | b. HE3-6 | 5 | NSRS | 1227 | 1147 | 1147 | 80 | 0 | b. HE3-6 | 1227 | 1147 | 1147
Jan | 2018-01-01 | b. HE3-6 | 6 | NSRS | 1227 | 1147 | 1147 | 80 | 0 | c. HE7-10 | 2036 | 1891 | 1895
Jan | 2018-01-01 | c. HE7-10 | 7 | NSRS | 2036 | 1891 | 1895 | 145 | 4 | d. HE11-14 | 1612 | 1410 | 1531
Jan | 2018-01-01 | c. HE7-10 | 8 | NSRS | 2036 | 1891 | 1895 | 145 | 4 | e. HE15-18 | 1418 | 1308 | 1420
Jan | 2018-01-01 | c. HE7-10 | 9 | NSRS | 2036 | 1891 | 1895 | 145 | 4 | f. HE19-22 | 1901 | 2047 | 2047
Jan | 2018-01-01 | c. HE7-10 | 10 | NSRS | 2036 | 1891 | 1895 | 145 | 4
Jan | 2018-01-01 | d. HE11-14 | 11 | NSRS | 1612 | 1410 | 1531 | 202 | 121
Jan | 2018-01-01 | d. HE11-14 | 12 | NSRS | 1612 | 1410 | 1531 | 202 | 121
Jan | 2018-01-01 | d. HE11-14 | 13 | NSRS | 1612 | 1410 | 1531 | 202 | 121
Jan | 2018-01-01 | d. HE11-14 | 14 | NSRS | 1612 | 1410 | 1531 | 202 | 121
Jan | 2018-01-01 | e. HE15-18 | 15 | NSRS | 1418 | 1308 | 1420 | 110 | 112
Jan | 2018-01-01 | e. HE15-18 | 16 | NSRS | 1418 | 1308 | 1420 | 110 | 112
Jan | 2018-01-01 | e. HE15-18 | 17 | NSRS | 1418 | 1308 | 1420 | 110 | 112
Jan | 2018-01-01 | e. HE15-18 | 18 | NSRS | 1418 | 1308 | 1420 | 110 | 112
Jan | 2018-01-01 | f. HE19-22 | 19 | NSRS | 1901 | 2047 | 2047 | 146 | 0
Jan | 2018-01-01 | f. HE19-22 | 20 | NSRS | 1901 | 2047 | 2047 | 146 | 0
Jan | 2018-01-01 | f. HE19-22 | 21 | NSRS | 1901 | 2047 | 2047 | 146 | 0
Jan | 2018-01-01 | f. HE19-22 | 22 | NSRS | 1901 | 2047 | 2047 | 146 | 0
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1196 | 1169 | 1169 | 27 | 0
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1196 | 1169 | 1169 | 27 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1238 | 1190 | 1190 | 48 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1238 | 1190 | 1190 | 48 | 0
Feb | 2018-02-01 | b. HE3-6 | 3 | NSRS | 1402 | 1257 | 1257 | 145 | 0
Feb | 2018-02-01 | b. HE3-6 | 4 | NSRS | 1402 | 1257 | 1257 | 145 | 0
Feb | 2018-02-01 | b. HE3-6 | 5 | NSRS | 1402 | 1257 | 1257 | 145 | 0 | Type | NSRS |  |  |  |  | Hourly Average Non-Spin Requirement Comparison
Feb | 2018-02-01 | b. HE3-6 | 6 | NSRS | 1402 | 1257 | 1257 | 145 | 0
Feb | 2018-02-01 | c. HE7-10 | 7 | NSRS | 2128 | 1981 | 1984 | 147 | 3 | Row Labels | 2020 Hourly Avg | 2021 Hourly Avg | 2021 wPVGR-Adj Hourly Avg
Feb | 2018-02-01 | c. HE7-10 | 8 | NSRS | 2128 | 1981 | 1984 | 147 | 3 | Jan | 1565 | 1495.3333 | 1534.8333 | -69.6667 | 39.5
Feb | 2018-02-01 | c. HE7-10 | 9 | NSRS | 2128 | 1981 | 1984 | 147 | 3 | Feb | 1633.1667 | 1566.8333 | 1604.1667 | -66.3333 | 37.3333
Feb | 2018-02-01 | c. HE7-10 | 10 | NSRS | 2128 | 1981 | 1984 | 147 | 3 | Mar | 1461.5 | 1419.8333 | 1499.8333 | -41.6667 | 80
Feb | 2018-02-01 | d. HE11-14 | 11 | NSRS | 1612 | 1517 | 1632 | 95 | 115 | Apr | 1443.8333 | 1449.6667 | 1530.5 | 5.8333 | 80.8333
Feb | 2018-02-01 | d. HE11-14 | 12 | NSRS | 1612 | 1517 | 1632 | 95 | 115 | May | 1491.8333 | 1388.5 | 1480.5 | -103.3333 | 92
Feb | 2018-02-01 | d. HE11-14 | 13 | NSRS | 1612 | 1517 | 1632 | 95 | 115 | Jun | 1443.8333 | 1435.1667 | 1526.8333 | -8.6667 | 91.6667
Feb | 2018-02-01 | d. HE11-14 | 14 | NSRS | 1612 | 1517 | 1632 | 95 | 115 | Jul | 1320.8333 | 1278.8333 | 1368.8333 | -42 | 90
Feb | 2018-02-01 | e. HE15-18 | 15 | NSRS | 1667 | 1530 | 1636 | 137 | 106 | Aug | 1413.5 | 0 | 0 | -1413.5 | 0
Feb | 2018-02-01 | e. HE15-18 | 16 | NSRS | 1667 | 1530 | 1636 | 137 | 106 | Sep | 1387.3333 | 0 | 0 | -1387.3333 | 0
Feb | 2018-02-01 | e. HE15-18 | 17 | NSRS | 1667 | 1530 | 1636 | 137 | 106 | Oct | 1459.6667 | 0 | 0 | -1459.6667 | 0
Feb | 2018-02-01 | e. HE15-18 | 18 | NSRS | 1667 | 1530 | 1636 | 137 | 106 | Nov | 1462.5 | 0 | 0 | -1462.5 | 0
Feb | 2018-02-01 | f. HE19-22 | 19 | NSRS | 1752 | 1926 | 1926 | 174 | 0 | Dec | 1535.1667 | 0 | 0 | -1535.1667 | 0
Feb | 2018-02-01 | f. HE19-22 | 20 | NSRS | 1752 | 1926 | 1926 | 174 | 0
Feb | 2018-02-01 | f. HE19-22 | 21 | NSRS | 1752 | 1926 | 1926 | 174 | 0
Feb | 2018-02-01 | f. HE19-22 | 22 | NSRS | 1752 | 1926 | 1926 | 174 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1238 | 1190 | 1190 | 48 | 0 | Type | (All)
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1238 | 1190 | 1190 | 48 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1222 | 1136 | 1136 | 86 | 0 | Month | Group | Max of Delta-1 | Max of Delta-2
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1222 | 1136 | 1136 | 86 | 0 | Jan | a. HE1-2 & HE23-24 | 27 | 0
Mar | 2018-03-01 | b. HE3-6 | 3 | NSRS | 1221 | 1327 | 1327 | 106 | 0 | Jan | b. HE3-6 | 80 | 0
Mar | 2018-03-01 | b. HE3-6 | 4 | NSRS | 1221 | 1327 | 1327 | 106 | 0 | Jan | c. HE7-10 | 145 | 4
Mar | 2018-03-01 | b. HE3-6 | 5 | NSRS | 1221 | 1327 | 1327 | 106 | 0 | Jan | d. HE11-14 | 202 | 121
Mar | 2018-03-01 | b. HE3-6 | 6 | NSRS | 1221 | 1327 | 1327 | 106 | 0 | Jan | e. HE15-18 | 110 | 112
Mar | 2018-03-01 | c. HE7-10 | 7 | NSRS | 1773 | 1730 | 1816 | 43 | 86 | Jan | f. HE19-22 | 146 | 0
Mar | 2018-03-01 | c. HE7-10 | 8 | NSRS | 1773 | 1730 | 1816 | 43 | 86 | Jan Total |  | 202 | 121
Mar | 2018-03-01 | c. HE7-10 | 9 | NSRS | 1773 | 1730 | 1816 | 43 | 86 | Feb | a. HE1-2 & HE23-24 | 48 | 0
Mar | 2018-03-01 | c. HE7-10 | 10 | NSRS | 1773 | 1730 | 1816 | 43 | 86 | Feb | b. HE3-6 | 145 | 0
Mar | 2018-03-01 | d. HE11-14 | 11 | NSRS | 1734 | 1598 | 1770 | 136 | 172 | Feb | c. HE7-10 | 147 | 3
Mar | 2018-03-01 | d. HE11-14 | 12 | NSRS | 1734 | 1598 | 1770 | 136 | 172 | Feb | d. HE11-14 | 95 | 115
Mar | 2018-03-01 | d. HE11-14 | 13 | NSRS | 1734 | 1598 | 1770 | 136 | 172 | Feb | e. HE15-18 | 137 | 106
Mar | 2018-03-01 | d. HE11-14 | 14 | NSRS | 1734 | 1598 | 1770 | 136 | 172 | Feb | f. HE19-22 | 174 | 0
Mar | 2018-03-01 | e. HE15-18 | 15 | NSRS | 1204 | 1181 | 1390 | 23 | 209 | Feb Total |  | 174 | 115
Mar | 2018-03-01 | e. HE15-18 | 16 | NSRS | 1204 | 1181 | 1390 | 23 | 209 | Mar | a. HE1-2 & HE23-24 | 86 | 0
Mar | 2018-03-01 | e. HE15-18 | 17 | NSRS | 1204 | 1181 | 1390 | 23 | 209 | Mar | b. HE3-6 | 106 | 0
Mar | 2018-03-01 | e. HE15-18 | 18 | NSRS | 1204 | 1181 | 1390 | 23 | 209 | Mar | c. HE7-10 | 43 | 86
Mar | 2018-03-01 | f. HE19-22 | 19 | NSRS | 1615 | 1547 | 1560 | 68 | 13 | Mar | d. HE11-14 | 136 | 172
Mar | 2018-03-01 | f. HE19-22 | 20 | NSRS | 1615 | 1547 | 1560 | 68 | 13 | Mar | e. HE15-18 | 23 | 209
Mar | 2018-03-01 | f. HE19-22 | 21 | NSRS | 1615 | 1547 | 1560 | 68 | 13 | Mar | f. HE19-22 | 68 | 13
Mar | 2018-03-01 | f. HE19-22 | 22 | NSRS | 1615 | 1547 | 1560 | 68 | 13 | Mar Total |  | 136 | 209
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1222 | 1136 | 1136 | 86 | 0 | Apr | a. HE1-2 & HE23-24 | 68 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1222 | 1136 | 1136 | 86 | 0 | Apr | b. HE3-6 | 30 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1128 | 1196 | 1196 | 68 | 0 | Apr | c. HE7-10 | 77 | 87
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1128 | 1196 | 1196 | 68 | 0 | Apr | d. HE11-14 | 110 | 174
Apr | 2018-04-01 | b. HE3-6 | 3 | NSRS | 1409 | 1379 | 1379 | 30 | 0 | Apr | e. HE15-18 | 30 | 210
Apr | 2018-04-01 | b. HE3-6 | 4 | NSRS | 1409 | 1379 | 1379 | 30 | 0 | Apr | f. HE19-22 | 66 | 14
Apr | 2018-04-01 | b. HE3-6 | 5 | NSRS | 1409 | 1379 | 1379 | 30 | 0 | Apr Total |  | 110 | 210
Apr | 2018-04-01 | b. HE3-6 | 6 | NSRS | 1409 | 1379 | 1379 | 30 | 0 | May | a. HE1-2 & HE23-24 | 15 | 0
Apr | 2018-04-01 | c. HE7-10 | 7 | NSRS | 1810 | 1733 | 1820 | 77 | 87 | May | b. HE3-6 | 95 | 0
Apr | 2018-04-01 | c. HE7-10 | 8 | NSRS | 1810 | 1733 | 1820 | 77 | 87 | May | c. HE7-10 | 266 | 99
Apr | 2018-04-01 | c. HE7-10 | 9 | NSRS | 1810 | 1733 | 1820 | 77 | 87 | May | d. HE11-14 | 175 | 198
Apr | 2018-04-01 | c. HE7-10 | 10 | NSRS | 1810 | 1733 | 1820 | 77 | 87 | May | e. HE15-18 | 99 | 240
Apr | 2018-04-01 | d. HE11-14 | 11 | NSRS | 1256 | 1366 | 1540 | 110 | 174 | May | f. HE19-22 | 0 | 15
Apr | 2018-04-01 | d. HE11-14 | 12 | NSRS | 1256 | 1366 | 1540 | 110 | 174 | May Total |  | 266 | 240
Apr | 2018-04-01 | d. HE11-14 | 13 | NSRS | 1256 | 1366 | 1540 | 110 | 174 | Jun | a. HE1-2 & HE23-24 | 49 | 0
Apr | 2018-04-01 | d. HE11-14 | 14 | NSRS | 1256 | 1366 | 1540 | 110 | 174 | Jun | b. HE3-6 | 44 | 0
Apr | 2018-04-01 | e. HE15-18 | 15 | NSRS | 1290 | 1320 | 1530 | 30 | 210 | Jun | c. HE7-10 | 30 | 107
Apr | 2018-04-01 | e. HE15-18 | 16 | NSRS | 1290 | 1320 | 1530 | 30 | 210 | Jun | d. HE11-14 | 86 | 146
Apr | 2018-04-01 | e. HE15-18 | 17 | NSRS | 1290 | 1320 | 1530 | 30 | 210 | Jun | e. HE15-18 | 26 | 224
Apr | 2018-04-01 | e. HE15-18 | 18 | NSRS | 1290 | 1320 | 1530 | 30 | 210 | Jun | f. HE19-22 | 33 | 73
Apr | 2018-04-01 | f. HE19-22 | 19 | NSRS | 1770 | 1704 | 1718 | 66 | 14 | Jun Total |  | 86 | 224
Apr | 2018-04-01 | f. HE19-22 | 20 | NSRS | 1770 | 1704 | 1718 | 66 | 14 | Jul | a. HE1-2 & HE23-24 | 128 | 0
Apr | 2018-04-01 | f. HE19-22 | 21 | NSRS | 1770 | 1704 | 1718 | 66 | 14 | Jul | b. HE3-6 | 68 | 0
Apr | 2018-04-01 | f. HE19-22 | 22 | NSRS | 1770 | 1704 | 1718 | 66 | 14 | Jul | c. HE7-10 | 61 | 105
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1128 | 1196 | 1196 | 68 | 0 | Jul | d. HE11-14 | 118 | 143
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1128 | 1196 | 1196 | 68 | 0 | Jul | e. HE15-18 | 36 | 220
May | 2018-05-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1061 | 1076 | 1076 | 15 | 0 | Jul | f. HE19-22 | 87 | 72
May | 2018-05-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1061 | 1076 | 1076 | 15 | 0 | Jul Total |  | 128 | 220
May | 2018-05-01 | b. HE3-6 | 3 | NSRS | 1409 | 1314 | 1314 | 95 | 0 | Aug | a. HE1-2 & HE23-24 | 1194 | 0
May | 2018-05-01 | b. HE3-6 | 4 | NSRS | 1409 | 1314 | 1314 | 95 | 0 | Aug | b. HE3-6 | 1401 | 0
May | 2018-05-01 | b. HE3-6 | 5 | NSRS | 1409 | 1314 | 1314 | 95 | 0 | Aug | c. HE7-10 | 1755 | 0
May | 2018-05-01 | b. HE3-6 | 6 | NSRS | 1409 | 1314 | 1314 | 95 | 0 | Aug | d. HE11-14 | 1776 | 0
May | 2018-05-01 | c. HE7-10 | 7 | NSRS | 2048 | 1782 | 1881 | 266 | 99 | Aug | e. HE15-18 | 1157 | 0
May | 2018-05-01 | c. HE7-10 | 8 | NSRS | 2048 | 1782 | 1881 | 266 | 99 | Aug | f. HE19-22 | 1198 | 0
May | 2018-05-01 | c. HE7-10 | 9 | NSRS | 2048 | 1782 | 1881 | 266 | 99 | Aug Total |  | 1776 | 0
May | 2018-05-01 | c. HE7-10 | 10 | NSRS | 2048 | 1782 | 1881 | 266 | 99 | Sep | a. HE1-2 & HE23-24 | 1215 | 0
May | 2018-05-01 | d. HE11-14 | 11 | NSRS | 1663 | 1488 | 1686 | 175 | 198 | Sep | b. HE3-6 | 1337 | 0
May | 2018-05-01 | d. HE11-14 | 12 | NSRS | 1663 | 1488 | 1686 | 175 | 198 | Sep | c. HE7-10 | 1490 | 0
May | 2018-05-01 | d. HE11-14 | 13 | NSRS | 1663 | 1488 | 1686 | 175 | 198 | Sep | d. HE11-14 | 1869 | 0
May | 2018-05-01 | d. HE11-14 | 14 | NSRS | 1663 | 1488 | 1686 | 175 | 198 | Sep | e. HE15-18 | 1150 | 0
May | 2018-05-01 | e. HE15-18 | 15 | NSRS | 1397 | 1298 | 1538 | 99 | 240 | Sep | f. HE19-22 | 1263 | 0
May | 2018-05-01 | e. HE15-18 | 16 | NSRS | 1397 | 1298 | 1538 | 99 | 240 | Sep Total |  | 1869 | 0
May | 2018-05-01 | e. HE15-18 | 17 | NSRS | 1397 | 1298 | 1538 | 99 | 240 | Oct | a. HE1-2 & HE23-24 | 1092 | 0
May | 2018-05-01 | e. HE15-18 | 18 | NSRS | 1397 | 1298 | 1538 | 99 | 240 | Oct | b. HE3-6 | 1517 | 0
May | 2018-05-01 | f. HE19-22 | 19 | NSRS | 1373 | 1373 | 1388 | 0 | 15 | Oct | c. HE7-10 | 1858 | 0
May | 2018-05-01 | f. HE19-22 | 20 | NSRS | 1373 | 1373 | 1388 | 0 | 15 | Oct | d. HE11-14 | 1694 | 0
May | 2018-05-01 | f. HE19-22 | 21 | NSRS | 1373 | 1373 | 1388 | 0 | 15 | Oct | e. HE15-18 | 1366 | 0
May | 2018-05-01 | f. HE19-22 | 22 | NSRS | 1373 | 1373 | 1388 | 0 | 15 | Oct | f. HE19-22 | 1231 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1061 | 1076 | 1076 | 15 | 0 | Oct Total |  | 1858 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1061 | 1076 | 1076 | 15 | 0 | Nov | a. HE1-2 & HE23-24 | 1252 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1057 | 1106 | 1106 | 49 | 0 | Nov | b. HE3-6 | 1499 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1057 | 1106 | 1106 | 49 | 0 | Nov | c. HE7-10 | 1894 | 0
Jun | 2018-06-01 | b. HE3-6 | 3 | NSRS | 1360 | 1316 | 1316 | 44 | 0 | Nov | d. HE11-14 | 1362 | 0
Jun | 2018-06-01 | b. HE3-6 | 4 | NSRS | 1360 | 1316 | 1316 | 44 | 0 | Nov | e. HE15-18 | 1481 | 0
Jun | 2018-06-01 | b. HE3-6 | 5 | NSRS | 1360 | 1316 | 1316 | 44 | 0 | Nov | f. HE19-22 | 1287 | 0
Jun | 2018-06-01 | b. HE3-6 | 6 | NSRS | 1360 | 1316 | 1316 | 44 | 0 | Nov Total |  | 1894 | 0
Jun | 2018-06-01 | c. HE7-10 | 7 | NSRS | 1926 | 1896 | 2003 | 30 | 107 | Dec | a. HE1-2 & HE23-24 | 1210 | 0
Jun | 2018-06-01 | c. HE7-10 | 8 | NSRS | 1926 | 1896 | 2003 | 30 | 107 | Dec | b. HE3-6 | 1345 | 0
Jun | 2018-06-01 | c. HE7-10 | 9 | NSRS | 1926 | 1896 | 2003 | 30 | 107 | Dec | c. HE7-10 | 1818 | 0
Jun | 2018-06-01 | c. HE7-10 | 10 | NSRS | 1926 | 1896 | 2003 | 30 | 107 | Dec | d. HE11-14 | 1633 | 0
Jun | 2018-06-01 | d. HE11-14 | 11 | NSRS | 1493 | 1407 | 1553 | 86 | 146 | Dec | e. HE15-18 | 1867 | 0
Jun | 2018-06-01 | d. HE11-14 | 12 | NSRS | 1493 | 1407 | 1553 | 86 | 146 | Dec | f. HE19-22 | 1338 | 0
Jun | 2018-06-01 | d. HE11-14 | 13 | NSRS | 1493 | 1407 | 1553 | 86 | 146 | Dec Total |  | 1867 | 0
Jun | 2018-06-01 | d. HE11-14 | 14 | NSRS | 1493 | 1407 | 1553 | 86 | 146 | (blank) | (blank)
Jun | 2018-06-01 | e. HE15-18 | 15 | NSRS | 1578 | 1604 | 1828 | 26 | 224 | (blank) Total
Jun | 2018-06-01 | e. HE15-18 | 16 | NSRS | 1578 | 1604 | 1828 | 26 | 224
Jun | 2018-06-01 | e. HE15-18 | 17 | NSRS | 1578 | 1604 | 1828 | 26 | 224
Jun | 2018-06-01 | e. HE15-18 | 18 | NSRS | 1578 | 1604 | 1828 | 26 | 224
Jun | 2018-06-01 | f. HE19-22 | 19 | NSRS | 1249 | 1282 | 1355 | 33 | 73
Jun | 2018-06-01 | f. HE19-22 | 20 | NSRS | 1249 | 1282 | 1355 | 33 | 73
Jun | 2018-06-01 | f. HE19-22 | 21 | NSRS | 1249 | 1282 | 1355 | 33 | 73
Jun | 2018-06-01 | f. HE19-22 | 22 | NSRS | 1249 | 1282 | 1355 | 33 | 73
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1057 | 1106 | 1106 | 49 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1057 | 1106 | 1106 | 49 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1238 | 1110 | 1110 | 128 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1238 | 1110 | 1110 | 128 | 0
Jul | 2018-07-01 | b. HE3-6 | 3 | NSRS | 1313 | 1245 | 1245 | 68 | 0
Jul | 2018-07-01 | b. HE3-6 | 4 | NSRS | 1313 | 1245 | 1245 | 68 | 0
Jul | 2018-07-01 | b. HE3-6 | 5 | NSRS | 1313 | 1245 | 1245 | 68 | 0
Jul | 2018-07-01 | b. HE3-6 | 6 | NSRS | 1313 | 1245 | 1245 | 68 | 0
Jul | 2018-07-01 | c. HE7-10 | 7 | NSRS | 1533 | 1472 | 1577 | 61 | 105
Jul | 2018-07-01 | c. HE7-10 | 8 | NSRS | 1533 | 1472 | 1577 | 61 | 105
Jul | 2018-07-01 | c. HE7-10 | 9 | NSRS | 1533 | 1472 | 1577 | 61 | 105
Jul | 2018-07-01 | c. HE7-10 | 10 | NSRS | 1533 | 1472 | 1577 | 61 | 105
Jul | 2018-07-01 | d. HE11-14 | 11 | NSRS | 1574 | 1456 | 1599 | 118 | 143
Jul | 2018-07-01 | d. HE11-14 | 12 | NSRS | 1574 | 1456 | 1599 | 118 | 143
Jul | 2018-07-01 | d. HE11-14 | 13 | NSRS | 1574 | 1456 | 1599 | 118 | 143
Jul | 2018-07-01 | d. HE11-14 | 14 | NSRS | 1574 | 1456 | 1599 | 118 | 143
Jul | 2018-07-01 | e. HE15-18 | 15 | NSRS | 1150 | 1186 | 1406 | 36 | 220
Jul | 2018-07-01 | e. HE15-18 | 16 | NSRS | 1150 | 1186 | 1406 | 36 | 220
Jul | 2018-07-01 | e. HE15-18 | 17 | NSRS | 1150 | 1186 | 1406 | 36 | 220
Jul | 2018-07-01 | e. HE15-18 | 18 | NSRS | 1150 | 1186 | 1406 | 36 | 220
Jul | 2018-07-01 | f. HE19-22 | 19 | NSRS | 1117 | 1204 | 1276 | 87 | 72
Jul | 2018-07-01 | f. HE19-22 | 20 | NSRS | 1117 | 1204 | 1276 | 87 | 72
Jul | 2018-07-01 | f. HE19-22 | 21 | NSRS | 1117 | 1204 | 1276 | 87 | 72
Jul | 2018-07-01 | f. HE19-22 | 22 | NSRS | 1117 | 1204 | 1276 | 87 | 72
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1238 | 1110 | 1110 | 128 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1238 | 1110 | 1110 | 128 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1194 | 0 | 0 | 1194 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1194 | 0 | 0 | 1194 | 0
Aug | 2018-08-01 | b. HE3-6 | 3 | NSRS | 1401 | 0 | 0 | 1401 | 0
Aug | 2018-08-01 | b. HE3-6 | 4 | NSRS | 1401 | 0 | 0 | 1401 | 0
Aug | 2018-08-01 | b. HE3-6 | 5 | NSRS | 1401 | 0 | 0 | 1401 | 0
Aug | 2018-08-01 | b. HE3-6 | 6 | NSRS | 1401 | 0 | 0 | 1401 | 0
Aug | 2018-08-01 | c. HE7-10 | 7 | NSRS | 1755 | 0 | 0 | 1755 | 0
Aug | 2018-08-01 | c. HE7-10 | 8 | NSRS | 1755 | 0 | 0 | 1755 | 0
Aug | 2018-08-01 | c. HE7-10 | 9 | NSRS | 1755 | 0 | 0 | 1755 | 0
Aug | 2018-08-01 | c. HE7-10 | 10 | NSRS | 1755 | 0 | 0 | 1755 | 0
Aug | 2018-08-01 | d. HE11-14 | 11 | NSRS | 1776 | 0 | 0 | 1776 | 0
Aug | 2018-08-01 | d. HE11-14 | 12 | NSRS | 1776 | 0 | 0 | 1776 | 0
Aug | 2018-08-01 | d. HE11-14 | 13 | NSRS | 1776 | 0 | 0 | 1776 | 0
Aug | 2018-08-01 | d. HE11-14 | 14 | NSRS | 1776 | 0 | 0 | 1776 | 0
Aug | 2018-08-01 | e. HE15-18 | 15 | NSRS | 1157 | 0 | 0 | 1157 | 0
Aug | 2018-08-01 | e. HE15-18 | 16 | NSRS | 1157 | 0 | 0 | 1157 | 0
Aug | 2018-08-01 | e. HE15-18 | 17 | NSRS | 1157 | 0 | 0 | 1157 | 0
Aug | 2018-08-01 | e. HE15-18 | 18 | NSRS | 1157 | 0 | 0 | 1157 | 0
Aug | 2018-08-01 | f. HE19-22 | 19 | NSRS | 1198 | 0 | 0 | 1198 | 0
Aug | 2018-08-01 | f. HE19-22 | 20 | NSRS | 1198 | 0 | 0 | 1198 | 0
Aug | 2018-08-01 | f. HE19-22 | 21 | NSRS | 1198 | 0 | 0 | 1198 | 0
Aug | 2018-08-01 | f. HE19-22 | 22 | NSRS | 1198 | 0 | 0 | 1198 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1194 | 0 | 0 | 1194 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1194 | 0 | 0 | 1194 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1215 | 0 | 0 | 1215 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1215 | 0 | 0 | 1215 | 0
Sep | 2018-09-01 | b. HE3-6 | 3 | NSRS | 1337 | 0 | 0 | 1337 | 0
Sep | 2018-09-01 | b. HE3-6 | 4 | NSRS | 1337 | 0 | 0 | 1337 | 0
Sep | 2018-09-01 | b. HE3-6 | 5 | NSRS | 1337 | 0 | 0 | 1337 | 0
Sep | 2018-09-01 | b. HE3-6 | 6 | NSRS | 1337 | 0 | 0 | 1337 | 0
Sep | 2018-09-01 | c. HE7-10 | 7 | NSRS | 1490 | 0 | 0 | 1490 | 0
Sep | 2018-09-01 | c. HE7-10 | 8 | NSRS | 1490 | 0 | 0 | 1490 | 0
Sep | 2018-09-01 | c. HE7-10 | 9 | NSRS | 1490 | 0 | 0 | 1490 | 0
Sep | 2018-09-01 | c. HE7-10 | 10 | NSRS | 1490 | 0 | 0 | 1490 | 0
Sep | 2018-09-01 | d. HE11-14 | 11 | NSRS | 1869 | 0 | 0 | 1869 | 0
Sep | 2018-09-01 | d. HE11-14 | 12 | NSRS | 1869 | 0 | 0 | 1869 | 0
Sep | 2018-09-01 | d. HE11-14 | 13 | NSRS | 1869 | 0 | 0 | 1869 | 0
Sep | 2018-09-01 | d. HE11-14 | 14 | NSRS | 1869 | 0 | 0 | 1869 | 0
Sep | 2018-09-01 | e. HE15-18 | 15 | NSRS | 1150 | 0 | 0 | 1150 | 0
Sep | 2018-09-01 | e. HE15-18 | 16 | NSRS | 1150 | 0 | 0 | 1150 | 0
Sep | 2018-09-01 | e. HE15-18 | 17 | NSRS | 1150 | 0 | 0 | 1150 | 0
Sep | 2018-09-01 | e. HE15-18 | 18 | NSRS | 1150 | 0 | 0 | 1150 | 0
Sep | 2018-09-01 | f. HE19-22 | 19 | NSRS | 1263 | 0 | 0 | 1263 | 0
Sep | 2018-09-01 | f. HE19-22 | 20 | NSRS | 1263 | 0 | 0 | 1263 | 0
Sep | 2018-09-01 | f. HE19-22 | 21 | NSRS | 1263 | 0 | 0 | 1263 | 0
Sep | 2018-09-01 | f. HE19-22 | 22 | NSRS | 1263 | 0 | 0 | 1263 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1215 | 0 | 0 | 1215 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1215 | 0 | 0 | 1215 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1092 | 0 | 0 | 1092 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1092 | 0 | 0 | 1092 | 0
Oct | 2018-10-01 | b. HE3-6 | 3 | NSRS | 1517 | 0 | 0 | 1517 | 0
Oct | 2018-10-01 | b. HE3-6 | 4 | NSRS | 1517 | 0 | 0 | 1517 | 0
Oct | 2018-10-01 | b. HE3-6 | 5 | NSRS | 1517 | 0 | 0 | 1517 | 0
Oct | 2018-10-01 | b. HE3-6 | 6 | NSRS | 1517 | 0 | 0 | 1517 | 0
Oct | 2018-10-01 | c. HE7-10 | 7 | NSRS | 1858 | 0 | 0 | 1858 | 0
Oct | 2018-10-01 | c. HE7-10 | 8 | NSRS | 1858 | 0 | 0 | 1858 | 0
Oct | 2018-10-01 | c. HE7-10 | 9 | NSRS | 1858 | 0 | 0 | 1858 | 0
Oct | 2018-10-01 | c. HE7-10 | 10 | NSRS | 1858 | 0 | 0 | 1858 | 0
Oct | 2018-10-01 | d. HE11-14 | 11 | NSRS | 1694 | 0 | 0 | 1694 | 0
Oct | 2018-10-01 | d. HE11-14 | 12 | NSRS | 1694 | 0 | 0 | 1694 | 0
Oct | 2018-10-01 | d. HE11-14 | 13 | NSRS | 1694 | 0 | 0 | 1694 | 0
Oct | 2018-10-01 | d. HE11-14 | 14 | NSRS | 1694 | 0 | 0 | 1694 | 0
Oct | 2018-10-01 | e. HE15-18 | 15 | NSRS | 1366 | 0 | 0 | 1366 | 0
Oct | 2018-10-01 | e. HE15-18 | 16 | NSRS | 1366 | 0 | 0 | 1366 | 0
Oct | 2018-10-01 | e. HE15-18 | 17 | NSRS | 1366 | 0 | 0 | 1366 | 0
Oct | 2018-10-01 | e. HE15-18 | 18 | NSRS | 1366 | 0 | 0 | 1366 | 0
Oct | 2018-10-01 | f. HE19-22 | 19 | NSRS | 1231 | 0 | 0 | 1231 | 0
Oct | 2018-10-01 | f. HE19-22 | 20 | NSRS | 1231 | 0 | 0 | 1231 | 0
Oct | 2018-10-01 | f. HE19-22 | 21 | NSRS | 1231 | 0 | 0 | 1231 | 0
Oct | 2018-10-01 | f. HE19-22 | 22 | NSRS | 1231 | 0 | 0 | 1231 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1092 | 0 | 0 | 1092 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1092 | 0 | 0 | 1092 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1252 | 0 | 0 | 1252 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1252 | 0 | 0 | 1252 | 0
Nov | 2018-11-01 | b. HE3-6 | 3 | NSRS | 1499 | 0 | 0 | 1499 | 0
Nov | 2018-11-01 | b. HE3-6 | 4 | NSRS | 1499 | 0 | 0 | 1499 | 0
Nov | 2018-11-01 | b. HE3-6 | 5 | NSRS | 1499 | 0 | 0 | 1499 | 0
Nov | 2018-11-01 | b. HE3-6 | 6 | NSRS | 1499 | 0 | 0 | 1499 | 0
Nov | 2018-11-01 | c. HE7-10 | 7 | NSRS | 1894 | 0 | 0 | 1894 | 0
Nov | 2018-11-01 | c. HE7-10 | 8 | NSRS | 1894 | 0 | 0 | 1894 | 0
Nov | 2018-11-01 | c. HE7-10 | 9 | NSRS | 1894 | 0 | 0 | 1894 | 0
Nov | 2018-11-01 | c. HE7-10 | 10 | NSRS | 1894 | 0 | 0 | 1894 | 0
Nov | 2018-11-01 | d. HE11-14 | 11 | NSRS | 1362 | 0 | 0 | 1362 | 0
Nov | 2018-11-01 | d. HE11-14 | 12 | NSRS | 1362 | 0 | 0 | 1362 | 0
Nov | 2018-11-01 | d. HE11-14 | 13 | NSRS | 1362 | 0 | 0 | 1362 | 0
Nov | 2018-11-01 | d. HE11-14 | 14 | NSRS | 1362 | 0 | 0 | 1362 | 0
Nov | 2018-11-01 | e. HE15-18 | 15 | NSRS | 1481 | 0 | 0 | 1481 | 0
Nov | 2018-11-01 | e. HE15-18 | 16 | NSRS | 1481 | 0 | 0 | 1481 | 0
Nov | 2018-11-01 | e. HE15-18 | 17 | NSRS | 1481 | 0 | 0 | 1481 | 0
Nov | 2018-11-01 | e. HE15-18 | 18 | NSRS | 1481 | 0 | 0 | 1481 | 0
Nov | 2018-11-01 | f. HE19-22 | 19 | NSRS | 1287 | 0 | 0 | 1287 | 0
Nov | 2018-11-01 | f. HE19-22 | 20 | NSRS | 1287 | 0 | 0 | 1287 | 0
Nov | 2018-11-01 | f. HE19-22 | 21 | NSRS | 1287 | 0 | 0 | 1287 | 0
Nov | 2018-11-01 | f. HE19-22 | 22 | NSRS | 1287 | 0 | 0 | 1287 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1252 | 0 | 0 | 1252 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1252 | 0 | 0 | 1252 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 1 | NSRS | 1210 | 0 | 0 | 1210 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 2 | NSRS | 1210 | 0 | 0 | 1210 | 0
Dec | 2018-12-01 | b. HE3-6 | 3 | NSRS | 1345 | 0 | 0 | 1345 | 0
Dec | 2018-12-01 | b. HE3-6 | 4 | NSRS | 1345 | 0 | 0 | 1345 | 0
Dec | 2018-12-01 | b. HE3-6 | 5 | NSRS | 1345 | 0 | 0 | 1345 | 0
Dec | 2018-12-01 | b. HE3-6 | 6 | NSRS | 1345 | 0 | 0 | 1345 | 0
Dec | 2018-12-01 | c. HE7-10 | 7 | NSRS | 1818 | 0 | 0 | 1818 | 0
Dec | 2018-12-01 | c. HE7-10 | 8 | NSRS | 1818 | 0 | 0 | 1818 | 0
Dec | 2018-12-01 | c. HE7-10 | 9 | NSRS | 1818 | 0 | 0 | 1818 | 0
Dec | 2018-12-01 | c. HE7-10 | 10 | NSRS | 1818 | 0 | 0 | 1818 | 0
Dec | 2018-12-01 | d. HE11-14 | 11 | NSRS | 1633 | 0 | 0 | 1633 | 0
Dec | 2018-12-01 | d. HE11-14 | 12 | NSRS | 1633 | 0 | 0 | 1633 | 0
Dec | 2018-12-01 | d. HE11-14 | 13 | NSRS | 1633 | 0 | 0 | 1633 | 0
Dec | 2018-12-01 | d. HE11-14 | 14 | NSRS | 1633 | 0 | 0 | 1633 | 0
Dec | 2018-12-01 | e. HE15-18 | 15 | NSRS | 1867 | 0 | 0 | 1867 | 0
Dec | 2018-12-01 | e. HE15-18 | 16 | NSRS | 1867 | 0 | 0 | 1867 | 0
Dec | 2018-12-01 | e. HE15-18 | 17 | NSRS | 1867 | 0 | 0 | 1867 | 0
Dec | 2018-12-01 | e. HE15-18 | 18 | NSRS | 1867 | 0 | 0 | 1867 | 0
Dec | 2018-12-01 | f. HE19-22 | 19 | NSRS | 1338 | 0 | 0 | 1338 | 0
Dec | 2018-12-01 | f. HE19-22 | 20 | NSRS | 1338 | 0 | 0 | 1338 | 0
Dec | 2018-12-01 | f. HE19-22 | 21 | NSRS | 1338 | 0 | 0 | 1338 | 0
Dec | 2018-12-01 | f. HE19-22 | 22 | NSRS | 1338 | 0 | 0 | 1338 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 23 | NSRS | 1210 | 0 | 0 | 1210 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 24 | NSRS | 1210 | 0 | 0 | 1210 | 0