| NPRR Number | 945 | NPRR Title | Net Metering Requirements |
| --- | --- | --- | --- |
| Date |  | August 5, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| E-mail Address |  | Katie.Coleman@tklaw.com |  |
| Company |  | Thompson & Knight, LLP, on behalf of Texas Industrial Energy Consumers |  |
| Phone Number |  | (512) 404-6705 |  |
| Cell Number |  | (512) 773-0394 |  |
| Market Segment |  | Consumer |  |

Comments

TIEC submits these comments to incorporate feedback received from ERCOT and other stakeholders since the NPRR was submitted, including significant constructive feedback at the July 7, 2020 workshop.  TIEC’s proposed language changes have been simplified and pared back substantially.

TIEC’s proposed language changes are as follows:

- In paragraph (1) of Section 10.3.2.3, the term “associated Load” is removed, and replaced with the term “netted Load.”

  - Striking “associated Load” eliminates the ambiguous term that has been interpreted to impose requirements beyond the Public Utility Regulatory Act (PURA) and Public Utility Commission of Texas (PUCT) precedent.  As it stands today, paragraph (1) does not address the regulatory or legal requirements around when a Private Use Network may be formed.  Rather, it describes the requirements for where meters must be placed and what types of meters are required for netting to occur.  Therefore, referring to “netted Load” rather than “associated Load” is consistent with the actual purpose of the paragraph.

- In paragraph (2), language has been added to make clear that any netted sites must comply with PURA and PUCT precedent, in addition to the technical metering configurations described therein.

  - This is intended to put Market Participants on notice that there are legal requirements they must follow beyond the technical metering requirements in Section 10.3.2.3, and that ERCOT is not responsible for doing anyone’s legal work for them.  If ERCOT were to approve a netting arrangement that violates PURA or PUCT precedent, the site would still be subject to a complaint or enforcement action at the PUCT, and if the arrangement were found to be unlawful it would be terminated.  Approval of a metering design proposal is not validation of an unlawful arrangement.

- Paragraph (2)(e) of Section 10.3.2.3 remains removed because it is duplicative with paragraph (2)(a) of Section 10.3.2.3under this NPRR.

TIEC previously proposed grandfathering certain sections of Section 10.3.2.3, and eliminating the qualifier “including construction and maintenance load” in paragraph (1) but has not included those changes in this draft based on feedback from ERCOT and affected market participants.

These comments do not incorporate proposals advanced by the 6/9/20 GSEC comments.  TIEC has discussed these proposals extensively with GSEC and others, but does not support them for the following reasons:

- The 6/9/20 GSEC comments propose a retail transmission rate (a “penalty” calculated based on the 4-Coincident Peak (4-CP) wholesale rate) that ERCOT would assess directly to a retail customer through its Qualified Scheduling Entity (QSE).  All retail transmission rates in Texas must be in an approved retail tariff.  The PUCT approves retail transmission tariffs for Investor Owned Utilities (IOUs), and the governing boards Municipally Owned Utilities (MOUs) and Electric Cooperatives approve their own retail tariffs.  ERCOT is not authorized to impose a retail transmission charge directly to a customer through its QSE, even if it is styled as a “penalty.” Such a charge would be an end run around both PURA and the PUCT’s rules.

- The 6/9/20 GSEC comments would eliminate the statutory right for certain Qualifying Cogeneration Facilities to serve their thermal hosts over private facilities without using the ERCOT Transmission Grid or settlement processes.  It would also eliminate the statutory right for customers to self-serve using generation facilities that they own.  These authorizations are statutory, and have been in place for decades.  Limiting them as the 6/9/20 GSEC comments propose would need to be addressed at the legislature and not in the Protocols.

- The 6/9/20 GSEC comments appear to be aimed at circumventing the 4-CP allocation of wholesale transmission costs, which is contained in the PUCT Substantive Rules.  This is both a legal and high-level policy matter that belongs at the PUCT, and not in the stakeholder process.  Currently, sites that are a net Load during the 4-CP incur transmission costs commensurate with their demand from the ERCOT Transmission Grid during the 4-CP intervals.  This is consistent with the treatment for all other Loads on the ERCOT Transmission Grid, who may use the ERCOT Transmission Grid to a greater or lesser extent at other times, but incur charges solely based on 4-CP demand.  As discussed at the July 7, 2020 workshop, the PUCT considered proposals akin to “standby transmission rates” that would assess charges based on customer demand during other periods in Project No. 22344, and rejected those proposals in lieu of the 4-CP allocation.  Again, changing this policy decision or creating a different allocation approach is not within the purview of ERCOT or stakeholders.

TIEC appreciates the time that ERCOT and many stakeholders have spent on these issues, and hopes that this proposal can move forward at the upcoming PRS meeting.

Market Rules Notes

Please note the baseline Protocol language in the following sections has been updated to reflect the incorporation of the following NPRRs into the Protocols:

- NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs) (incorporated 9/1/19)

  - Section 10.3.2.3

Please note that the following NPRR(s) also propose revisions to the following section(s):

- NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

  - Section 10.3.2.3

- NPRR1020, Allow Some Integrated Energy Storage Designs to Calculate Internal Loads

  - Section 10.3.2.3

Revised Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) removes a subjective and ambiguous term, “associated Load,” that has been interpreted in certain instances to restrict private service arrangements that are otherwise authorized under the Public Utility Regulatory Act (PURA) and Public Utility Commission of Texas (PUCT) precedent. Removing this term will provide regulatory certainty for both existing and planned sites by deferring to PURA and PUCT precedent, avoiding potentially inconsistent interpretations of the protocols. It will also provide certainty for ERCOT in reviewing meter design proposals submitted by Transmission Service Providers (TSPs). The NPRR also adds language to paragraph (2) of Section 10.3.2.3 to explicitly state that private service arrangements must comply with PURA and PUCT precedent, in addition to meeting the technical metering requirements in the protocols. This language has been added to ensure that market participants understand ERCOT’s metering group is not conducting an independent legal review of private service arrangements, and sites that receive metering approval may still be subject to a complaint or enforcement action at the PUCT for unlawful service. |
| --- | --- |
| Business Case | This NPRR provides regulatory certainty for existing and planned sites by removing ambiguous language in the Protocols that has been interpreted to preclude arrangements that are otherwise lawful. |

Proposed Protocol Language Revision

10.3.2.3	Generation Netting for ERCOT-Polled Settlement Meters

(1)	Generation Resources and netted Loads, including construction and maintenance Load that is netted with existing generation auxiliaries, must be metered at their POIs to the ERCOT Transmission Grid.  Interval Data Recorders (IDRs) must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load, and carry any applicable Load shared charges and credits.

[NPRR917: Replace paragraph (1) above with the following upon system implementation:] (1) Generation Resources or Settlement Only Generators (SOGs) and netted Loads, including construction and maintenance Load that is netted with existing generation auxiliaries, must be metered at their POIs to the ERCOT Transmission Grid or Service Delivery Point. Interval Data Recorders (IDRs) must be used to determine net generator output or Load usage. In the intervals where the generation output exceeds the Load, the net must be settled as generation. In the intervals where the Load exceeds the generation output, the net must be settled as Load and carry any applicable Load shared charges and credits.

(2)	For Settlement purposes, netting is not allowed except under the configurations described in paragraphs (a) through (d) below, and only if the service arrangement is otherwise lawful.  ERCOT has no obligation to independently determine whether a site configuration that includes both Loads and Generation Resource(s) or SOGs complies with PURA or the PUCT Substantive Rules, and ERCOT’s approval of a metering proposal for such a site is not a verification of the legality of that arrangement:

(a)	Single POI or Service Delivery Point with delivered and received metering data channels;

(b)	Multiple POIs where the Loads and generator output  are electrically connected to a common switchyard, as defined in paragraph (6) below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(c)	A Qualifying Facility (QF) with POIs, where the QF is selling energy to a thermal host, may net the Load meters of the thermal host with the QF’s generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TSP or DSP may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under PURA and applicable PUCT rules.  For purposes of this Section, new on-site generation has the meaning as contained in Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 39.252 and 39.262(k) (Vernon 1998 & Supp. 2007) (PURA); or

(d)	For Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TSP or DSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load. .  For Settlement purposes, when the net is a Load, the metered interconnection points must be assigned to the same Load Zone and Unaccounted for Energy (UFE) zone.

(3)	For generation sites with EPS Meters that measure Wholesale Storage Load (WSL), each energy storage Load Resource must be separately metered from all other Loads and generation:

(a)	For configurations where the WSL is not at the POI, it must be separately metered behind a single POI metering point; and

(b)	WSL for a compressed air energy storage Load Resource is exempt from the requirement to be electrically connected to a common switchyard, as defined in paragraph (6) below.

(4)	ERCOT shall maintain descriptions of the Metering Facilities of all common switchyards that contain multiple POIs of Loads (ESI IDs) and generation meters (EPS).  The description is limited to identifying the Entities within a common switchyard and a simplified diagram showing the metering configuration of all Supervisory Control and Data Acquisition (SCADA) and Settlement Metering points.

(5)	All Load(s) included in the netting arrangement for an EPS Metering Facility shall only be electrically connected to the ERCOT Transmission Grid through the EPS metering point(s) for such Facility.  Such Loads shall not be electrically connected to the ERCOT Transmission Grid through electrical connections that are not metered by the EPS metering point(s) for the Facility.

(6)	For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its POI and the Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.