| NPRR Number | 1031 | NPRR Title | Notices for Curtailment of Load |
| --- | --- | --- | --- |
| Date |  | August 28, 2020 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sadao Millberg |  |
| E-mail Address |  | milberg@dc-energy.com |  |
| Company |  | DC Energy Texas |  |
| Phone Number |  | 703-760-4358 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

DC Energy submits these brief comments to revise the spatial granularity of the proposed requirement for posting curtailed Load.  After discussion with ERCOT, we agree that replacing the county location with more flexible language would deliver the intended transparency benefits without incurring unnecessary implementation costs.

Revised Cover Page Language

None

Revised Proposed Protocol Language

6.5.9.3.4	Emergency Notice

(1)	Emergency Notice is the fourth of four levels of communication issued by ERCOT when operating in an Emergency Condition.

(2)	ERCOT shall issue an Emergency Notice for one or both of the following reasons:

(a)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market; or

(b)	Immediate action cannot be taken to avoid or relieve a Transmission Element operating above its Emergency Rating.

(3)	The actions ERCOT takes during an Emergency Condition depend on the nature and severity of the situation.

(4)	ERCOT is considered to be in an Emergency Condition whenever ERCOT Transmission Grid status is such that a violation of security criteria, as defined in the Operating Guides, presents the threat of uncontrolled separation or cascading Outages and/or large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of a Transmission Element, and no timely solution is obtainable through SCED or CMPs.

(5)	If the Emergency Condition is the result of a transmission problem, ERCOT shall act immediately to return the ERCOT System to a reliable condition, including instructing Resources to change output, curtailing any remaining DC Tie Load, and instructing TSPs or DSPs to drop Load.

(6)	In the event that Load is dropped due to a transmission problem as described in paragraph (5) above, ERCOT shall post within one day an operations message to the MIS Public Area listing the event’s date, start and end time, MW quantity of Load curtailment instruction, and the substation(s) or geographic area in which the event occurred.

(7)	If the Emergency Condition is the result of an Ancillary Service insufficiency, then ERCOT shall follow the EEA procedures.