| SCR Number | 812 | SCR Title | Create Intermittent Renewable Generation Integration Report |
| --- | --- | --- | --- |
| Date Posted |  | August 13, 2020 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 4.2.2, Wind-Powered Generation Resource Production Potential Protocol Section 4.2.3, PhotoVoltaic Generation Resource Production Potential |  |
| System Change Description |  | This System Change Request (SCR) creates the new Intermittent Renewable Generation Integration Report, similar to the current integration reports for wind power and solar power production. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Improves market awareness regarding overall renewable generation at ERCOT (please select all that apply) |  |
| Business Case |  | This SCR improves market awareness regarding overall renewable generation by mirroring the daily reporting currently provided for wind and solar generation individually. |  |

| Sponsor |  |
| --- | --- |
| Name | Nitika Mago |
| E-mail Address | Nitika.Mago@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6601 |
| Cell Number | 512-689-1360 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

Proposed System Change

Issue:

Intermittent Renewable Resource (IRR) capacity has been steadily rising within the ERCOT interconnection.  As of July 2020, ERCOT has 28,251 MW of total installed IRR capacity and expects the total IRR installed capacity to grow by 8,850 MW by end of 2020 and further grow by 11,257 MW by end of 2022 (Source: Capacity Changes by Fuel Type Charts, July 2020).  ERCOT currently provides a daily integration report for wind and solar generation individually.  With the rapid increases expected in overall IRR capacity in ERCOT, monitoring the trend of the overall IRR penetration in addition to the individual by type reporting is needed to understand the integration impact of all IRRs over the grid operations.

Resolution:

This SCR will create the new, daily Intermittent Renewable Generation Integration Report, similar to the current integration reports for wind power and solar power production.

24,976 MW of installed wind generation and 3,275 MW of installed solar generation

6,492 MW projected increase in wind installed capacity and 2,358 MW projected increase in solar installed capacity by end of 2020

3,748 MW projected increase in wind installed capacity and 7,509 MW projected increase in solar installed capacity by end of 2022

Links to the exiting dashboard and report: Wind Dashboard | Wind Integration Report | Solar Dashboard | Solar Integration Report