## Slide 1
Meter Working Group
September 15, 2020

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief review of WebEx attendees and meeting format

## Slide 4: Previous Action Item Update
  Action Items from previous MWG that are deferred to a future meeting.
    Voltage Throw over schemes: ERCOT is following up with TDSPs as needed.
    Design Proposal Updates to remove RARF reference: updates will be made and presented to the MWG once RIOO transition is complete.
    TDSP read metering and nodal pricing for settlement only energy storage: Updates to MWG will be made as NPRR continues through the market process

## Slide 5: Standing Reminder on NPRR949 Implementation
  As a reminder, NPRR949 was approved 8/13/2019. Protocol 10.12.1 will be updated effective 1/1/2023. See updated language below.
[NPRR949: Replace Section 10.12.1 above with the following on January 1, 2023:] 10.12.1 ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data (1) ERCOT shall acquire ERCOT-Polled Settlement (EPS) Meter data via the following communication links: (a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or (b) Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).
10.12.1 ERCOT Acquisition of Meter Data
(1) ERCOT shall acquire meter data via the following communication links:
(a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and
(b) Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

## Slide 6: Line Loss Compensation Analysis
  Numerous variables change the calculated line loss % Watt Cu
      Voltage Level, CT Ratio, 2 versus 3 element metering and Line resistance (Line used and if line is doubled)
  Based on provided data from 3 TDSPs average line resistance per foot was calculated. Since no 69 kV data was available, the same resistance was used for 138 kV and 69 kV.
    CT Ratio of 200:1 (1000:5) and 3 Element Metering was used in calculations.
    Maximum distance to maintain % Watt Cu less than 0.001% (not observable on meter test report) is listed below.
      345 kV: 45.73 Feet
      138 kV: 27.52 Feet
      69 kV: 13.76 Feet
  Average distance to first poll outside substation is 128 feet based on provided data.
  Spreadsheet used in calculations is listed as Key Document 4. Line Loss Calculations
    Formulas taken from TLC worksheet published on the ERCOT website
      Sheet 1 allows for Max % Watt Cu Loss as variable to determine feet
      Sheet 2 allows for Distance as variable to determine % Watt Cu Loss

## Slide 7: Line Loss Compensation Discussion
  Meter Working Group discussion on forming a recommended path forward

## Slide 8: Review/Discussion on NPRR 1020 Grey Boxed Language
See Protocols Section 10 and Section 11 boxed language

## Slide 9: WSL Metering Configurations and Calculations
See Key Document 6. WSL Configuration Examples and Calculations

## Slide 10: Draft Forms to Support NPRR 1020
See individually posted key documents
  7A: EPS Metering Design Proposal Section D 9_15
  7B: EPS Metering Design Proposal Section D Instructions 9_15

## Slide 11: SMOG Updates Required to Supplement NPRR 1020
Draft of potential SMOG updates to facilitate MWG discussion
  See key document 8. SMOG Update 9_15_20

## Slide 12: New or Other Business Items
  Request for any new or other business items

## Slide 13: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation
  The next MWG WebEx is scheduled for 10/20/2020 at 13:00.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    http://www.ercot.com/calendar/2020/9/15/210583-MWG