| NPRR Number |  | NPRR Title | Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 18.6, Installation and Use of Interval Data Recorder Meters |  |
| Related Documents Requiring Revision/Related Revision Requests |  | RMGRRXXX, Eliminate Section 7.13, IDR Meter Removal and Installation Process |  |
| Revision Description |  | This NPRR changes the metering requirement for premises connected at transmission voltage and/or having a peak demand greater than 700kW/700kVA. Currently an IDR Meter is required. This change will modify the requirement to be an Interval Data Recorder (IDR) which includes IDR Meters and Advanced Meters. The NPRR also eliminates the ERCOT IDR Requirement Report. |  |
| Reason for Revision |  | X Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). X Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The requirement for IDR Meters at premises connected at transmission voltage and/or having a peak demand greater than 700kW/700kVA is no longer necessary due to the advent of Advanced Meters and efforts of competitive TDSPs to modify their systems to support 4CP billing for premises with Advanced Meters. Additionally, the IDR Requirement Report is no longer necessary because installation of an IDR Meter is no longer the trigger mechanism to initiate 4CP billing for a premise. Competitive TDSPs are bound by their tariffs and all of the tariffs require 4CP billing for premises having a peak demand greater than 700kW/700kVA. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

Definitions are supplied for terms used in more than one Section of the Protocols.  If a term is used in only one Section, it is defined there at its earliest usage.

Interval Data Recorder (IDR) Mandatory Installation Requirements

The kW (kVA) level at which the installation of an IDR is required for Settlement purposes as set forth in Section 18.6.1, Interval Data Recorder Mandatory Installation Requirements.

- 18.6	Installation and Use of Interval Data Recorders

- 18.6.1	Interval Data Recorder Mandatory Installation Requirements

(1)	Interval Data Recorders (IDRs) are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(3)	Municipally Owned Utilities (MOUs) and Electric Cooperatives (ECs) that opt-in to Customer Choice must install IDRs at all Premises subject to the IDR Mandatory Installation Requirements for metering prior to the effective date of their participation in the testing and integration requirements of ERCOT systems for Customer Choice.

- 18.7	Transition of Interval Data Recorder Meter to AMS Profile Type

(1)	At a TDSP’s discretion, or upon a Customer’s request and TDSP’s approval, a TDSP may:

(a)	Utilize a provisioned Advanced Meter or similarly functional meter for Customer’s Premise;

(b)	Assign the appropriate Load Profile, other than one with a BUSIDRRQ Profile Type Code, to Premise’s Electric Service Identifier (ESI ID);

(c)	Submit Settlement Quality Meter Data, which will be used for Settlement, using the ERCOT specified file format for the interval data only in accordance with Retail Market Guide Section 7.15, Advanced Meter Interval Data File Format and Submission;

(d)	Submit a MarkeTrak issue to notify ERCOT that the ESI ID is no longer subject to the requirements identified in this Section and Retail Market Guide Section 7.13.2, Interval Data Recorder Meter Installation Process; and

(e)	At least 45 days prior to the effective date that the Load Profile will change, submit a MarkeTrak issue to notify the CR of the date the Load Profile will change.