## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2020

## Slide 2: Non-IRR GREDP < 85% – August 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score

## Slide 3: IRR Summary – August 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.64 | 68.31 | 89.63
GREDP Median (%) | 99.95 | 82.76 | 90.40
Average MW Error | 3.80 | 4.23 | 6.53
Median MW Error | 3.54 | 3.42 | 6.17
Total Intervals Scored | 17,210 | 4,617 | 4,149
100+ Intervals Scored | 33 | 209 | 10
Total Intervals Scored Average | 71.12 | 112.61 | 414.90

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,225 | 1,227 | 3.57 | 99.84
Unit 2 | 1,175 | 1,182 | 2.07 | 99.41
Unit 3 | 1,004 | 1,005 | 4.51 | 99.90
Unit 5 | 848 | 884 | 2.10 | 95.93
Unit 7 | 753 | 753 | 2.27 | 100.00
Unit 8 | 741 | 748 | 5.21 | 99.06
Unit 9 | 724 | 741 | 2.55 | 97.71
Unit 10 | 638 | 664 | 6.05 | 96.08
Unit 11 | 634 | 634 | 3.76 | 100.00
Unit 12 | 572 | 574 | 5.08 | 99.65
Unit 14 | 542 | 560 | 1.66 | 96.79
Unit 15 | 506 | 531 | 7.41 | 95.29
Unit 17 | 435 | 451 | 5.44 | 96.45
Unit 18 | 449 | 449 | 4.20 | 100.00
Unit 20 | 273 | 276 | 4.28 | 98.91
Unit 21 | 253 | 257 | 3.15 | 98.44
Unit 25 | 186 | 193 | 7.41 | 96.37

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 27 | 190 | 191 | 3.07 | 99.48
Unit 28 | 184 | 187 | 2.42 | 98.40
Unit 29 | 168 | 170 | 4.58 | 98.82
Unit 30 | 167 | 168 | 2.82 | 99.40
Unit 31 | 159 | 159 | 3.90 | 100.00
Unit 33 | 109 | 109 | 3.69 | 100.00

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – August 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 849 | 969 | 7.52 | 87.62
Unit 6 | 761 | 825 | 7.91 | 92.24
Unit 13 | 513 | 566 | 7.34 | 90.64
Unit 16 | 379 | 466 | 12.73 | 81.33
Unit 19 | 310 | 346 | 4.18 | 89.60
Unit 22 | 232 | 253 | 6.08 | 91.70
Unit 23 | 184 | 201 | 6.27 | 91.54
Unit 24 | 174 | 193 | 4.95 | 90.16
Unit 26 | 169 | 192 | 3.96 | 88.02
Unit 32 | 129 | 138 | 4.33 | 93.48