## Slide 1
RTU/ICCP/EMS
Maintenance Process

## Slide 2: Overview
ERCOT is requesting that entities notify ERCOT when maintenance is to occur that could cause telemetry, data, or communications to become unavailable or will be coming online.
ERCOT is providing the following email addresses for different types of maintenance.
  RTUstatus@ercot.com
  ICCPstatus@ercot.com
  MPEMSstatus@ercot.com
ERCOT would like a minimum set of information to be provided.
ERCOT prefers for entities that have notifications that provide more than the minimum set of information to continue to provide the same information.
ERCOT is going to be issuing a Market Notice on October 1, 2020 for this process to begin on November 1, 2020.

## Slide 3: Timelines
Planned RTU / ICCP / EMS/TMS maintenance – Notification 72 hrs or greater and after returned to normal as soon as possible
Unplanned RTU / ICCP / EMS/TMS outage or maintenance - upon realization, as soon as possible and after returned to normal as soon as possible
Phone calls a couple of hours prior to beginning a planned maintenance or immediately after a forced outage are not required but encouraged for higher risk activities/impacts but must be made from a control room operator to ERCOT control room operator
Momentary forced outages or lower risk planned maintenance less than 30 minutes does not need to be reported.

## Slide 4: Example RTU maintenance
RTUstatus@ercot.com
Station Name and ERCOT Station ID: Taylor/TAYLR
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 2 Hours
Reason for Maintenance: Database Load
Notes/Remarks: [As Needed]

## Slide 5: Example ICCP maintenance
ICCPstatus@ercot.com
Company and ICCP link: ERCOT / Taylor A
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 2 Hours
Reason for Maintenance: Router Replacement
Notes/Remarks: [As Needed]

## Slide 6: Example EMS/TMS/Database maintenance
MPEMSstatus@ercot.com
Company and ICCP link: ERCOT / Taylor A
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 15 minutes
Reason for Maintenance: New system
Notes/Remarks: [ As Needed]

## Slide 7: Definitions
Station Name and ERCOT Station ID: Taylor/TAYLR - This should list any impact Station Name(s) and Station ID(s) as identified in the Network Operations Model.
Start Date/Time: 02/10/2020 0830 - This should be the planned start time for the maintenance or actual start time if unplanned.
End Date/Time: 02/13/2020 1630 – This should be the planned end time for the maintenance or actual end time if notifying returned to normal.
Days: Monday-Thursday – This should be the list of days impacted between proposed or actual start date and end date. There may be instances where for example the outages over a 2 week period will only be on weekends.
Schedule Profile: Continuous - This should identify if the outage time frame is continuous over the entire start and end date or periodic windows of time.
Outage Request Type: Planned - This should identify if the outage is planned or unplanned.
Emergency Restoration Time: 2 Hours - This should identify the time it would take to restore the systems to that are outaged to normal status for an emergency.
Reason for Maintenance: Database Load - This should identify the type of and reason for maintenance being done or forced outage.
Notes/Remarks: [As Needed] – This should include any notes or remarks that could aid ERCOT in understanding any potential risks or circumstances related to the planned maintenance or forced outage.