D. Auxiliary load telemetry DETAILS

Telemetry Details Form:

Specific information for each ESR Auxiliary Load Telemetry being supplied to an EPS meter included in the EPS Metering Design Proposal.  A “Auxiliary Load Telemetry Details” form will need to be completed for each EPS meter point that has ESR Auxiliary Load Telemetry supplied. This section should be duplicated and additional copies of Section D should be used for each ESR Auxiliary Load Telemetry provided to an EPS meter. The information in this section should be provided by the resource owner to the TDSP.

G

- Unit or Load Name:

This field refers to the individual meter point that the ESR Auxiliary Load Telemetry is being supplied to.  This name should match the TDSP supplied name from B22.

- TDSP Project #:

A number assigned by the TDSP to each EPS Metering Design Proposal.  This number should be limited to ten (10) alphanumeric characters and should match the number assigned in box A10.

- Meter ID as shown on TDSP one-line:

This should be the name of the meter that will be supplied ESR Auxiliary Load Telemetry as listed on the TDSP one-line diagrams supplied with the Design Proposal. This name should match the TDSP supplied name from B25.

- ESR Auxiliary Load Max Expected Value

The maximum of load value that the resource entity expect the ESR auxiliary load to draw while the ESR is charging.

- ESR Auxiliary Load Normal Expected Value

The normal load value that the resource entity expect the ESR auxiliary load to draw while the ESR is charging.

- Confirmation that ESR Auxiliary Load Cannot be Separately Metered

Documentation describing the reason that the auxiliary load meets the requirement of Protocol 10.2.4(1) and cannot be separately metered and must be calculated. This shall include a one-line drawing that includes facility details necessary to understand the calculation and data flow.

- Load calculation Equipment and Methodology

A document describing the equipment and method used to determine the auxiliary load value.

- Description of performed or planned testing to support accuracy

A document describing the anticipated annual audit process, any laboratory or field testing that has already been performed, and/or will be performed to confirm  anticipated sensor accuracy and sensor types, and other information. Laboratory or field testing may include but is not limited to highly accelerated life testing or removal and replacement of a sample of sensors on a regular basis for testing. Regardless of the methodologies used, a chosen methodology must be sufficiently useful for a Texas Professional Engineer to use in required audits.

- Provided By

Name of the Resource Entity representative that is providing the supporting documents. This may be multiple contacts.

- Date Provided

Date the Resource Entity contact in D45 provided the supporting documents.

- Contact Information

Contact information for the Resource Entity representative(s) listed in D5. This should include phone number and email address.

- Additional Comments

Provide any clarifying comments.

# Comments

TDSP is asking why a normal value is being noted. Typical design proposal meter points only ask for maximum.

Signoff from Texas PE. Incorporate more NPRR language.

Can there be a framework of the structure for this requirement?

Tesla has offered to begin a draft.

Signoff from Texas PE. Incorporate more NPRR language.