## Slide 1
NPRR 995 Generation Accumulator Overview
ERCOT Staff
BESTF
September 29, 2020

## Slide 2: Generation Accumulator (GA) Overview
The purpose of the GA is to ensure that the charging energy settled at a nodal price never exceeds the amount injected by the ESS, which is also settled at a nodal price
The GA is needed only if there is customer Load at the site (in addition to the charging Load and the battery auxiliary Load)
GA applies to Settlement Only Energy Storage (SOES)
  See ERCOT’s Sept. 10 comments to NPRR 995
  If the market desires to accommodate an Energy Storage Resource (ESR) along with customer Load in a Private Use Network (PUN), an NPRR may be needed to incorporate the GA approach

## Slide 3: Generation Accumulator (GA) Overview
The GA tracks how much energy is returned back (injected) to the ERCOT System from a Settlement Only Energy Storage (SOES)
  If none of the charging energy is returned back to the ERCOT system, then:
    All of the charging energy (withdrawal) for the resource is settled using zonal prices
    GA is not needed
  If all* of the charging energy is returned back to the ERCOT system by the SOES, then:
    All of the charging energy (withdrawal) for the resource is settled using nodal prices (and gets WSL treatment if appropriate)
    No customer Load at the site, so GA is not needed
    Nodal prices are also used to settle the injections to the grid
    *An SOES can self-serve aux load, so more precisely it is “the charging energy is returned back to the ERCOT system by the SOES resource minus conversion losses and self-serve of aux”
  If a portion of the charging energy is returned back to the ERCOT system by the SOES, then:
    Charging energy (withdrawal from the grid) is settled using nodal prices, up to the amount of energy in the GA (which represents the quantity that was injected back to the ERCOT System)
    When the GA is depleted, withdrawals are settled at Load Zone prices until future injections start to replenish the GA
    Nodal prices are also used to settle the injections to the grid
    Over time, the same quantity that is injected and settled with nodal prices is also settled with nodal prices as charging energy

## Slide 4: Generation Accumulator (GA) Examples
If, in a 15-minute interval, an SOES’s metered injection is equal to the metered charging energy withdrawal, the quantity added to the GA would be zero for the 15-minute interval
If a 10 MW SOES was at full output for the first 10 minutes and at full withdrawal for the last 5 minutes, the quantity added to the GA would be 0.833 MWhs for the 15 minute interval
If at noon, the ‘Accumulator Quantity’ was 1 MWh and from noon to 12:15 the resource withdraws 2.5 MWhs, then for IE 12:15, 1 MWh would be settled using the nodal price (and get WSL treatment if appropriate) and 1.5 MWhs would be settled using the zonal price
All energy that is not charging energy (determined by meters, sensors or by the default 15%) is settled using zonal prices and does not get WSL treatment
  Note that some of this aux load may be served by the SOES