| NOGRR Number | 218 | NOGRR Title | Removal of Annual Disturbance Monitoring Equipment Database Submission Requirement |
| --- | --- | --- | --- |
| Date of Decision |  | September 23, 2020 |  |
| Action |  | Approved |  |
| Timeline |  | Urgent. Urgent status is requested so that this change can become effective prior to the October 31 deadline for disturbance monitoring equipment database submission. |  |
| Proposed Effective Date |  | October 1, 2020 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Operating Guide Sections Requiring Revision |  | 6.1.5, Equipment Reporting Requirements |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) removes the requirement for disturbance monitoring equipment owners to submit their database annually to ERCOT. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Eliminating the annual requirement for submission of disturbance monitoring equipment databases would reduce the cost of data collection burden on owners. If ERCOT needs this information, ERCOT will issue a Request for Information. The System Protection Working Group (SPWG) reviewed the proposed changes during their July 22, 2020 meeting and supports this NOGRR. |  |
| ROS Decision |  | On 9/3/20, ROS unanimously voted via roll call to grant NOGRR218 Urgent status, to recommend approval of NOGRR218 as submitted, and to forward to TAC. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 9/3/20, sponsors of NOGRR218 provided an overview of the current processes for collection and submission of database information, and highlighted the request for urgency so that NOGRR218 could be implemented prior to October 31. |  |
| TAC Decision |  | On 9/23/20, TAC voted via roll call to approve NOGRR218 as recommended by ROS in the 9/3/20 ROS Report. There was one abstention from the Independent Power Marketer (IPM) (Shell Energy) Market Segment. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 9/23/20, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | John Karlik & Andrew Mattei on behalf of the SPWG |
| E-mail Address | John.Karlik@austinenergy.com / amattei@brazoselectric.com |
| Company | Austin Energy / Brazos Electric |
| Phone Number | 512-505-7139 / 254-750-6767 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

6.1.5	Equipment Reporting Requirements

(1)	Disturbance monitoring equipment owners shall maintain a current database summarizing their disturbance monitoring equipment installations.

(2)	The database shall include installation location, type of equipment, make and model of equipment, operational status, a listing of the major equipment being monitored.  Additionally, a complete list of all monitored points at each installation shall be maintained by disturbance monitoring equipment owners and provided, when requested specifically by ERCOT, the NERC Regional Entity, or NERC, within 30 days.