- Section 2:

NPRR955 – Define Limited Impact Remedial Action Scheme (RAS)

This Nodal Protocol Revision Request (NPRR) defines a Limited Impact RAS to accommodate North American Reliability Corporation (NERC) Reliability Standard PRC-012-2, Remedial Action Schemes.

Revised Subsection:  2.1 [unboxed due to system implementation]