## Slide 1: PGRR077: DC Tie Planning Assumptions
Shams Siddiqi, Ph.D.
Representing Rainbow Energy Marketing Corporation (REMC)
(512) 619-3532
shams@crescentpower.net
ERCOT Board of Directors Meeting
October 13, 2020
Notes: <number>

## Slide 2: REMC’s Request to ERCOT BOD
October 13, 2020
<number>
Please approve 7/29/20 REMC Comments to PGRR077, instead of the TAC recommendation, for fairness/equity reasons:
  DC Tie Load pays more than its fair share of Transmission Cost of Service (TCOS) and, unlike other Load avoiding 4-CP charges, DC Tie Load cannot avoid paying this transmission charge since it’s charged in all hours as $/MWh
  DC Tie Load is also allocated Ancillary Services and other costs that other Loads pay
  Thus, DC Tie Load should be treated the same as other Load (except that DC Tie Load is shed just prior to shedding other Load) as clarified by several NPRRs since 2012
  Upgrades facilitating exports also facilitate DC Tie imports during times of scarcity and emergencies that benefit consumers in ERCOT
  Many large Loads avoid paying TCOS by chasing 4-CP transmission rates, yet transmission upgrades are planned even for those Loads
Notes: <number>

## Slide 3: Implications of PGRR077 as Filed
October 13, 2020
<number>
PGRR077 as Filed: DC Tie transactions will be fully curtailed in ERCOT’s reliability planning process and therefore no reliability upgrade will be considered to accommodate any DC Tie flow even though DC Tie Load pays more than its fair share of TCOS through the export tariff.
Based on Cost Causation and Fairness Principles: PGRR077 as Filed only makes sense if DC Tie Load is not allocated any TCOS, i.e. the PUCT sets the export tariff to zero.
Had PUCT set export tariff at zero, REMC would find the TAC recommendation acceptable since the approach would be consistent with cost causation and fairness principles and have the added benefit of increased societal welfare and efficiency through the removal of an inefficient barrier to trade:
  Transmission charges for DC Tie exports of about $23/MWh during summer off-peak hours create a significant barrier to exporting off-peak energy.
  This suppresses the opportunity for the market to address the most important price formation and resource adequacy issue identified by Drs. William Hogan and Susan Pope’s report in PUCT Project 47199.
  This is a prime example of allocation of sunk costs adversely impacting decisions to consume/export.
Notes: <number>

## Slide 4: DC Tie Load Treatment in Planning
October 13, 2020
<number>
NPRR405 in 2012 clarified that DC Tie Load be treated same as other Load
ERCOT Planning treated DC Tie Load the same as other Load
Surprise change in ERCOT DC Tie policy on 9/28/16 led to rampant export curtailments – REMC filed NPRR818 to significantly reduce export curtailments by allowing ERCOT to curtail exports under a Watch – a temporarily measure until NPRR825 was approved
An unintended consequence of NPRR818 was a change in ERCOT Planning treatment of exports where upgrades were no longer supporting exports
NPRR825 again clarified that exports should only be curtailed issuing DC Tie Curtailment Notices which are equivalent to Transmission Emergencies under appropriate situations
However, ERCOT Planning did not revert back to treatment of exports prior to NPRR818 but rather filed this PGRR077 for Stakeholders to decide
ERCOT is indifferent as to which policy Stakeholders adopt – PGRR077 as filed or as modified by 7/29/20 REMC Comments
REMC worked diligently with ERCOT and other interested parties to develop the 7/29/20 REMC Comments to this PGRR
Based on equity, REMC urges BOD to approve 7/29/20 REMC Comments
Notes: <number>