## Slide 1
Determining the Frequency of GIC Model Updates
10/6/2020

## Slide 2: Determining the frequency of GIC Model Updates
Use a set of criteria to determine GIC Model Building timeline
  In September 2019, the TF discussed:
    Consider using metrics to drive how often these models should be update
    Modifications to MOD to incorporate GIC information
    The initial GMD Vulnerability Assessment may identify necessary improvements to the GIC Model Building process and data.
  Additional items to consider:
    Identify the end users of these models and when they need these models available. Once determining a timeline, this may help identify a current WG could assume this build or the need of a new one.
    Identify GIC data maintained in current ERCOT processes. Engage those WGs to discuss possible adjustments to current process to improve the GIC model building.

## Slide 3: Determining the frequency of GIC Model Updates (9/12/19)
Consider using metrics to drive how often these models should be update
  Such as a threshold of the number of changes within the SSWG Models
  A initial analysis of the SSWG models used for the 1st generation GIC models and the 2nd generation GIC models
    The 17SSWG cases and 18SSWG Update 2 cases were compared using PSSE
    20 months between posting of these models
    Further analysis is need
Type | Count of New Elements
Bus | 814
Branch | 325
Transformer | 88

## Slide 4: Determining the frequency of GIC Model Updates (9/12/19)
The Siemen’s MOD Roadmap has GIC modeling capability within the next 2 years. This will open possibilities of improving the model building experience.
For example, the ability to maintain model changes currently provided in idvs will be modeled as PMCRs.
Other possible solutions:
Incorporating the information in the current MOD system
Creating a PGDTF MOD system solely for GIC model building using a SSWG case as the MOD base case.

## Slide 5: Determining the frequency of GIC Model Updates (9/12/20)
The initial GMD Vulnerability Assessment may identify necessary improvements to the GIC Model Building process and data.

## Slide 6: Additional items to consider in determining the frequency of GIC Model Updates
Identify the end users of these models and when they need these models available. Once determining a timeline, this may help identify a current WG could assume this build or the need of a new one.

## Slide 7: Additional items to consider in determining the frequency of GIC Model Updates
Example: ERCOT Planning has identified requiring 27MIN & 27SUM1 by June 2024 to complete the next GMD Vulnerability Assessment by December 2026.
Available SSWG case sets for the GIC model build are:
23SSWG – published by 7/1/2023
23SSWG Update 1 – published by 10/15/2023
23SSWG Update 2 – published by 3/1/2024
Considerations:
How long did the last GIC model build take?
Over what months, would the GIC model build take place?
  For example: Using the cases available in 23SSWG Update 1 would require model building over Oct, Nov, and December.

## Slide 8
Identify GIC data maintained in current ERCOT processes. Engage those WGs to discuss possible adjustments to current process to improve the GIC model building.
Network Data Support Working Group (NDSWG)
SSWG
Others

## Slide 9: Additional items to consider in determining the frequency of GIC Model Updates
For example: Transformer Vector Groups
Identify model data currently in the SSWG case currently maintained in the SSWG cases that are used by the GIC analysis.
Engage SSWG with these items and discuss how it impacts the GIC model build and how this data might be better managed within the SSWG process. Since a portion of information in SSWG comes from NMMS, should the adjustments occur at the NDSWG level?
This data is necessary for the GIC model. Are there other end-users?
Review compare this data between the GIC model and SSWG to provide to the WG
Discuss how the TSPs might work to ensure this data is available for input into the SSWG model building process

## Slide 10: Determining the frequency of GIC Model Updates
Consider using metrics to drive how often these models should be update
Modifications to MOD to incorporate GIC information
The initial GMD Vulnerability Assessment may identify necessary improvements to the GIC Model Building process and data.
Identify the end users of these models and when they need these models available. Once determining a timeline, this may help identify a current WG could assume this build or the need of a new one.
Identify GIC data maintained in current ERCOT processes. Engage those WGs to discuss possible adjustments to current process to improve the GIC model building.
Others