DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, September 3, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |  |
| Barnes, Bill | NRG |  |  |  |
| Bennett, Stacie | Lone Star Transmission |  |  |  |
| Bojorquez, Bill | Hunter Energy Solutions |  |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |  |
| Bruns, Scott | Direct Energy |  |  |  |
| Burnett, Ben | CenterPoint Energy |  |  |  |
| Cochran, Seth | DC Energy |  |  |  |
| Coleman, Diana | CPS Energy |  |  |  |
| Cook, Tim | CTT |  |  |  |
| Cortez, Sarai | Hunt Utility |  |  |  |
| DeWitt, Charles | Pedernales Electric Cooperative |  |  |  |
| Donaldson, Rodica | EDF Renewables |  |  |  |
| Donohoo, Kenneth | EPE Consulting |  |  |  |
| Downey, Martin |  |  |  |  |
| Egunjobi, Ransome | LCRA |  |  |  |
| Floyd, Rickey | Oncor |  |  |  |
| Goff, Eric |  |  |  |  |
| Gross, Blake | AEPSC |  |  |  |
| Helton, Bob | ENGIE |  |  |  |
| Henson, Martha | Oncor |  |  |  |
| Huynh, Thuy | Potomac Economics |  |  |  |
| Jewell, Michael | Jewell and Associates |  |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |  |
| Jolly, Emily | LCRA |  |  |  |
| Joshi, Karan | Pattern Energy |  |  |  |
| Kandah, Amjed | Oncor |  |  |  |
| Karlik, John | Austin Energy |  |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |  |
| Li, Jun | CenterPoint Energy |  |  |  |
| Loving, Alicia | Austin Energy |  |  |  |
| Mathew, Biju | LCRA |  |  |  |
| McClellan, Suzi | Good Company and Associates |  |  |  |
| Mercado, David | CenterPoint Energy |  |  |  |
| Miller, Alex | EDF Renewables |  |  |  |
| Mulholland, Chad | NRG |  |  |  |
| Musher, Danny | Key Capture Energy |  |  |  |
| Nagarajan, Ramya | CTT |  |  |  |
| Naik, Harsh | Oncor |  |  |  |
| Pappu, Ajay | Invenergy |  |  |  |
| Penney, David | Texas Reliability Entity |  |  |  |
| Peters, Patrick | CenterPoint Energy |  |  |  |
| Powell, Christian | Pedernales Electric Cooperative |  |  |  |
| Preas, Dylan | LCRA |  |  |  |
| Ravulapati, Bharath | CTT |  |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |  |
| Richmond, Michele | TCPA |  |  |  |
| Rochelle-Bradburn, Jennifer | Customized Energy Solutions |  |  |  |
| Sams, Bryan | Calpine |  |  |  |
| Schauer, Trent | AB Power Advisors |  |  |  |
| Schwarz, Brad | Sharyland |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |  |
| Smith, Chris | Austin Energy |  |  |  |
| Smith, Keith | Texas Reliability Entity |  |  |  |
| Snyder, John | Clearway Energy |  |  |  |
| Stupar, Rob | Invenergy |  |  |  |
| Varnell, John | Tenaska Power Services |  |  |  |
| Velasquez, Ivan | Oncor |  |  |  |
| White, Lauri | AEP Texas |  |  |  |
| Whitworth, Doug | Texas Reliability Entity |  |  |  |
| Williams, Wes | BTU |  |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |  |
| Yatar, J-M | CenterPoint Energy |  |  |  |
| ERCOT Staff: |  |  |  |  |
| Albracht, Brittney |  |  |  |  |
| Anderson, Connor |  |  |  |  |
| Anderson, Troy |  |  |  |  |
| Bernecker, John |  |  |  |  |
| Bigbee, Nathan |  |  |  |  |
| Billo, Jeff |  |  |  |  |
| Blevins, Bill |  |  |  |  |
| Boren, Ann |  |  |  |  |
| Bracy, Phil |  |  |  |  |
| Butler, Luke |  |  |  |  |
| Chan Wu, Vanessa |  |  |  |  |
| Cheng, Yunzhi |  |  |  |  |
| Clifton, Suzy |  |  |  |  |
| Du, Pengwei |  |  |  |  |
| Frosch, Colleen |  |  |  |  |
| Ganjoo, Shalesh |  |  |  |  |
| Garcia, Freddy |  |  |  |  |
| Gnanam, Prabhu |  |  |  |  |
| Hartmann, Jimmy |  |  |  |  |
| Huang, Fred |  |  |  |  |
| Jenkins, Darrell |  |  |  |  |
| Jones, Dan |  |  |  |  |
| Jowlabar, Nicholas |  |  |  |  |
| Kang, Sun Wook |  |  |  |  |
| Lasher, Warren |  |  |  |  |
| Lee, Alex |  |  |  |  |
| Mago, Nitika |  |  |  |  |
| Matevosyan, Julia |  |  |  |  |
| Matlock, Robert |  |  |  |  |
| Mereness, Matt |  |  |  |  |
| Miller, Megan |  |  |  |  |
| Phillips, Cory |  |  |  |  |
| Ragsdale, Kenneth |  |  |  |  |
| Rickerson, Woody |  |  |  |  |
| Sanchez, Daniel |  |  |  |  |
| Sanchez, Lilia |  |  |  |  |
| Solis, Stephen |  |  |  |  |
| Stice, Clayton |  |  |  |  |
| Stout, Matt |  |  |  |  |
| Teixeira, Jay |  |  |  |  |
| Thompson, Chad |  |  |  |  |
| Thompson, Lori |  |  |  |  |
| Thuerwaechter, Kashia |  |  |  |  |
| Williams, Leslie |  |  |  |  |
| Wolf, Craig |  |  |  |  |
| Woodfin, Dan |  |  |  |  |
| Xiao, Hong |  |  |  |  |
| Yan, Ping |  |  |  |  |
| Zhang, Yang |  |  |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the September 3, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- July 9, 2020

- August 6, 2020

- Market Participants reviewed the July 9, 2020 and August 6, 2020 ROS meeting minutes.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch reviewed the disposition of items considered at the August 26, 2020 TAC meeting, noted the discussion on the 2% rule and stated that TAC leadership and ERCOT Staff are working on a procedural path forward.

- ERCOT Reports (see Key Documents)

- Operations Report

- Nitika Mago reviewed the July 2020 Operations Report.

System Planning Report

Ping Yan presented the July 2020 System Planning Report.

Transmission Issues Related to Generation Constraints Workshop Update

Jeff Billo summarized the discussion at the August 21, 2020 Transmission Issues Related to Generation Constraints Workshop, including Nodal Operating Guide Revision Request (NOGRR) 215, and presented ERCOT’s recommended next steps for ERCOT, Stakeholders, the Wholesale Market Subcommittee (WMS) and ROS.  Mr. Bunch requested the Operations Working Group (OWG) review NOGRR215 issues in a joint meeting with the Congestion Management Working Group (CMWG).

System Operating Limits (SOL) Methodology Update

Prabhu Gnanam summarized the SOL methodology updates that align with the North American Electric Reliability Corporation (NERC) guidelines, stated that ERCOT evaluated 12 Generic Transmission Constraints (GTCs) and determined that five of these GTCs will be classified Interconnection Reliability Operating Limits (IROLs), and noted that IROL assessments will be conducted as part of future GTC studies and updates.

2020 UFLS Survey Results

Daniel Sanchez presented findings of the 2020 Under-Frequency Load Shedding (UFLS) survey.

Real-Time Co-Optimization Task Force (RTCTF) Update (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

Matt Mereness summarized RTCTF activities, reviewed the proposed timeline for NOGRR211 to proceed through the stakeholder process, encouraged Market Participants to attend the September 9, 2020 BESTF meeting to discuss the technical issues in NOGRR211, and requested ROS consider NOGR211 at the November 5, 2020 ROS meeting.

System Protection Working Group (SPWG) (see Key Documents)

John Karlik reviewed SPWG activities.

Urgency Vote(s) (see Key Documents)

NOGRR218, Removal of Annual Disturbance Monitoring Equipment Database Submission Requirement

Mr. Karlik reviewed NOGRR218, summarized discussions at SPWG meetings, and stated that Urgent status is requested to allow for implementation before the October 31, 2020 data submission requirement.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1034, Frequency-Based Limits on DC Tie Imports or Exports

Mark Bruce summarized NPRR1034 and requested PDCWG review the issues.  Mr. Bunch requested PDCWG review NPRR1034 in an open meeting forumt.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

System Change Request (SCR) 811, Addition of Intra-Hour PhotoVoltaic Power Forecast to GTBD Calculation

Mr. Mulholland summarized PDCWG discussions on the concepts in SCR811.  Nitika Mago summarized SCR811, the 8/31/20 ERCOT comments, and the request for Urgent status.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

NOGRR214, Geomagnetic Disturbance (GMD) Measurement Data Reporting

Planning Guide Revision Request (PGRR) 077, DC Tie Planning Assumptions

Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

Language Review

NOGRR217, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

PGRR084, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Market Participants reviewed NOGRR217 and PGRR084.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

NOGRR211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

PGRR081, Related to NPRR1026, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on these items.

NOGRR210, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

Resource Registration Glossary Revision Request (RRGRR) 025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

Market Participants noted the PRS review of NPRR1005 and expressed a desire to advance NOGRR210 and RRGRR025.   Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

NOGRR207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

Mr. Floyd summarized OWG discussions on NPRR1001 and NOGRR207.  Market Participants reviewed the 9/2/20 ERCOT comments to NPRR1001 and offered clarifications to NOGRR207.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

MTE List (Waive Notice)

Mr. Floyd presented the Major Transmission Element (MTE) List.  Market Participants noted the need to waive notice to consider the issues.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities.

PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process

ROS took no action on this item.

PGRR083, Add RPG Project Number and TPIT Revisions

Mr. Cook summarized PLWG discussions on PGRR083, including a potential fee to cover the on-going costs, and stated PLWG was in consensus to advance PGRR083.  Market Participants discussed multiple proposed concepts in regards to transmission project updates.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the July 9, 2020 and August 6, 2020 ROS meeting minutes as submitted

- To grant NOGRR218 Urgent status, to recommend approval of NOGRR218 as submitted, and to forward to TAC

- To request PRS continue to table NPRR1034 to allow for review by the PDCWG

- To endorse SCR811 as submitted, and to endorse Urgent status for SCR811

- To endorse and forward to TAC the 8/6/20 ROS Report and the Impact Analysis for NOGRR214

- To endorse and forward to TAC the 8/6/20 ROS Report and the Impact Analysis for PGRR077

- To recommend approval of NOGRR217 as submitted

- To recommend approval of PGRR084 as submitted

- To recommend approval of NOGRR210 as submitted

- To recommend approval of RRGRR025 as submitted

- To endorse NPRR1001 as amended by the 9/2/20 ERCOT Comments

- To recommend approval of NOGRR207 as revised by ROS

- To Waive notice and to endorse the MTEL list as presented

- To recommend approval of PGRR083 as submitted

Doug Evans seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

Dynamic Working Group (DWG)

Ransome Egunjobi reviewed DWG activities.

Operations Training Group (OTWG)

Tamme Chilton summarized OTWG activities, including Market notice W-A063020-02 Education/Training for the October 6 and October 7, 2020 pilot Operator Training Seminar by Webex.

Voltage Profile Working Group (VPWG)

Biju Mathew reviewed VPWG activities.

Other Business

September 14, 2020 Annual TAC Subcommittee Structural Review

Mr. Bunch announced the September 14, 2020 TAC and TAC Subcommittee Structural and Procedural Review and encouraged Market Participants to consider working group and task force meeting efficiencies.

Review of Open Action Items

Market Participants took no action on this item.

No Report

- Black Start Working Group (BSWG)

- Planning Geomagnetic Disturbance Task Force

- Steady State Working Group (SSWG)

Adjournment

Mr. Bunch adjourned the September 3, 2020 ROS meeting 12:12 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2020/8/6/189406-ROS