## Slide 1
Review of ERS Generator output metering requirement
Camron Barati
Market Operations Analyst
Demand Side Working Group – October 16, 2020

## Slide 2: ERS Generator output metering requirements
ERS generators are required to provide output meter data to ERCOT (ERCOT Protocols Section 8.1.3.1.3.2 and ERS TRSOW Section 6)
  For ERS Generators, output meter data is needed to properly calculate availability
    ERCOT Protocols Section 8.1.3.1.3.2(3)(d)(i): ERS Generators are considered unavailable when their output is greater than the sum of its self-serve capacity and its declared injection capacity for the ERS Time Period
  ERS Generator output metering should be 15-minute settlement quality IDR metering (ERS TRSOW Section 6.11)
ERCOT will treat ERS Resources as unavailable for any committed intervals for which the non-TDSP meter data is unavailable (ERS TRSOW Section 14.1)

## Slide 3: ERS Generator output metering exemptions
In some cases TDSP metering which measures import from and export to the Grid is sufficient to meet this requirement. Two cases in particular are (ERS TRSOW Section 6.2):
  The import from the Grid is small parasitic consumption by the ERS Generator
  The ERS Generator only runs:
    When there is power interruption affecting the Load,
    In response to an ERCOT instruction
    Self-Testing

## Slide 4: ERS Generator output metering attestation
Before the start of a Standard Contract Term, each QSE with an ERS Generator will be required to complete a spreadsheet provided by ERCOT attesting to the use of the ERS Generator (ERS TRSOW Section 6.3)
See example below – QSEs to complete columns H and I
  If QSE specifies ‘NO’ in column H, reason in column I is required

## Slide 5: Questions?
ON
OFF
Contact ERS@ercot.com with additional questions