## Slide 1
Self-Limiting Process for Settlement Only Generators (and Settlement Only Energy Storage)
Oct 15 2020

## Slide 2: Overview of Process
BESTF identified framework for Self-Limiting Resources
  NPRR1026, PGRR081 submitted
    http://www.ercot.com/mktrules/issues/NPRR1026
    http://www.ercot.com/mktrules/issues/PGRR081
  Provides definitions, requirements and reporting
  Limited to Generation Resources and Energy Storage Resources
DGR Workshop
  Comments filed by ERCOT on 10/02 revised PGRR082 to accommodate self-limiting concept for small gen/large gen processes
    http://www.ercot.com/mktrules/issues/PGRR082
  Language is not exclusive to GRs or ESRs.

## Slide 3: Summary of proposed NPRR Changes
Expand definition of “Self-Limiting Facility”
  Include application to SOG and SOES
Revisions to section 3.8.7 procedures
  Provisions for self-limiting to apply to SOG/SOES.
  Considering requiring basic real-time telemetry since they do not provide COPs
    This would also include revisions to section 6.5.5.2
  Provisions for tracking
    Limits for Transmission-connected resources established
    What limits, if any, for distribution connected?
No current VSS requirements for SOG or SOES

## Slide 4: Proposed RRGRR Changes
Will require updating fields for “Self Limiting Facility’ to apply to Distributed Generation/SODG Registration data
Note RRGRR023 already establishes fields for Self Limiting Facility

## Slide 5: Next Steps
NPRR 1026 must be approved by ERCOT BOD before NPRR can be submitted.
Submit questions/redline feedback by Nov 6
Next Scheduled Workshop
Bill Blevins
Bill.Blevins@ercot.com
(512)-248-6691