## Slide 1
Meter Working Group
October 20, 2020

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief review of WebEx attendees and meeting format

## Slide 4: Previous Action Item Update
  Action Items from previous MWG that are deferred to a future meeting.
    Voltage Throw over schemes: ERCOT is following up with TDSPs as needed.
    Design Proposal Updates to remove RARF reference: updates will be made and presented to the MWG once RIOO transition is complete.
    TDSP read metering and nodal pricing for settlement only energy storage:
      NPRR 995: Look for discussions at the November WMS and PRS meetings.
      Current language requires EPS Metering for implementation.
      Depending on market action related to NPRR 995, MWG will probably want to have future discussions to frame market desires on the consideration of TDSP read meters.

## Slide 5: Standing Reminder on NPRR949 Implementation
  As a reminder, NPRR949 was approved 8/13/2019. Protocol 10.12.1 will be updated effective 1/1/2023. See updated language below.
[NPRR949: Replace Section 10.12.1 above with the following on January 1, 2023:] 10.12.1 ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data (1) ERCOT shall acquire ERCOT-Polled Settlement (EPS) Meter data via the following communication links: (a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or (b) Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).
10.12.1 ERCOT Acquisition of Meter Data
(1) ERCOT shall acquire meter data via the following communication links:
(a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and
(b) Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

## Slide 6: Percentage of EPS Meters using IP Communication
TDSP | % OF METERS ON TCP/IP as of JANUARY 2020 | % OF METERS ON TCP/IP as of OCTOBER 2020 | % OF METERS STILL ON PHONE LINE AS OF OCTOBER 2020*
TDSP O | 100% | 100.00% | 0.00%
TDSP A | 100% | 100.00% | 0.00%
TDSP V | 100% | 100.00% | 0.00%
TDSP U | 100% | 100.00% | 0.00%
TDSP T | 100% | 100.00% | 0.00%
TDSP C | 100% | 100.00% | 0.00%
TDSP F | 100% | 100.00% | 0.00%
TDSP B | 100% | 100.00% | 0.00%
TDSP Q | 46% | 83.33% | 16.67%
TDSP K | 50% | 61.54% | 38.46%
TDSP D | 58% | 58.33% | 41.67%
TDSP I | 50% | 54.05% | 45.95%
TDSP N | 43% | 46.00% | 54.00%
TDSP M | 3% | 43.06% | 56.94%
TDSP P | 37% | 43.04% | 56.96%
TDSP R | 25% | 36.92% | 63.08%
TDSP H | 5% | 4.17% | 95.83%
TDSP S | 0% | 0.00% | 100.00%
TDSP L | 0% | 0.00% | 100.00%
TDSP W | 0% | 0.00% | 100.00%
TDSP E | 0% | 0.00% | 100.00%
TDSP J | 0% | 0.00% | 100.00%
*Indicates sorted by this column in lowest to highest order

## Slide 7: Line Loss Compensation Discussion
  Meter Working Group discussion on forming a recommended path forward
    Action Item from 9/15 meeting: ERCOT review language for a potential SMOG change based on % watt cooper less than 0.001%. Including in the review the impact of using maximum current based on the site generation/load.
  See key document “3. Line Loss Calculations 10_20_20”
    Potential method for determining if line loss should be programmed
  Questions to answer if MWG decides to use site maximum energy to calculate for line loss not being programmed in the meter:
    Should there be a buffer added over the expected maximum energy when calculating the expected current? How much of a energy buffer should be added?
    When calculating the site current based on maximum energy, what power factor should be used?
  Pending MWG discussions, protocol/SMOG language around the concept can be prepared for the next meeting.

## Slide 8: Design Proposal Section D and Section D Instructions
See Key documents:
  4A. Design Proposal Section D 10_20_20
  4B. DP Section D Instructions 10_20_20
Action Item from 9/15 meeting:
  ERCOT to discuss internally the requirement of box 40 and either provide a recommendation to remove the field or provide detailed reasoning for the field to remain at next MWG.
    Recommendation is to remove this field.
    Posted documents have field 40 replaced with information on where the WSL will be calculated.

## Slide 9: SMOG Updates Required to Supplement NPRR 1020
Draft of potential SMOG updates to facilitate MWG discussion
  See key document “5. SMOG Update 10_20_20”
Outstanding Action Items from 9/15 Meeting:
  ERCOT to discuss internally to formulate a recommendation regarding how loss of telemetry will be communicated to the resource entity.
  ERCOT and TDSPs review within their respective organizations to have recommendations regarding sample rates for auxiliary load calculation.

## Slide 10: SMOG Updates Required to Supplement NPRR 1020
Action Item: ERCOT to discuss internally to formulate a recommendation regarding how loss of telemetry will be communicated to the resource entity.
  Contact(s) provided by resource entity per 10.2.4.1(1)(iv)
  Loss of telemetry events reported to MV-90 per SMOG 6.5.4(1)(l-m)
  Events reported in similar process as events currently reported to TDSP

## Slide 11: SMOG Updates Required to Supplement NPRR 1020
Action Item: ERCOT and TDSPs review within their respective organizations to have recommendations regarding sample rates for auxiliary load calculation.
ERCOT Review:
  ICCP Handbook Table 28 has data from batteries including state of charge, generator status and numerous other signals being required from QSEs every 2 seconds.

## Slide 12: SMOG Updates Required to Supplement NPRR 1020
CenterPoint update on investigation into SMOG changes needed to support using a stand alone meter to report auxiliary load calculation data.
  Note in SMOG 4.1(1)

## Slide 13: New or Other Business Items
  SMOGRR023 Update to MWG:
    Impact Analysis unanimously endorsed by WMS 10/7/20.
    WMS Report and Impact Analysis forwarded to TAC.
  Request for any new or other business items

## Slide 14: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation
  The next MWG WebEx is scheduled for 11/18/2020 at 13:00.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    http://www.ercot.com/calendar/2020/10/20/213504-MWG