## Slide 1
Planning Guide Approach for Self-Limiting Facilities (PGRR081/PGRR082)
October 15, 2020

## Slide 2: PGRR082: Creates “Small Gen” process
Nameplate

## Slide 3: PGRR082: Creates “Small Gen” process
Nameplate

## Slide 4: NPRR1026 and PGRR081 (BESTF)
NPRR1026 creates new definition and processes for “Self-Limiting Facilities”
  Applies to Resources (GR + ESR)
  Doesn’t apply to Settlement Only Generators (SOGs)
PGRR081 clarifies that MW injection limit will be used in interconnection studies
Separate revision request would be required to expand Self-Limiting Facility concept to include SOG

## Slide 5: Current Approach for PGRR082 (Pre-NPRR1026)
PGRR082 does not include definition for Self-Limiting Facility
Planning Guide Section 5 applies to all Resources and SOGs

## Slide 6: PGRR082 Proposed New Language
5.2.1 (7) For a new or modified generator that has been designated as a Self-Limiting Facility or as a component of a Self-Limiting Facility, the categorization of the generator as a small generator or large generator pursuant to paragraphs (3) through (5) above shall be determined using the Self-Limiting Facility’s established limit on the total MW Injection, or if applicable, the proposed increase in that value instead of the nameplate capacity of the Self-Limiting Facility.

## Slide 7: NPRR1026 and PGRR081 Self Limiting Facility
Self-Limiting Facility’s established limit on the total MW Injection

## Slide 8: NPRR1026 and PGRR081 Self Limiting Facility
Self-Limiting Facility’s established limit on the total MW Injection

## Slide 9: New NPRR
Would expand definition of “Self-Limiting Facility”
  Include application to SOGs
Revisions to section 3.8.7 procedures
  Provisions for applying
  Considering requiring basic real-time telemetry (also revisions to section 6.5.5.2?)
  Provisions for tracking
  Provisions for actions when limits exceeded (enforcement)
New RRGRR required for SOG?

## Slide 10: PGRR082 processes if SOG Included in Self Limiting Facility
Self-Limiting Facility’s established limit on the total MW Injection

## Slide 11: PGRR082 processes if SOG included in Self Limiting Facility
Self-Limiting Facility’s established limit on the total MW Injection