## Slide 1
RTU/ICCP/EMS
Maintenance Process

## Slide 2: Overview
ERCOT is requesting that entities notify ERCOT when maintenance is to occur that could cause telemetry, data, or communications to become unavailable or will be coming online.
ERCOT is providing the following email addresses for different types of maintenance.
  RTUstatus@ercot.com
  ICCPstatus@ercot.com
  MPEMSstatus@ercot.com
ERCOT would like a minimum set of information to be provided.
ERCOT prefers for entities that have notifications that provide more than the minimum set of information to continue to provide the same information.
ERCOT is going to be issuing a Market Notice TBD (tentatively on December 1, 2020 for this process to begin on January 1, 2020).

## Slide 3: Additional Clarifications
Nothing ERCOT is seeking to clarify would alter any NERC Requirements specifically including but not limited to TOP-001 R9. Responsible Entities are responsible for meeting their compliance obligations. TOP-001 R9 identifies “What” requires notification to the Reliability Coordinator. ERCOT is clarifying “how” those notifications are preferred to be done.
  TOP-001-4 R9 Each Balancing Authority and Transmission Operator shall notify its Reliability Coordinator and known impacted interconnected entities of all planned outages, and unplanned outages of 30 minutes or more, for telemetering and control equipment, monitoring and assessment capabilities, and associated communication channels between the affected entities.
RTU Planned Outages and Forced Outages consistent with TOP-001 R9
  ERCOT is requesting that this notification be an email Notification at least 72 hrs in advance with phone call 1 hr prior for higher risk or very high impact planned outages.
ICCP Planned Outages and Forced Outage consistent with TOP-001 R9
  ERCOT is requesting that this notification be an email Notification at least 72 hrs in advance with phone call 1 hr prior
Additional clarifications:
  For DB loads, No notifications needed if within the 30 minute requirement. ERCOT may request additional temporary notifications if there are repeated or observed issues.
  For ICCP, can add the ICCP status email in addition to the ICCP support email. Use ICCP support email for telemetry model distribution.
  For large network upgrades/fiber maintenance can go to ICCPstatus email. For comm system maintenance that may affect group of RTUs , may be better to use RTU status email.
  For EMS/TMS upgrades whether a few min or several, would expect a notification. Even if there is a primary/secondary.
  General normal maintenance (e.g. weekly) for example of webscans that may temporarily swap over ICCP and cause momentary downtime one at a time, notifications may not be necessary (i.e. less than 30 min)
  If you are relocating one of the ICCP links to a tertiary site while one of the primary/secondary needs to be down for an extended period of time.
  ICCP is primarily focused on the system/os/patches/server upgrades and not the data that resides on it when we say ICCP maintenance/outages.

## Slide 4: Timelines
Planned RTU / ICCP / EMS/TMS maintenance – Notification 72 hrs or greater and after returned to normal as soon as possible consistent with TOP-001 R9.
Unplanned RTU / ICCP / EMS/TMS outage or maintenance - upon realization, as soon as possible consistent with TOP-001 R9 and after returned to normal as soon as possible
Phone calls an hour prior to beginning a planned maintenance or immediately after a forced outage are not required but encouraged for higher risk activities/impacts but must be made from a control room operator to ERCOT control room operator

## Slide 5: Example RTU maintenance
RTUstatus@ercot.com
Station Name and ERCOT Station ID: Taylor/TAYLR
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 2 Hours
Reason for Maintenance: Database Load
Notes/Remarks: [As Needed]

## Slide 6: Example ICCP maintenance
ICCPstatus@ercot.com
Company and ICCP link: ERCOT / Taylor A
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 2 Hours
Reason for Maintenance: Router Replacement
Notes/Remarks: [As Needed]

## Slide 7: Example EMS/TMS/Database maintenance
MPEMSstatus@ercot.com
Company and ICCP link: ERCOT / Taylor A
Start Date/Time: 02/10/2020 0830
End Date/Time: 02/13/2020 1630
Days: Monday-Thursday
Schedule Profile: Continuous
Outage Request Type: Planned
Emergency Restoration Time: 15 minutes
Reason for Maintenance: New system
Notes/Remarks: [ As Needed]

## Slide 8: Definitions
Station Name and ERCOT Station ID: Taylor/TAYLR - This should list any impact Station Name(s) and Station ID(s) as identified in the Network Operations Model.
Start Date/Time: 02/10/2020 0830 - This should be the planned start time for the maintenance or actual start time if unplanned.
End Date/Time: 02/13/2020 1630 – This should be the planned end time for the maintenance or actual end time if notifying returned to normal.
Days: Monday-Thursday – This should be the list of days impacted between proposed or actual start date and end date. There may be instances where for example the outages over a 2 week period will only be on weekends.
Schedule Profile: Continuous - This should identify if the outage time frame is continuous over the entire start and end date or periodic windows of time.
Outage Request Type: Planned - This should identify if the outage is planned or unplanned.
Emergency Restoration Time: 2 Hours - This should identify the time it would take to restore the systems to that are outaged to normal status for an emergency.
Reason for Maintenance: Database Load - This should identify the type of and reason for maintenance being done or forced outage.
Notes/Remarks: [As Needed] – This should include any notes or remarks that could aid ERCOT in understanding any potential risks or circumstances related to the planned maintenance or forced outage.