## Slide 1
Real-Time Co-optimization Task Force (RTCTF) Update
Matt Mereness
RTCTF Chair
TAC
October 28, 2020

## Slide 2: Outline of RTCTF Update
RTC Revision Requests (RTCRRs) Schedule & Progress to Date
Reminder of RTC Scope
TAC Approval Details
RTCTF Status
Next Steps
Appendix
  RTCRR Review Process
  Dates of Consensus Items
  Overall RTC Delivery Schedule

## Slide 3: RTC Revision Requests
Based on the Board-approved RTC Key Principles (KPs), ERCOT developed and released the following NPRRs, NOGRR, and OBDRR with a single Impact Analysis (IA).
RTCRRs released March 25, 2020 | Pages 549 total
NPRR1007- RTC NP3- Management Activities for the ERCOT System | 62
NPRR1008- RTC NP4- Day-Ahead Operations | 65
NPRR1009- RTC NP5- Transmission Security Analysis and Reliability Unit Commitment | 39
NPRR1010- RTC NP6- Adjustment Period and Real-Time Operations | 248
NPRR1011- RTC NP8- Performance Monitoring | 49
NPRR1012- RTC NP9- Settlement and Billing | 15
NPRR1013- RTC NP 1, 2, 16, 25- Overview, Definitions/Acronyms, Registration and Qualification of MPs, and Market Suspension and Restart | 24
NOGRR211- RTC Nodal Operating Guides 2 and 9- System Operations and Control Requirements and Monitoring Programs | 21
OBDRR020- RTC - Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints | 26

## Slide 4: RTCRR Review Schedule & Progress to Date
Schedule of 2020 meetings for RTCRRs:
Mar. 11 – RTCTF (Plan and logistics for RR review)
Apr. 8 – RTCTF (Review detailed plan, and begin review process)
Apr. 30 – RTCTF
May 11 – Special RTCTF for Potential Design Flaw- AS Price Cap discussion
May 20 – RTCTF
Jun. 10 – RTCTF
Jun. 22 – Special RTCTF for Ancillary Service Deployments
Jun. 29 – RTCTF
Jul. 15 – Special RTCTF for AS Deployment Expectations & Durations
Jul. 22 – RTCTF
Aug. 12 – RTCTF
Sep. 9 – RTCTF
Sep. 28 – RTCTF
Oct. 21 – RTCTF (last meeting)
Nov. 5 – ROS
Nov. 11 – PRS
Nov. 12 – RTCTF (cancelled)
Nov. 17 – CWG/CMWG
Nov. 18 – TAC
Dec. 8 – ERCOT Board

## Slide 5: RTCRR Review Schedule & Progress to Date
9/28/2020 RTCTF Consensus (11 items):
  Offers for RMR/Contract for Capacity Resources in Sections with Consensus
    NPRR1008 (4.4.8, 4.4.9.3.3, 4.4.9.4.1)
  Minor Language Clean-Up: Settlements
    NPRR1008 (4.4.7.1)
    NPRR1010 (6.7.6)
  Reporting Items
    NPRR1007 (3.2.3, 3.2.5, 3.10.7.2.1)
    NPRR1010 (6.5.7.5)
    NPRR1010 (6.3.2)
  AS Performance Monitoring
    NOGRR211 (9.1.10)

## Slide 6: RTCRR Review Schedule & Progress to Date
10/21/2020 RTCTF Consensus (31 items):
  AS Performance Monitoring
    NPRR1011 (8.1.1.3, 8.1.1.3.1, 8.1.1.3.2, 8.1.1.3.3, 8.1.1.3.4, 8.1.1.4.1, 8.1.1.4.2, 8.1.1.4.3, 8.1.1.4.4, 8.1.2, 8.5.1.1)
  Definitions, Acronyms, Alignment
    NPRR1013 (2.1, 2.2)
  Minor Language Clean-Up For Sections That Have Consensus - New Grey-Box Language and Legal Review
    NPRR1007 (3.2.3, 3.2.5, 3.8.2)
    NPRR1008 (4.1.2, 4.2.1.1, 4.2.1.2, 4.4.7.1, 4.4.9.4.1, 4.4.10)
    NPRR1009 (5.5.2)
    NPRR1010 (6.3.1, 6.3.2, 6.4.9.1.1, 6.5.7, 6.5.7.3, 6.5.9.2, 6.6.1.6)
    OBDRR020 (2, Appendix 2.2)

## Slide 7: Reminder of RTC Scope (used at October PRS)
SCED will be expanded to clear Energy & AS every five minutes
  Hence real-time “co-optimization”, similar to Day-Ahead Market
SCED will clear full capability of Resources
  QSEs no longer reserve AS Capacity from DAM awards (discontinue HASL/LASL)
SCED essentially re-clears all AS in Real-Time
  Note there are some exceptions for Load Resources
  Therefore Supplemental AS Market no longer needed (SASM retired)
  RUC (like SCED) will co-optimize the full capability of Resources (no HASL/LASL)
  DAM will allow virtual AS Offers (offers only, no bids to buy)
If a Resource that is qualified to provide AS does not offer AS in real-time, ERCOT systems will create Proxy Offers for services
  Open issue to consider Proxy AS Offer Prices (needed prior to go-live)
Operating Reserve Demand Curve (ORDC) price adders will be discontinued in RTC, and reflected as RTC AS Demand Curves for each AS in SCED.
Telemetry changes required from Resources
  Additional Ramp Rates
  Merging UDBP and Regulation into single UDSP

## Slide 8: TAC Approval Details
Details and sequence of approvals:
Oct. 21 – RTCTF (last meeting)
  Oct. 23 – ERCOT Market Rules posted final RTC RRs and requested urgency
Nov. 5 – ROS
  RTC NOGRR211 - ERCOT filed comments for urgency & to seek approval
Nov. 11 – PRS
  RTC NPRR1007-1013 - ERCOT filed comments for urgency & to seek approval
  BESTF NPRR1014 (single model) and NPRR1029 (DC Coupled) – ERCOT will file comments for urgency & seek approval.
Nov. 17 – CWG
  CWG to complete RTC NPRR review and file comments on Credit assessment
Nov. 18 – TAC
  Approve RTCTF 7 RTC NPRRs and RTC NOGRR211
  Approve RTC OBDRR020 (with urgency) - Dave Maggio explanation
  Approve BESTF NPRR1014 and NPRR1029
Dec. 8 – ERCOT Board
  Approve items from TAC

## Slide 9: RTCTF status
RTCTF Charter approved by TAC in 2019:
  Phase 1: Develop RTC Principles (2019)
  Phase 2: Develop RTC Revision Requests (2020)
With the task force wrapping up its Phase 2 efforts, there is recognition that additional engagement is needed with stakeholders in terms of policy details and implementation/readiness work related to Real-Time Co-optimization (RTC).
After discussion with RTCTF stakeholders at the last meeting, there was consensus that the next two slides reflect a list of issues for future TAC consideration after the RTC Revision Requests are approved.

## Slide 10: RTCTF items for future consideration
POLICY - Open policy discussion items:
  Parameters for Ancillary Service proxy offers
  Ancillary Service Demand Curves (ASDCs) for use in Reliability Unit Commitment (RUC) studies
  Any needed discussion on triggers for initiating off-cycle Security-Constrained Economic Dispatch (SCED) executions
    Largely driven by ERCOT Operator desk procedures and discretion today
  Consideration of NPRR for allowing real-time updates to offers in current Real-Time Market and future with RTC.
ANALYSIS - Requested analysis going forward:
  Framework for periodic analysis comparing RTC and the current Operating Reserve Demand Curve (ORDC) design – Key Principle 1.1(8)

## Slide 11: RTCTF items for future consideration (continued)
SUPPORTING DETAILS - Other documentation that may need review:
  Verifiable Cost Manual (Change for on-line hydro Resources per Key Principle 1.3(3))
  Additional review of transmission constraint max. shadow price values
  Operation Procedures (e.g., removing SASM and HASL/LASL)
  Business Practice Manuals (e.g., changes to COP and telemetry)
MARKET PARTICIPANT NEEDS - Market needs for the transition and implementation:
  Mapping of bill determinants to extracts and reporting for developing shadow settlement
  Changes to Inter-Control Center Communications Protocol (ICCP) handbook, and documentation for non-ICCP market submissions
  Market trials/training/annual seminar engagement
  Any details MPs need for designing their control systems

## Slide 12: Next Steps
TAC should be prepared to vote on RTC and two BES Revision Requests at its next meeting on Nov 18th:
  Approve RTCTF 7 NPRRs and NOGRR211
  Approve RTCTF OBDRR020
  Approve BESTF NPRR1014 and NPRR1029
ERCOT is available for any questions, DMaggio@ercot.com & MMereness@ercot.com
In the meantime, TAC can consider the work that needs to continue and which stakeholder processes should be leveraged after RTCTF in 2021.
Any comments or questions?

## Slide 13: Appendix
RTCRR Review Process
Dates of Consensus Items
Overall RTC Delivery Schedule

## Slide 14: RTCRR Review Process
7-days prior #1
ERCOT posts agenda and RTCRRs to be reviewed
7-days prior #2
MP comments and redlines due and posted to address concerns or alternatives
During meeting, MPs discuss any concerns or alternatives
7-days prior #3
MPs must document concerns and alternative language prior to meeting, and be prepared to discuss.
7-days prior #3
Non-consensus materials posted for options on language to be considered.
Meeting #1 Meeting #2 Meeting #3
TAC will be updated monthly. If irresolvable issues occur at RTCTF, the RTCTF Chair can request TAC endorsement to resolve.
2-days prior #2
ERCOT responds to MP comments with redlines
Consensus Items Tracked in Spreadsheet as Complete
Resolved Items Tracked in Spreadsheet as Complete
ERCOT will file cumulative RTCRR comments reflecting when consensus on sections achieved. (Also tracked in summary spreadsheet)

## Slide 15: RTC Review Process (continued)
At the May 2020 TAC meeting there was no opposition to the following process (if needed) to potentially modify RTCRRs beyond the scope of the RTC KPs if a market design flaw or error was discovered following Board approval of the RTC KPs:
  The modification complies with PUC directives;
  The modification will not incur additional RTC project costs or schedule delays; and
  The modification will not delay timely implementation of RTCRRs (i.e., will not prevent the Board from considering the NPRR at the December 8, 2020 Board meeting).
Next slide describes the review and escalation process from RTCTF to TAC

## Slide 16: RTC Review Process (continued)
Proposed process for modifying RTCRRs beyond scope of Board-approved KPs:
  A Market Participant has the right to express concerns with a RTCRR.
    A Market Participant may file comments to modify a RTCRR beyond the scope of the Board-approved KPs.
    In comments to modify an RTCRR, the submitting party shall explain how the revisions meet the criteria proposed on the previous slide.
  RTCTF will provide:
    The technical forum (e.g., an extra off-cycle meeting) for discussion of the proposed RTCRR changes with the understanding that RTCTF consensus is not practical and will not occur.
  At TAC:
    RTCTF Chair will advise TAC leadership of any RTCRR Comments that propose to modify the scope of the KPs beyond that which was approved by the Board, and
    Request time for the MP to present to TAC for consideration, as well as another MP to present the counterpoints (if any) as to why the existing KP should continue to be maintained and aligned with RTCRRs.
    TAC may take a straw poll to endorse the proposed NPRR comments; the vote would not be binding and therefore non-appealable, but would classify the modified/added concept as valid.
  If TAC endorses the alternative, the RTCTF Chair would update the Board of the straw poll decision.
  The RTCRR comments would subsequently be considered at PRS, TAC, and ultimately the ERCOT Board as consistent with Protocols Section 21 process.

## Slide 17: Dates of Consensus Items
4/30/2020 RTCTF Consensus:
  SWCAP/VOLL - OBDRR020 (Sections 2 and 4)
  AS Proxy Offers and General SCED – NPRR1010 (6.4.9.1.1)
  Reliability Deployment Pricing Run - NPRR1010 (6.5.7.3.1)
  COP Changes - NPRR1007 (3.9, 3.9.1, and 3.9.2)
  RUC General Update - NPRR1009 (5.1, 5.2.2.1, 5.2.2.2, 5.3, 5.4, 5.4.1, and 5.5.2)
5/20/2020 RTCTF Consensus:
  SWCAP/VOLL- NPRR1008 (4.4.11 and 4.4.11.1)
  ASDC Creation- NPRR1008 (4.4.12)
  AS Proxy Offers and General SCED- NPRR1010 (6.5.7.3)
  Market Restart- NPRR1013 (25.3)
  SASM Removal- NPRR1008 (4.5.2) & NPRR1010 (6.4.9, 6.4.9.1.3, 6.4.9.2, 6.4.9.2.1, 6.4.9.2.2, and 6.4.9.2.3)
  DAM General Update- OBDRR020 (Appendix 1)

## Slide 18: Dates of Consensus Items (continued)
6/10/2020 RTCTF Consensus (37 items):
  DAM – AS Only Offer Material (Round 3)
    NPRR1008 (4.3, 4.4.7.2, 4.4.7.2.1, 4.4.7.2.2, 4.4.7.2.3, 4.4.7.2.4, and 4.5.3)
  RTM - Telemetry and RLC (Round 3)
    NPRR1010 (6.4.6, 6.5.5.2, 6.5.7.1.12, 6.5.7.1.13, and 6.5.7.2)
  DAM General Update (Round 3)
    NPRR1008 (4.1, 4.2.1.2, 4.4.7.1, 4.4.7.1.1, 4.4.7.3, 4.4.8, 4.4.9.3.1, 4.4.9.3.3, 4.4.9.4.1, 4.4.9.5.1, and 4.5.1)
  Credit (Round 2)
    NPRR1013 (16.11.4.1, 16.11.4.3.2)
  DAM Credit/Settlement (Round 2)
    NPRR1008 (4.4.10, 4.6.2.3.1, 4.6.4.1.1, 4.6.4.1.2, 4.6.4.1.3, 4.6.4.1.4, 4.6.4.1.5, 4.6.4.2.1, 4.6.4.2.2, 4.6.4.2.3, 4.6.4.2.4, 4.6.4.2.5)

## Slide 19: Dates of Consensus Items (continued)
6/29/2020 RTCTF Consensus (34 items):
  DAM General Update (Round 3)
    NPRR1008 (4.4.7.3)
  RUC Settlement (Round 3)
    NPRR1009 (5.6.2, 5.7.1.3, 5.7.1.4, 5.7.4.1.1)
  RTM - AS Deployment (Round 2)
    NPRR1007 (3.16, 3.17.1, 3.18)
  RTM - General Update (Round 2)
    NOGRR211 (2.1, 2.2.4, 2.2.4.2)
    NPRR1013 (1.3.1.4, 1.3.3)
    NPRR1007 (3.6.1, 3.8.1, 3.8.2, 3.8.3, 3.14.4.1)
    NPRR1008 (4.4.4, 4.4.7.4)
    NPRR1010 (6.1, 6.3, 6.3.1, 6.3.2, 6.4.7.1, 6.5.1.1, 6.5.1.2, 6.5.7, 6.5.9.2, 6.5.9.3.3, 6.5.9.3.4, 6.5.9.4)
    NPRR1011 (8.1.1.1, 8.1.1.2)

## Slide 20: Dates of Consensus Items (continued)
7/22/2020 RTCTF Consensus (46 items):
  RTM - AS Deployment (Round 3)
    NPRR1010 (6.5.7.4.1, 6.5.7.6.1, 6.5.7.6.2, 6.5.7.6.2.1, 6.5.7.6.2.2, 6.5.7.6.2.3, 6.5.7.6.2.4, 6.5.9.4.2)
  RTM – General Update (Round 3)
    NPRR1010 (6.4.9.1.2)
  RTM Settlement (Round 2)
    NPRR1007 (3.5.2.1, 3.5.2.2, 3.5.2.3, 3.5.2.4, 3.5.2.5, 3.5.2.6, 3.5.2.7)
    NPRR1010 (6.6.1, 6.6.1.1, 6.6.1.2, 6.6.1.6, 6.6.1.7, 6.6.3.1, 6.6.3.7, 6.6.3.9, 6.6.5.1, 6.6.5.1.1.3, 6.6.5.1.1.4, 6.6.5.2, 6.6.5.2.1, 6.6.5.3, 6.6.5.3.1, 6.6.5.4, 6.6.5.5, 6.6.5.5.1, 6.6.5.6, 6.6.12.1, 6.7.1, 6.7.2, 6.7.2.1, 6.7.2.2, 6.7.3, 6.7.4)
    NPRR1012 (9.5.3, 9.19.1)
  Additional Comments for Renaming of Base Point Deviation (Round 1)
    NPRR1007 (3.8.3) - Initial consensus on 6/29/20
    NPRR1011 (8.1.1.1) - Initial consensus on 6/29/20

## Slide 21: Dates of Consensus Items (continued)
8/12/2020 RTCTF Consensus (27 items):
  RTM - AS Deployment and AS Qualification
    NOGRR211 (2.3, 2.3.1.2, 2.3.2.1, 2.3.3.1)
    NPRR1011 (8.1.1.2.1, 8.1.1.2.1.1, 8.1.1.2.1.2, 8.1.1.2.1.3, 8.1.1.2.1.6)
  Additional Comments to 6.5.5.2 - Regarding Non-Spin from On-line Generator using Power Augmentation
    NPRR1010 (6.5.5.2) - Initial consensus on 5/20/20
  Additional Comments to 6.5.7.4.1 Regarding FFR Deployment in UDSP
    NPRR1010 (6.5.7.4.1) - Initial consensus on 7/22/20
  RTM Settlement
    NPRR1010 (6.7.5, 6.7.5.1, 6.7.5.2, 6.7.5.3, 6.7.5.4, 6.7.5.5, 6.7.5.6, 6.7.5.7, 6.7.5.8, 6.7.6, 6.7.7)
  Emergency Settlement – Non-SCED Failure scenarios
    NPRR1010 (6.6.9)
  Legal/Market Rules Clarifications
    NPRR1010 (6.4.9.1.2, 6.5.7.3, 6.5.7.6.1, 6.7.4)

## Slide 22: Dates of Consensus Items (continued)
9/9/2020 RTCTF Consensus (17 items):
  Settlement Sections Affected by Changes in Naming Convention or Missed Items
    NPRR1010 (6.6.6.3, 6.6.6.10, 6.7.5.2, 6.7.5.7)
  Settlement Formula Clarification for Previously Reviewed Section
    NPRR1010 (6.6.9.1)
  RTM Offers
    NPRR1010 (6.4.2.3, 6.4.3.1, 6.4.3.1.1, 6.4.4, 6.4.4.1, 6.4.4.2, 6.4.5, 6.4.7, 6.4.9.1)
  Reporting Items
    NPRR1013 (1.3.1.1)
    NPRR1008 (4.2.1.1)
    NPRR1009 (5.8)

## Slide 23: Dates of Consensus Items (continued)
9/28/2020 RTCTF Consensus (11 items):
  Offers for RMR/Contract for Capacity Resources in Sections with Consensus
    NPRR1008 (4.4.8, 4.4.9.3.3, 4.4.9.4.1)
  Minor Language Clean-Up: Settlements
    NPRR1008 (4.4.7.1)
    NPRR1010 (6.7.6)
  Reporting Items
    NPRR1007 (3.2.3, 3.2.5, 3.10.7.2.1)
    NPRR1010 (6.5.7.5)
    NPRR1010 (6.3.2)
  AS Performance Monitoring
    NOGRR211 (9.1.10)

## Slide 24: Dates of Consensus Items (continued)
10/21/2020 RTCTF Consensus (31 items):
  AS Performance Monitoring
    NPRR1011 (8.1.1.3, 8.1.1.3.1, 8.1.1.3.2, 8.1.1.3.3, 8.1.1.3.4, 8.1.1.4.1, 8.1.1.4.2, 8.1.1.4.3, 8.1.1.4.4, 8.1.2, 8.5.1.1)
  Definitions, Acronyms, Alignment
    NPRR1013 (2.1, 2.2)
  Minor Language Clean-Up For Sections That Have Consensus - New Grey-Box Language and Legal Review
    NPRR1007 (3.2.3, 3.2.5, 3.8.2)
    NPRR1008 (4.1.2, 4.2.1.1, 4.2.1.2, 4.4.7.1, 4.4.9.4.1, 4.4.10)
    NPRR1009 (5.5.2)
    NPRR1010 (6.3.1, 6.3.2, 6.4.9.1.1, 6.5.7, 6.5.7.3, 6.5.9.2, 6.6.1.6)
    OBDRR020 (2, Appendix 2.2)

## Slide 25: Overall RTC Delivery Schedule
Draft Timeline
There are several items/policies, beyond RTCRRs, that must be addressed prior to the implementation of RTC—e.g.:
  Proxy Offer Curves;
  RUC AS Demand Curves;
  Transitional language for RTC go-live (if any);
  ORDC/RTC results comparison; and
  Target dates for MP detailed requirements (e.g., SCADA changes, XML changes, Market Trials plans).