## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2020

## Slide 2: Non-IRR GREDP < 85% – September 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 122 | 5,573 | 6,739 | 10.52 | 82.70
Unit 317 | 3 | 5 | 0.69 | 60.00
Unit 318 | 2 | 3 | 0.54 | 66.67
Unit 319 | 2 | 3 | 0.50 | 66.67

## Slide 3: IRR Summary – September 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 84.83 | 69.25 | 80.01
GREDP Median (%) | 96.25 | 78.15 | 85.93
Average MW Error | 3.29 | 3.43 | 3.84
Median MW Error | 3.04 | 2.77 | 3.59
Total Intervals Scored | 31,140 | 11,998 | 10,474
100+ Intervals Scored | 53 | 187 | 25
Total Intervals Scored Average | 129.21 | 176.44 | 418.96

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,066 | 2,104 | 4.28 | 98.19
Unit 2 | 1,951 | 1,955 | 3.36 | 99.80
Unit 4 | 1,500 | 1,505 | 3.14 | 99.67
Unit 5 | 1,418 | 1,421 | 7.33 | 99.79
Unit 7 | 1,290 | 1,306 | 2.17 | 98.77
Unit 8 | 1,053 | 1,059 | 3.75 | 99.43
Unit 9 | 872 | 890 | 3.92 | 97.98
Unit 12 | 769 | 770 | 2.45 | 99.87
Unit 14 | 683 | 685 | 3.07 | 99.71
Unit 16 | 515 | 528 | 4.63 | 97.54
Unit 17 | 499 | 523 | 2.86 | 95.41
Unit 18 | 460 | 480 | 2.35 | 95.83
Unit 19 | 479 | 479 | 2.80 | 100.00
Unit 20 | 472 | 472 | 3.28 | 100.00
Unit 21 | 446 | 455 | 2.85 | 98.02
Unit 23 | 419 | 424 | 3.40 | 98.82
Unit 24 | 422 | 422 | 1.00 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 27 | 329 | 329 | 3.40 | 100.00
Unit 29 | 317 | 317 | 2.19 | 100.00
Unit 31 | 283 | 285 | 4.26 | 99.30
Unit 32 | 282 | 285 | 2.38 | 98.95
Unit 33 | 263 | 265 | 3.43 | 99.25
Unit 36 | 257 | 257 | 2.36 | 100.00
Unit 39 | 185 | 185 | 3.24 | 100.00
Unit 43 | 157 | 159 | 2.65 | 98.74
Unit 44 | 153 | 158 | 2.49 | 96.84
Unit 47 | 139 | 140 | 1.42 | 99.29
Unit 50 | 118 | 118 | 3.53 | 100.00

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,320 | 1,830 | 3.34 | 72.13
Unit 6 | 854 | 1,347 | 4.08 | 63.40
Unit 10 | 827 | 879 | 4.51 | 94.08
Unit 11 | 212 | 868 | 10.77 | 24.42
Unit 13 | 596 | 741 | 0.91 | 80.43
Unit 15 | 495 | 644 | 3.82 | 76.86
Unit 22 | 403 | 430 | 1.95 | 93.72
Unit 25 | 83 | 377 | 4.20 | 22.02
Unit 26 | 313 | 361 | 5.93 | 86.70
Unit 28 | 276 | 328 | 7.32 | 84.15
Unit 30 | 285 | 309 | 6.63 | 92.23
Unit 34 | 251 | 265 | 2.57 | 94.72
Unit 35 | 226 | 263 | 1.42 | 85.93
Unit 37 | 201 | 246 | 6.54 | 81.71
Unit 38 | 192 | 215 | 1.27 | 89.30
Unit 40 | 139 | 174 | 1.52 | 79.89
Unit 41 | 163 | 172 | 2.33 | 94.77

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 42 | 138 | 166 | 5.36 | 83.13
Unit 45 | 136 | 147 | 2.04 | 92.52
Unit 46 | 125 | 141 | 1.86 | 88.65
Unit 48 | 91 | 124 | 3.59 | 73.39
Unit 49 | 112 | 120 | 2.72 | 93.33
Unit 51 | 98 | 113 | 4.56 | 86.73
Unit 52 | 98 | 108 | 2.38 | 92.36
Unit 53 | 78 | 106 | 4.28 | 73.58