## Slide 1
Item 4: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 28, 2020

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1028, RUC Process Alignment with Resource Limitations Not Modeled in the RUC Software [Reliant]*
NPRR1041, Adjust Expiration of Protected Information Status for Wholesale Storage Load (WSL) Data [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1031, Notices for Curtailment of Load [DC Energy]
  IA: Less than $5k O&M Priority N/A; Rank N/A
NPRR1032, Consideration of Physical Limits of DC Ties in RUC Optimization and Settlements [ERCOT]
  IA: Between $100k and $150k Priority 2021; Rank 3260
SCR812, Create Intermittent Renewable Generation Integration Report [ERCOT]
  IA: Between $30k and $60k Priority 2020; Rank 3250

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR945, Net Metering Requirements [TIEC]
  IA: Between $10k and $20k Priority 2021; Rank 3270

## Slide 5: Appendix

## Slide 6: NPRR945, Net Metering Requirements [TIEC]
Proposed Effective Date: Upon system implementation (Priority 2021; Rank 3270) for paragraph (7) of Section 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters; January 1, 2021 for all remaining language
ERCOT Impact Analysis: Between $10k - $20k; no impacts to ERCOT staffing; impacts to Resource Integration and External Public; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes a subjective and ambiguous term, “associated Load,” that has been interpreted in certain instances to restrict private service arrangements that are otherwise authorized under the Public Utility Regulatory Act (PURA) and Public Utility Commission of Texas (PUCT) precedent. Removing this term will provide regulatory certainty for both existing and planned sites by deferring to PURA and PUCT precedent, avoiding potentially inconsistent interpretations of the Protocols. The NPRR also adds language to paragraph (2) of Section 10.3.2.3 to explicitly state that private service arrangements must comply with PURA and PUCT precedent, in addition to meeting the technical metering requirements in the Protocols. Finally, the NPRR creates a new reporting requirement that will identify all Generation Resources and Settlement Only Generators (SOGs) that are registered as part of a Private Use Network to improve transparency to the market.
PRS Decision: On 9/10/20, PRS voted via roll call to recommend approval of NPRR945 as amended by the 9/9/20 Reliant comments. There was one opposing vote from the Cooperative (GSEC) Market Segment, and seven abstentions from the Cooperative (2) (Brazos, STEC), Independent Generator (3) (Luminant, Calpine, Key Capture Energy), Independent Power Marketer (IPM) (Morgan Stanley), and Independent Retail Electric Provider (IREP) (Direct Energy) Market Segments. On 10/15/20, PRS voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report, as revised by PRS, and Impact Analysis for NPRR945 with a recommended effective date of upon system implementation for paragraph (7) of Section 10.3.2.3 with a recommended priority of 2021 and rank of 3270; and January 1, 2021 for all remaining language. There were three opposing votes from the Cooperative (2) (Brazos, GSEC) and Independent Generator (Luminant) Market Segments, and four abstentions from the Cooperative (2) (Pedernales, STEC), Independent Generator (Calpine), and IPM (Morgan Stanley) Market Segments.

## Slide 7: NPRR1028, RUC Process Alignment with Resource Limitations Not Modeled in the RUC Software [Reliant]
Proposed Effective Date: January 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR establishes a requirement for Qualified Scheduling Entities (QSEs) to notify ERCOT of physical limitations on their Resources’ ability to start that are not able to be modeled in the Reliability Unit Commitment (RUC) software and excuses compliance with portions of RUC Dispatch Instructions that violate physical limitations of Resources if the QSE has previously notified ERCOT of the limitation. The NPRR also establishes a requirement that ERCOT extend a RUC commitment in order to honor the minimum run-time limitation of a Resource when a physical limitation delays the Resource’s ability to reach its Low Sustained Limit (LSL).
PRS Decision: On 9/10/20, PRS voted via roll call to recommend approval of NPRR1028 as amended by the 9/8/20 Luminant comments as revised by PRS. There was one abstention from the Consumer (OPUC) Market Segment. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report as amended by the 10/6/20 ERCOT comments and Impact Analysis for NPRR1028.

## Slide 8: NPRR1031, Notices for Curtailment of Load [DC Energy]
Proposed Effective Date: Upon project implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR requires ERCOT to post operations messages to inform Market Participants when Load curtailments are undertaken as a result of a transmission problem.
PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1031 as amended by the 8/28/20 DC Energy comments as revised by PRS. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1031.

## Slide 9: NPRR1032, Consideration of Physical Limits of DC Ties in RUC Optimization and Settlements [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3260
ERCOT Impact Analysis: Between $100k - $150k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Settlements & Billing (S&B), Data and Information Products (DAIP), and Integration; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR limits the Direct Current Tie (DC Tie) Schedules used in RUC optimization and RUC Settlements to the physical rating of the DC Tie.
PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1032 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1032 with a recommended priority of 2021 and rank of 3260.

## Slide 10: NPRR1041, Adjust Expiration of Protected Information Status for Wholesale Storage Load (WSL) Data [ERCOT]
Proposed Effective Date: January 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adjusts the expiration of the Protected Information status for Wholesale Storage Load (WSL) data from 180 days to 60 days to align with the requirement to disclose real power consumption and metered generation output 60 days after each Operating Day.
PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1041 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1041.

## Slide 11: SCR812, Create Intermittent Renewable Generation Integration Report [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3250
ERCOT Impact Analysis: Between $30k and $60k; no impacts to ERCOT staffing; impacts to DAIP, BI & Data Analytics, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR creates the new Intermittent Renewable Generation Integration Report, similar to the current integration reports for wind power and solar power production.
PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of SCR812 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for SCR812 with a recommended priority of 2021 and rank of 3250.

## Slide 12: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/29 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR943 EMIL Web Interface NPRR863 FFR NPRR960 NOGRR187 OBDRR011 | SCR802 NPRR928 NPRR929 NPRR978(a) NPRR988 NPRR953 | NPRR856 NPRR884 OBDRR006 SCR803 NPRR887 NPRR907 NPRR985 RMGRR163 NPRR837 NPRR930(a) NPRR933 RRGRR021 | NPRR935(a) NPRR951 NPRR977 NPRR955 NOGRR183 SCR781(a) RRGRR016 RRGRR019 | MIS Go-Live SCR804 RIOO R2 MMS/OS Refresh | SCR806
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
E
E
E
R1
R2
R3
R4
R5
R6
3/1
NPRR930(a) – O&M portion
NPRR935(a) – Sections 4.2.2 (1) (6), 4.2.5
NPRR935(b) – Sections 2.1, 2.2, 4.2.3
NPRR978(a) – Initial report decommissions
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
ü
ü
ü
November / December
Off-Cycle
1/1
P
1/19
E
ü
ü
ü
CMM Release 2a
1/30
8/1
November
RIOO – 9/3
RARF Go-Live - View/Update
ü
ü
ü
ü
ü
ü
ü
ü
ü
5/1
ü
7/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
10/1
ü
ü

## Slide 13: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February TBD | April TBD | May TBD | August TBD | October TBD | December TBD
NPRR902 NPRR978 | NPRR905 NPRR971 NPRR986 | NPRR829 NPRR904 NPRR930 NPRR962 NPRR974 NPRR998 NPRR1019 OBDRR009 |  | SCR781(b) | FFR Advancement (NPRR863 FFR) NPRR863 ECRS
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
SCR781(b) – “Add” capability
TBD Items | 2017 | 2018 | 2019 / 2020 / 2021
 | NPRR702 | NPRR825(b), NPRR867, NPRR841 | RRs: 826, 857, 879, 885, 918, 935(b), 936, 939, 941, 965, 1020, 1030, PGRR066, SCR799, SCR800, SCR805
P
P
I
I
I
NS
NS
I
I
E
E
E
On Hold
2024 Go-Lives
RIOO – Q4 2021
RARF Add Functionality Go-Live
TBD Go-Live
E