Date:	October 28, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCR recommended for approval by PRS: - NPRR945, Net Metering Requirements [TIEC] - NPRR1028, RUC Process Alignment with Resource Limits [Reliant] - NPRR1031 , Notices for Curtailment of Load [DC Energy] - NPRR1032, Consideration of Physical Limits of DC Ties in RUC Optimization and Settlements [ERCOT] - NPRR1041, Adjust Expiration of Protected Information Status for Wholesale Storage Load (WSL) Data [ERCOT] - SCR812, Create Intermittent Renewable Generation Integration Report [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR945, Net Metering Requirements [TIEC] Proposed Effective Date: Upon system implementation (Priority 2021; Rank 3270) for paragraph (7) of Section 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters; January 1, 2021 for all remaining language ERCOT Impact Analysis: Between $10k - $20k; no impacts to ERCOT staffing; impacts to Resource Integration and External Public; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes a subjective and ambiguous term, “associated Load,” that has been interpreted in certain instances to restrict private service arrangements that are otherwise authorized under the Public Utility Regulatory Act (PURA) and Public Utility Commission of Texas (PUCT) precedent. Removing this term will provide regulatory certainty for both existing and planned sites by deferring to PURA and PUCT precedent, avoiding potentially inconsistent interpretations of the Protocols. The NPRR also adds language to paragraph (2) of Section 10.3.2.3 to explicitly state that private service arrangements must comply with PURA and PUCT precedent, in addition to meeting the technical metering requirements in the Protocols. Finally, the NPRR creates a new reporting requirement that will identify all Generation Resources and Settlement Only Generators (SOGs) that are registered as part of a Private Use Network to improve transparency to the market. PRS Decision: On 9/10/20, PRS voted via roll call to recommend approval of NPRR945 as amended by the 9/9/20 Reliant comments. There was one opposing vote from the Cooperative (GSEC) Market Segment, and seven abstentions from the Cooperative (2) (Brazos, STEC), Independent Generator (3) (Luminant, Calpine, Key Capture Energy), Independent Power Marketer (IPM) (Morgan Stanley), and Independent Retail Electric Provider (IREP) (Direct Energy) Market Segments. On 10/15/20, PRS voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report, as revised by PRS, and Impact Analysis for NPRR945 with a recommended effective date of upon system implementation for paragraph (7) of Section 10.3.2.3 with a recommended priority of 2021 and rank of 3270; and January 1, 2021 for all remaining language. There were three opposing votes from the Cooperative (2) (Brazos, GSEC) and Independent Generator (Luminant) Market Segments, and four abstentions from the Cooperative (2) (Pedernales, STEC), Independent Generator (Calpine), and IPM (Morgan Stanley) Market Segments. - NPRR1028, RUC Process Alignment with Resource Limitations Not Modeled in the RUC Software [Reliant] Proposed Effective Date: January 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR establishes a requirement for Qualified Scheduling Entities (QSEs) to notify ERCOT of physical limitations on their Resources’ ability to start that are not able to be modeled in the Reliability Unit Commitment (RUC) software and excuses compliance with portions of RUC Dispatch Instructions that violate physical limitations of Resources if the QSE has previously notified ERCOT of the limitation. The NPRR also establishes a requirement that ERCOT extend a RUC commitment in order to honor the minimum run-time limitation of a Resource when a physical limitation delays the Resource’s ability to reach its Low Sustained Limit (LSL). PRS Decision: On 9/10/20, PRS voted via roll call to recommend approval of NPRR1028 as amended by the 9/8/20 Luminant comments as revised by PRS. There was one abstention from the Consumer (OPUC) Market Segment. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report as amended by the 10/6/20 ERCOT comments and Impact Analysis for NPRR1028. - NPRR1031, Notices for Curtailment of Load [DC Energy] Proposed Effective Date: Upon project implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR requires ERCOT to post operations messages to inform Market Participants when Load curtailments are undertaken as a result of a transmission problem. PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1031 as amended by the 8/28/20 DC Energy comments as revised by PRS. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1031. - NPRR1032, Consideration of Physical Limits of DC Ties in RUC Optimization and Settlements [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3260 ERCOT Impact Analysis: Between $100k - $150k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Settlements & Billing (S&B), Data and Information Products (DAIP), and Integration; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR limits the Direct Current Tie (DC Tie) Schedules used in RUC optimization and RUC Settlements to the physical rating of the DC Tie. PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1032 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1032 with a recommended priority of 2021 and rank of 3260. - NPRR1041, Adjust Expiration of Protected Information Status for Wholesale Storage Load (WSL) Data [ERCOT] Proposed Effective Date: January 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adjusts the expiration of the Protected Information status for Wholesale Storage Load (WSL) data from 180 days to 60 days to align with the requirement to disclose real power consumption and metered generation output 60 days after each Operating Day. PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1041 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for NPRR1041. - SCR812, Create Intermittent Renewable Generation Integration Report [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3250 ERCOT Impact Analysis: Between $30k and $60k; no impacts to ERCOT staffing; impacts to DAIP, BI & Data Analytics, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR creates the new Intermittent Renewable Generation Integration Report, similar to the current integration reports for wind power and solar power production. PRS Decision: On 9/10/20, PRS unanimously voted via roll call to recommend approval of SCR812 as submitted. On 10/15/20, PRS unanimously voted via roll call to endorse and forward to TAC the 9/10/20 PRS Report and Impact Analysis for SCR812 with a recommended priority of 2021 and rank of 3250. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] - NPRR1026, BESTF-7 Self-Limiting Facilities [ERCOT] - NPRR1039, Replace the Term MIS Public Area with ERCOT Website [ERCOT] - NPRR1042, Planned Capacity Adjustment in the Report on Capacity, Demand and Reserves in the ERCOT Region [Reliant] - NPRR1043, Clarification of NPRR986 Language Related to Wholesale Storage Load [ERCOT] - NPRR1046, Additional Revisions to Remove Dynamically Scheduled Resource (DSR) from the Protocols [ERCOT] - NPRR1047, Consolidate Greybox re NPRR973 and NPRR1016 [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System [ERCOT] - NPRR1008, RTC – NP 4: Day-Ahead Operations [ERCOT] - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment [ERCOT] - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations [ERCOT] - NPRR1011, RTC – NP 8: Performance Monitoring [ERCOT] - NPRR1012, RTC – NP 9: Settlement and Billing [ERCOT] - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart [ERCOT] - NPRR1014, BESTF-4 Energy Storage Resource Single Model [ERCOT] - NPRR1017, Management of Congestion Revenue Rights (CRRs) and Resource Node Removals [ERCOT] - NPRR1023, Change to CRR Repossession Process [ERCOT] - NPRR1024, Determination of Significance with Respect to Price Correction [ERCOT] - NPRR1029, BESTF-6 DC-Coupled Resources [ERCOT] - NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports [Southern Cross] - NPRR1040, Compliance Metrics for Ancillary Service Supply Responsibility [LCRA, STEC, and Reliant] - NPRR1044, Enhancement of SSR Mitigation Requirement [ERCOT] - NPRR1045, Transmission Operator Definition and Designation [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1048, Clarification on NPRR978 Short-Term Adequacy Reports [ERCOT] - NPRR1049, Management of DC Tie Load Zone Modifications [ERCOT] - NPRR1050, Change to the Summer Commercial Operations Date Deadline for Including Planned Generation Capacity in Reports on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr