## Slide 1: MWG Update to WMS
November 4, 2020
Presented by: Gabriel Godinez
MWG Chair

## Slide 2: ERCOT Analysis of Line Loss Data
ERCOT provided review of line loss compensation using facility maximum energy rating instead of meter class amps, presented as a spreadsheet comparison.
General consensus reached on discretionary values in calculation, such as 10% buffer for max energy rating and 0.95 power factor.
Idea is to submit spreadsheet with design proposals as proof that line loss will not be required.
Action Item: ERCOT will work on language for a potential NPRR/SMOGRR change based on % watt copper less than 0.001% as determined by site maximum energy.

## Slide 3: Design Proposal Section D and Instructions discussion
Box 40 was updated to remove normal load values and instead capture location that WSL will be calculated (Meter or Data Aggregation).
New language introduced to incorporate into Box 43 instructions (Description of performed or planned testing to support accuracy).
Action Item: ERCOT will post both final edited version from 10/20 meeting and a final draft version that incorporates all changes for both the design proposal and instructions. Everyone to review versions for discussion at the next meeting.

## Slide 4: SMOG required updates for NPRR 1020 discussion
Discussion and agreement reached on 4 seconds for minimum time requirement on frequency on sending calculated values to TDSP.
ERCOT confirmed that telemetry issues with data received from resource owners will also be shared with TDSPs via cc on email notifications.
Events in 6.5.4(1)(l)&(m) need to be finalized. ERCOT has not yet had testing from a TDSP that shows the events are recorded and reported when polled by MDAS.
Action Item: Tesla will check with TNMP regarding testing loss of and restoration of telemetry events reported to ERCOT MDAS.

## Slide 5: Upcoming Meeting
Next MWG WebEx scheduled for 11/18/20 @ 1:00 pm.