## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
11/05/2020

## Slide 2: NOGRR219 Related to NPRR1045 Transmission Operator Definition and Designation
  Tabled – Pending additional comments from ERCOT

## Slide 3: NOGRR215 – Limited Use of RAS
Joint meeting with CMWG was held on 11/2/2020
ERCOT restated their position and provided historical information in their presentation
Concerns were expressed by stakeholders
  Blanket approach
  Reliability concerns - trapped generation
  Historical data shows higher number of RAS’ without issues
ERCOT encouraged stakeholders to file comments
CMWG and OWG to meet again to discuss if additional comments are file.