## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
November 05, 2020
Amjed Kandah
2020 PGDTF Chair

## Slide 2: PGDTF Meeting – October 06,2020
PGDTF meeting was held on October 06, 2020.
PGDTF Scope Review:
  Incorporated TPL-007-4 changes.
NERC GMD Data Portal
  All GO and TO must confirm initial applicability by November 15, 2020 in the ERO registration application.
  All GO and TO are required to provide historical GMD data dating back to May 2013
Frequency to develop GIC models
  The standard requires models to be built at least once in 60 months.
  Consider using metrics to drive how often these models should be update
  Modifications to MOD to incorporate GIC information
  The initial GMD Vulnerability Assessment may identify necessary improvements to the GIC Model Building process and data.
  Identify GIC data maintained in current ERCOT processes
  Based on the discussion we did not have a conclusion on how often we need to update the model. The discussion will continue in future meetings.

## Slide 3: PGDTF Meeting – October 06,2020
Benchmark GMD Vulnerability Assessment
    DC tie losses incorporated to the case and one low voltage violation was found in the SUM case.
    No potential cascading for BES
Market Notice for Supplemental GMDVA Equipment Outages
  Send out on 10/9/2020. Deadline 12/31/2020

## Slide 4: Questions