## Slide 1: PLWG report to ROS November 5, 2020
Report based on PLWG October 19th, 2020
WebEx only meeting

## Slide 2: PGRR085 Dynamic Model Improvements
  PGRR085 intent is to ensure that the verified model reflects the field settings implemented during commissioning. The verified model is to be provided to ERCOT within 30 days of commissioning.
  PLWG was in consensus that this PGRR could move forward.

## Slide 3: PGRR086 Related to RRGRR027, Clarify Models Required to Proceed with an FIS
  PGRR086 intent is to ensure that the Resource Registration data required is provided when certain studies will be performed and not hold up the FIS process. RRGRR027 clarifies models required to proceed with FIS.
  A request was made of ERCOT to present a timeline to show how the proposal would impact RIOO RS.
  PLWG was in consensus that this PGRR could move forward in light of the Impact Analysis.

## Slide 4: PGRR087 Remedial Action Scheme Planning Assumptions
  PGRR087 codifies the current practice related to the transmission planning assumptions for RAS which is to not allow a RAS to be implemented to resolve a planning reliability performance criteria deficiency. The assumptions align with the proposed change in NOGRR215 Limit Use of Remedial Action Schemes.
  PLWG was in consensus that this PGRR could move forward.

## Slide 5: PGRR088 Include Financial Security Amount in the Monthly Generator Interconnection Status Report
  PGRR088 intent is to increase transparency of generation interconnection facility cost by including in the Monthly GIS Report the Financial Security amount associated with funding the interconnection facilities.
  There are concerns related to the duplication of information (ERCOT/PUCT) and the additional changes to RIOO to capture the information that is originally generated by the TSPs.
  To be discuss further at the next PLWG Meeting.

## Slide 6: DER Proposal for Including DER in Planning Models
  ERCOT presented proposals for a near-term and long-term plan for including DER information in Planning Models. Participants are encouraged to reach out to John Bernecker at ERCOT with comments and/or suggestions.
  The presentation is posted on the Oct 19th PLWG Meeting page on the ERCOT website.

## Slide 7: Presentations on topics from the Transmission Issues Related to Generation Constraints Workshop
  The topics presented and discussed at the PLWG Meeting:
  Presentation on NOGRR215 (Limit Use of RAS) and NPRR994 (Clarify Gen Interconnection Neutral Project Classification)
  Process Improvements and Inclusion of Additional Benefits to the Transmission Planning Process
  PUCT Transmission Buildout Guidelines
  Renewable Dispatch Assumptions
  The material presented is posted on the Oct 19th PLWG Meeting page on the ERCOT website. More to be presented and discussed at future PLWG Meetings.