## Slide 1
Downstream Production Change (DPC) Overview
Bill Blevins
ROS
Nov 5, 2020

## Slide 2: Downstream Production Change (DPC)
The DPC process allows ERCOT to make changes in the model currently being used in Production without loading a new model. The DPC is limited the data types listed below.

## Slide 3: Types of DPCs
Static Line ratings
Dynamic Line ratings
Impedance
Breaker and Switch status
Contingency Definitions
  For existing equipment
RAP, SMS and RAS changes or additions
  Minor edits only
Net Dependable and Reactive Capability (NDCRC) values
Relay Loadability update < 125% of the Emergency Rating
  New as we added relay limits.

## Slide 4: Required Documentation since Network Model go-live
Market Participants requesting changes to the model that are DPC-eligible should submit a NOMCR (or RARF) with the requested date and with comments in the description clearly requesting DPC consideration.

## Slide 5: DPC request form(new as of Nov 1 2020)

## Slide 6: DPC Trends
Data below is as of 6/9/2020