## Slide 1
NDSWG DGR
NPRR 1016 Implementation
Mario Alberto de la Garza
10/20/2020

## Slide 2: NDSWG DGR NPRR 1016 Implementation
Background
Current Modeling Example
NPRR 1016 - Expected DGR Implementation
NPRR 1016 - Expected DESR Implementation

## Slide 3: Background
Stuff
DGR
Transmission Network
Distribution Network
Currently

## Slide 4: Background, Con’t
Pros Current Approach:
  Can participate in ERCOT Market
Cons Current Approach:
  TSPs modeling distribution network adds complexity for the State Estimator
  Data quality of distribution networks is questionable (more complexity to the State Estimator)
  TSPs may not be able to provide telemetry on the distribution network (bad visibility)
  Hard for downstream systems to distinguish between GRs and DGRs

## Slide 5: Current Modeling Example
DESR* Operational One-line
*Only existing Distributed Generation type.
Transmission Network
Feeders
Line
Inverter
TSP Station
DESR Station
Inverter

## Slide 6: Modeling Example, Con’t
DESR* Simplified
Modeling
*Only existing Distributed Generation type.
Transmission Network
CIM Load
Line
TSP Station
DESR Station
Hydro Unit
CIM Load
ESR
CLR

## Slide 7: NPRR 1016 – Expected DGR Implementation
DGR
Unit EPS Meter
DGR_BKR
ResourceNode
Transmission Network
DGR
CIM Load where DGR is located at
DGR Equipment
DGR Equipment

## Slide 8: NPRR 1016 – Expected DESR Implementation
Unit EPS Meter
DGR_BKR
ResourceNode
Transmission Network
DGR
CIM Load where DGR is located at
DGR Equipment
DGR Equipment
CLR
ESR
CLR EPS Meter
DESR

## Slide 9: Q & A
QUESTIONS?