## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2020

## Slide 2: Non-IRR GREDP < 85% – October 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 311 | 73 | 86 | 2.55 | 84.88

## Slide 3: IRR Summary – October 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.54 | 76.06 | 82.61
GREDP Median (%) | 96.32 | 87.31 | 88.26
Average MW Error | 3.34 | 3.79 | 3.93
Median MW Error | 3.11 | 3.23 | 3.26
Total Intervals Scored | 106,993 | 44,437 | 43,466
100+ Intervals Scored | 107 | 146 | 54
Total Intervals Scored Average | 421.23 | 555.46 | 804.93

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,214 | 3,243 | 6.88 | 99.11
Unit 2 | 3,057 | 3,131 | 4.66 | 97.64
Unit 3 | 2,896 | 2,979 | 3.64 | 97.21
Unit 4 | 2,722 | 2,724 | 3.92 | 99.93
Unit 6 | 2,468 | 2,508 | 3.22 | 98.41
Unit 7 | 2,229 | 2,307 | 2.63 | 96.62
Unit 8 | 2,192 | 2,214 | 3.37 | 99.01
Unit 9 | 2,192 | 2,214 | 3.37 | 99.01
Unit 11 | 2,040 | 2,109 | 4.98 | 96.73
Unit 13 | 1,958 | 2,013 | 2.27 | 97.27
Unit 14 | 1,997 | 2,006 | 2.13 | 99.55
Unit 15 | 1,955 | 2,003 | 2.93 | 97.60
Unit 16 | 1,977 | 1,986 | 3.15 | 99.55
Unit 17 | 1,905 | 1,936 | 2.17 | 98.40
Unit 19 | 1,755 | 1,793 | 2.65 | 97.88
Unit 20 | 1,695 | 1,712 | 3.53 | 99.01
Unit 22 | 1,557 | 1,618 | 3.04 | 96.23

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 23 | 1,579 | 1,605 | 3.11 | 98.38
Unit 31 | 1,311 | 1,366 | 4.04 | 95.97
Unit 34 | 1,288 | 1,298 | 2.82 | 99.23
Unit 35 | 1,263 | 1,297 | 3.53 | 97.38
Unit 37 | 1,276 | 1,285 | 2.83 | 99.30
Unit 38 | 1,204 | 1,253 | 3.01 | 96.09
Unit 39 | 1,194 | 1,251 | 2.57 | 95.44
Unit 40 | 1,111 | 1,143 | 5.13 | 97.20
Unit 43 | 1,013 | 1,036 | 4.01 | 97.78
Unit 46 | 988 | 988 | 0.10 | 100.00
Unit 47 | 954 | 979 | 1.77 | 97.45
Unit 49 | 879 | 897 | 3.11 | 97.99
Unit 50 | 868 | 876 | 2.72 | 99.09
Unit 52 | 835 | 853 | 1.54 | 97.89
Unit 53 | 785 | 787 | 2.55 | 99.75
Unit 59 | 614 | 642 | 2.81 | 95.64
Unit 61 | 616 | 621 | 1.18 | 99.19

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 568 | 572 | 4.81 | 99.30
Unit 65 | 524 | 532 | 2.31 | 98.50
Unit 67 | 489 | 500 | 4.25 | 97.80
Unit 76 | 376 | 379 | 5.34 | 99.21
Unit 81 | 302 | 311 | 3.84 | 97.11
Unit 82 | 304 | 304 | 1.97 | 100.00
Unit 83 | 296 | 296 | 2.56 | 100.00
Unit 85 | 242 | 251 | 2.36 | 96.41
Unit 90 | 208 | 209 | 2.44 | 99.52
Unit 91 | 189 | 193 | 4.94 | 97.93
Unit 96 | 183 | 183 | 2.44 | 100.00
Unit 97 | 174 | 177 | 2.22 | 98.31
Unit 98 | 153 | 154 | 4.14 | 99.35
Unit 100 | 143 | 148 | 2.32 | 96.62
Unit 102 | 116 | 122 | 1.62 | 95.08
Unit 103 | 120 | 120 | 3.85 | 100.00
Unit 104 | 115 | 120 | 1.59 | 95.83

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 105 | 119 | 120 | 1.11 | 99.17
Unit 107 | 96 | 100 | 0.76 | 96.00

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 5 | 2,316 | 2,623 | 1.60 | 88.30
Unit 10 | 1,802 | 2,184 | 5.97 | 82.51
Unit 12 | 1,764 | 2,068 | 3.23 | 85.30
Unit 18 | 1,716 | 1,838 | 3.44 | 93.36
Unit 21 | 1,343 | 1,646 | 3.79 | 81.59
Unit 24 | 1,215 | 1,600 | 3.04 | 75.94
Unit 25 | 1,358 | 1,474 | 3.29 | 92.13
Unit 26 | 1,296 | 1,448 | 2.58 | 89.50
Unit 27 | 146 | 1,441 | 4.97 | 10.13
Unit 28 | 1,316 | 1,441 | 5.36 | 91.33
Unit 29 | 1,237 | 1,414 | 9.50 | 87.48
Unit 30 | 1,307 | 1,395 | 1.59 | 93.69
Unit 32 | 1,154 | 1,323 | 3.40 | 87.23
Unit 33 | 1,117 | 1,316 | 3.69 | 84.88
Unit 36 | 1,080 | 1,295 | 3.31 | 83.40
Unit 41 | 681 | 1,133 | 8.49 | 60.11
Unit 42 | 1,025 | 1,097 | 1.09 | 93.44

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 904 | 1,011 | 2.11 | 89.42
Unit 45 | 929 | 988 | 1.11 | 94.03
Unit 48 | 822 | 937 | 5.52 | 87.73
Unit 51 | 427 | 861 | 21.23 | 49.59
Unit 54 | 631 | 706 | 2.98 | 89.38
Unit 55 | 626 | 685 | 4.02 | 91.39
Unit 56 | 630 | 680 | 0.95 | 92.65
Unit 57 | 618 | 652 | 5.91 | 94.79
Unit 58 | 570 | 645 | 4.42 | 88.37
Unit 60 | 477 | 629 | 6.29 | 75.83
Unit 62 | 481 | 593 | 3.44 | 81.11
Unit 64 | 142 | 564 | 8.49 | 25.18
Unit 66 | 478 | 504 | 0.99 | 94.84
Unit 68 | 466 | 491 | 3.76 | 94.91
Unit 69 | 163 | 487 | 12.41 | 33.47
Unit 70 | 347 | 466 | 0.94 | 74.46
Unit 71 | 350 | 454 | 3.87 | 77.09

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 72 | 384 | 445 | 7.24 | 86.29
Unit 73 | 369 | 422 | 5.07 | 91.72
Unit 74 | 289 | 386 | 3.11 | 74.87
Unit 75 | 289 | 379 | 3.08 | 76.25
Unit 77 | 350 | 378 | 1.97 | 92.59
Unit 78 | 322 | 365 | 2.93 | 88.22
Unit 79 | 331 | 356 | 3.38 | 92.98
Unit 80 | 289 | 325 | 2.57 | 88.92
Unit 84 | 209 | 252 | 2.86 | 82.94
Unit 86 | 213 | 236 | 2.28 | 90.25
Unit 87 | 167 | 231 | 3.38 | 72.29
Unit 88 | 213 | 230 | 3.22 | 92.61
Unit 89 | 206 | 223 | 2.39 | 92.38
Unit 92 | 172 | 191 | 1.15 | 90.05
Unit 93 | 165 | 190 | 3.85 | 86.84
Unit 94 | 166 | 186 | 1.68 | 89.25
Unit 95 | 145 | 184 | 0.86 | 82.65

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 99 | 141 | 151 | 1.94 | 93.38
Unit 101 | 121 | 128 | 2.19 | 94.53
Unit 106 | 104 | 119 | 0.55 | 87.39